## Fire
PES/DF/077/05/23 | [7 empty] | 04 May 2023
NTN 4312149-7
Attn: Mr. Sajid Sahab.
Quotation
Quotation for Aristro Daftar Khuwan
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount | Total Amount
Machine Made G.I Sheet metal Duct
1 | Supply, Installation, testing & Commissioning of medium/low Machine made pressure G.I. sheet metal ducting complete in all respect. | Sqft | 9500 | 360 | 65 | 3420000 | 617500 | 4037500
Fierglass insulation
2 | Supply and installation of 1 inch thick Fiber Glass Insulation of density 24 kg/m3 with Aluminum Foil, tape, Canvas Cloth & anti funguspaint complete in all respect. | Sqft | 9500 | 170 | 60 | 1615000 | 570000 | 2185000
Air devices
3 | Supply & Installation of Supply air diffuser. 15 x 15 | Nos | 124 | 6000 | 1000 | 744000 | 124000 | 868000
4 | Supply & Installation of Exhaust Air Register. |  |  |  |  | 0 | 0 | 0
i | 09 x 09 | Nos | 39 | 2300 | 1000 | 89700 | 39000 | 128700
ii | 12 x 12 | Nos | 22 | 3500 | 1000 | 77000 | 22000 | 99000
5 | Supply and installation of Exhaust Air Louver as per drawings.
i | 28 x 12 | No | 2 | 7500 | 1000 | 15000 | 2000 | 17000
ii | 30 x 12 | No | 2 | 9000 | 1000 | 18000 | 2000 | 20000
6 | Supply and installation of volume control damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 101500 | 7000 | 108500
ii | 32 x 14 | Nos | 4 | 10750 | 1000 | 43000 | 4000 | 47000
7 | Supply and installation of Fire Damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 101500 | 7000 | 108500
ii | 32 x 14 | Nos | 4 | 11800 | 1000 | 47200 | 4000 | 51200
8 | Supply and installation of access door for fire / split damper. Size 18 x 18 | Nos | 11 | 8000 | 1000 | 88000 | 11000 | 99000
9 | Supply and installation of flexbile duct connector for supply air duct only. | Rft | 200 | 890 | 80 | 178000 | 16000 | 194000
M.S SCH-40 Pipe and related material
10 | Providing and installation of temporary scaffolding for installation of chilled water riser (after completion of work removal of folding) | Job | 1 | 300000 | 150000 | 300000 | 150000 | 450000
11 | Installation of M.S Sch-40 Seamless chilled water pipe with comsumable material such as cutting discs, grinding disc, electrodes etc complete in all respect.
i | 6" dia | Rft | 350 | 0 | 600 | 0 | 210000 | 210000
ii | 4" dia | Rft | 130 | 0 | 500 | 0 | 65000 | 65000
iii | 3" dia | Rft | 350 | 0 | 450 | 0 | 157500 | 157500
iv | 2-1/2" dia | Rft | 650 | 0 | 400 | 0 | 260000 | 260000
v | 2" dia | Rft | 400 | 0 | 350 | 0 | 140000 | 140000
vi | 1-1/2" dia | Rft | 200 | 0 | 300 | 0 | 60000 | 60000
vii | 1-1/4" dia | Rft | 320 | 0 | 275 | 0 | 88000 | 88000
viii | 1" dia | Rft | 180 | 0 | 250 | 0 | 45000 | 45000
ix | 3/4" dia | Rft | 200 | 0 | 200 | 0 | 40000 | 40000
12 | Providing and making of chilled water connection from main plant room for supply and return. | Job | 1 | 20000 | 30000 | 20000 | 30000 | 50000
13 | Supply and installation of related fittings for M.S SCH-40 Pipe fittings such as tee, elbow, reduser, gasket, nut washer etc. | Job | 1 | 625000 | 115000 | 625000 | 115000 | 740000
Premolded PU Insulation
14 | Supply and Intallation of premolded PU insulation over chilled water piping with 26 SWG G.I sheet metal cladding, kraft paper, canvas cloth etc complete in all respect.
Thickness 2"
i | 6" dia | Rft | 350 | 2800 | 280 | 980000 | 98000 | 1078000 | 1487 | 60
ii | 4" dia | Rft | 130 | 2200 | 260 | 286000 | 33800 | 319800 | 1123 | 50
iii | 3" dia | Rft | 350 | 1960 | 240 | 686000 | 84000 | 770000 | 990 | 40
iv | 2-1/2" dia | Rft | 650 | 1820 | 230 | 1183000 | 149500 | 1332500 | 869 | 35
v | 2" dia | Rft | 400 | 1380 | 220 | 552000 | 88000 | 640000 | 603 | 30
Thickness 1-1/2"
i | 1-1/2" dia | Rft | 200 | 1230 | 215 | 246000 | 43000 | 289000 | 554 | 30
ii | 1-1/4" dia | Rft | 320 | 1100 | 200 | 352000 | 64000 | 416000 | 487 | 25
iii | 1" dia | Rft | 180 | 1103 | 180 | 198540 | 32400 | 230940 | 459 | 25
iv | 3/4" dia | Rft | 200 | 1049 | 170 | 209800 | 34000 | 243800 | 440 | 25
15 | Supply and installation of condensate drain with insulation.
i | 2" dia | Rft | 240 | 300 | 100 | 72000 | 24000 | 96000
ii | 1-1/2" dia | Rft | 220 | 220 | 70 | 48400 | 15400 | 63800
iii | 1" dia | Rft | 360 | 190 | 50 | 68400 | 18000 | 86400
16 | Supply and installation of Hanger & supports for chilled water piping. | Job | 1 | 450000 | 90000 | 450000 | 90000 | 540000
17 | Supply and installation of red oxide Paint on pipes. | Job | 1 | 90000 | 60000 | 90000 | 60000 | 150000
18 | Removal of electrical cable trays | Job | 1 | 0 | 150000 | 0 | 150000 | 150000
Total Amount Rs | [7 empty] | 16675140
For PIONEER SERVICES
PIONEER SERVICES