## PLUMBING
SECTION II/A: BILL OF QUANTITIES FOR PLUMBING WORKS
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
BOQ No. | Specification Reference | Description | Qty. | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
1 | 2 | 3 | 4 | 5 | 6 | 6 x 4 | 8 | 8 x 4 | 7 + 9
WATER SUPPLY SYSTEM
| 22 33 00 | Supply, installation and commissioning of Electric water Heaters with thermostat, complete in all respects including Control Box etc. as per schedule, drawings & specifications.
A |  | EWH-01 | 2 | No. | 115000 | 230000 | 5000 | 10000 | 240000
| 22 10 00 | Supply, Installation, Testing and commissioning of PP-R type 3 piping for Cold & Hot Water Supply system (non-potable) including painted hangers and supports complete in all respects with all fittings & accessories as per drawings and specifications. (Nominal Pipe Sizes i.e. convert to PPR)
Cold Water
B |  | 1/2"Ø | 57.5 | Rft | 480 | 27600 | 100 | 5750 | 33350
C |  | 3/4"Ø | 85.1 | Rft | 580 | 49358 | 125 | 10637.5 | 59995.5
D |  | 1"Ø | 58.65 | Rft | 650 | 38122.5 | 150 | 8797.5 | 46920
Sub Total (Page 2)
GAS PIPING AND ACCESSORIES
| 22 10 23 | Supply, Installation & Commissioning of Schedule 40 black steel pipe Gas piping, complete with fittings, flanges unions, gaskets, specialties, flexible connections, etc, including all cutting, fixing fitting, laying, cleaning and making good complete in all respect as per drawings and specifications.
A |  | Ø 1/2 " | 20 | Rft. | 700 | 14000 | 150 | 3000 | 17000
B | 22 10 23 | Providing and fixing of Gas ON / OFF Switch with all accessories complete as per drawings and specifications | 1 | No. | 65000 | 65000 | 5000 | 5000 | 70000
| 22 10 23 | Providing and fixing of Manual Control Valve (lockable Type) with all accessories complete as per drawings and specifications |  |  |  | 0 |  | 0 | 0
C |  | Ø 1/2 " | 1 | No. | 27000 | 27000 | 2000 | 2000 | 29000
|  | VALVES & ACCESSORIES |  |  |  | 0 |  | 0 | 0
| 22 05 23 | Supply, Installation and commissioning of Valves with accessories as per drawings & specifications. |  |  |  | 0 |  | 0 | 0
|  | Ball Valve |  |  |  | 0 |  | 0 | 0
D |  | 1/2"Ø | 10 | Nos. | 7250 | 72500 | 1500 | 15000 | 87500
E |  | 1"Ø | 7 | Nos. | 9125 | 63875 | 1500 | 10500 | 74375
|  | Check Valve |  |  |  | 0 |  | 0 | 0
F |  | 1"Ø | 2 | Nos. | 9750 | 19500 | 1500 | 3000 | 22500
G | 22 13 16 | Supply, installation and commissioning of Automatic Air Vents with accessories as per drawings & specifications. | 1 | No. | 21000 | 21000 | 1500 | 1500 | 22500
H | 22 05 23 | Supply, install and commission 3/4" Ø Hose bibs with ball valve complete in all respect as per drawings & specifications. | 2 | Nos. | 4000 | 8000 | 1000 | 2000 | 10000 | 5500 | 550 | 4701 | 487 | AS PER SCHEMATIC
Sub Total (Page 6)
Miscellaneous
A | 22 05 29 | Supply, Installation & commissioning of hangers and supports for pipes and equipment including all noise and Vibration controller roller type and others as per drawings and specifications. | 1 | Job | 15000 | 15000 | 8000 | 8000 | 23000
B | 09 90 00 | Painting on equipment / Hangers, Supports, Pipe etc. as per specifications. | 1 | Job | 5000 | 5000 | 5000 | 5000 | 10000
C | 07 84 00 | Supply, installation and commission of fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 10000 | 10000 | 5000 | 5000 | 15000
D | 23 05 53 | Supply & Installation of brass tags for Equipment and system including all accessories complete in all respect. | 1 | Job | 10000 | 10000 | 5000 | 5000 | 15000
|  | Drawings |  |  |  | 0 |  | 0 | 0
E | 01 00 00 | Shop Drawings and As Built Drawings as per specifications. | 1 | Job | 10000 | 10000 | 15000 | 15000 | 25000
Sundries
F |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors to provide list) | 1 | Job | PLUMBING SYSTEM COMMISSIONING
Sub Total (Page 7)
|  | GRAND TOTAL FOR PLUMBING WORKS |  |  |  | 685955.5 |  | 115185 | 801140.5