## Table 1
Heritage Lodge, Karachi Bill of Quantities for PLUMBING AND FIRE FIGHTING WORKS (Summary Sheet)
Item # | Description | Total Cost
220010 | General Requirements for Plumbing System | 0
220100 | Operation and maintenance of Plumbing System | 0
220500 | Common Work Results for Plumbing | 0
220700 | Plumbing Insulation | 0
220800 | Testing, balancing and commissioning of plumbing system | 0
220900 | Instruments | 0
221100 | Facility Water Distribution | 0
221300 | Facility Sanitary Sewage | 0
223400 | Fuel Fired Domestic Water Heaters | 0
224200 | Plumbing Fixtures | 0
212000 | Fire Extinguishing System | 0
| TOTAL COST OF Plumbing & Fire Fighting WORKS | 0

## Plumbing & Fire
Item # | Description | Qty. | Unit | Rate (Pak Rs.) |  | Amount (Pak Rs.) |  | Total Cost (Pak Rs.)
|  |  |  | Material | Installation | Material | Installation
220010 | General Requirements for Plumbing System
a. | Making of Shop Drawings with sectional details complete in all respect for complete Plumbing Systems as per Specifications | 1 | Job | 15000 | 15000 | 15000 | 15000 | 30000
b. | Making of As Built Drawings with sectional details complete in all respect for complete Plumbing Systems as per Specifications | 1 | Job | 10000 | 10000 | 10000 | 10000 | 20000
c. | Equipment foundations and shifting of equipment from Ground Floor to respective locations including Owner Supplied Equipment. | 1 | Job | 30000 | 10000 | 30000 | 10000 | 40000
d. | Excavation and backfilling the earth for pipe works as required to complete the Plumbing Works as per Drawings and Specifications. | 1 | Job | 0 | 500000 | 0 | 500000 | 500000
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
220100 | Operation and maintenance of Plumbing System
| Operation and maintenance of Plumbing system for one year. | 1 | Job | 0 | 200000 | 0 | 200000 | 200000
220500 | Common Work Results for Plumbing
220513 | Motor Control Centre (MCC)
| Supply, Installation of Motor Control Centre (MCC) complete in all respect including weather proof sheet metal cabinet, bus bars, internal wiring earth strip, connector strip, MCB, MCCB, Control fueses, magentic contactor, overload relay, indication lights, voltmeter, ammeter, under voltage phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects for Plumbing equipment including Owner supplied Plumbing equipment as per scheudle, speicifications and drawings. | 2 | No | 370000 | 25000 | 740000 | 50000 | 790000
220513 | Wire, cables, conduites and cable tray
| Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of Plumbing system complete in all respect as per drawings and specifications. | 1 | Job | 165000 | 15000 | 165000 | 15000 | 180000
220519 | Meters and gauges
Supply and installation of meters and gauges with accessories for plumbing piping complete in all respect as per drawings and specfications
a. | Pressure gauge | 6 | Nos | 8000 | 750 | 48000 | 4500 | 52500
b. | Thermometer with well | 6 | Nos | 12000 | 1000 | 72000 | 6000 | 78000
c. | gauge cock |  | Nos | 2000 | 500 | 0 | 0 | 0
220523 | Valves
Supply and installation of valves complete with gasket, flanges, nuts, bolts and all other accessories for Plumbing system complete in all respect as per drawings and specifications.
a. | Gate Valves
| 3 inch dia (75 mm) | 8 | Nos | 48362.5 | 3500 | 386900 | 28000 | 414900
| 2-1/2 inch dia (65 mm) | 2 | Nos | 35862.5 | 3000 | 71725 | 6000 | 77725
| 2 inch dia (50 mm) | 2 | Nos | 20937.5 | 2000 | 41875 | 4000 | 45875
| 1-1/2 inch dia ( 38mm) | 4 | Nos | 20000 | 1500 | 80000 | 6000 | 86000
| 1-1/4 inch dia (32 mm) | 2 | Nos | 14375 | 1200 | 28750 | 2400 | 31150
| 1 inch dia (25 mm) | 6 | Nos | 10250 | 1000 | 61500 | 6000 | 67500
| 3/4 inch dia (19 mm) | 15 | Nos | 7500 | 1000 | 112500 | 15000 | 127500
| 1/2 inch dia (13 mm) | 12 | Nos | 5312.5 | 1000 | 63750 | 12000 | 75750
b. | Ball Valves
| 3/4 inch dia (20 mm) | 60 | Nos | 7000 | 1000 | 420000 | 60000 | 480000
f | Strainer
| 3 inch dia (75 mm) | 3 | Nos | 55000 | 4000 | 165000 | 12000 | 177000
g | Check Valves
| 3 inch dia (75 mm) | 3 | Nos | 48780 | 4000 | 146340 | 12000 | 158340
220529 | Hangers and supports
| Supply and installation of hangers and supports for piping and equipment complete in all respect as per drawings and specifications. | 1 | Lot | 350000 | 45000 | 350000 | 45000 | 395000
220553 | Painting and identification works
| Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Lot | 40000 | 20000 | 40000 | 20000 | 60000
220573 | Facility sewage drain manholes
Supply and installation of facility sewage drain manholes complete in all respect as per drawings and specifications.
a. | manholes upto 3 feet depth | 7 | Nos | 38000 | 10000 | 266000 | 70000 | 336000
220579 | Fire stopping
| Supply and installation of fire stopping for plumbing systems complete in all respect as per drawings and specifications. | 1 | Lot | 30000 | 8000 | 30000 | 8000 | 38000
220700 | Plumbing Insulation
220719 | Plumbing piping insulation
Supply and installation of plumbing piping insulation complete in all respect as per drawings and specifications.
| 1/2 inch dia (15 mm) | 210 | Rft | 160 | 40 | 33600 | 8400 | 42000
| 3/4 inch dia (20 mm) | 50 | Rft | 190 | 50 | 9500 | 2500 | 12000
| 1 inch dia (25 mm) | 80 | Rft | 250 | 50 | 20000 | 4000 | 24000
220800 | Testing, balancing and commissioning of plumbing system
| Testing, balancing and commissioning of plumbing system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Lot | 0 | 50000 | 0 | 50000 | 50000
220900 | Instruments for Plumbing System
220913 | Level Sensors
| Supply and installation of level sensors complete in all respect as per drawings and specifications. | 1 | Lot | 160000 | 30000 | 160000 | 30000 | 190000
220921 | Automatic Air Vents
| Supply and installation of automatic air vents complete in all respect as per drawings and specifications. | 1 | Lot | 20000 | 5000 | 20000 | 5000 | 25000
221116 | Domestic water piping for cold water and hot water supply and return piping (PPR)
Supply and installation of domestic water piping for cold water and hot water supply and return as per DIN 8077/8078 PN20 for pipe and DIN 16962 PN25 for fittings or equivalent BS specifications complete in all respect including specials, such as tee, cross, reducer, bend, union, elbow, plug, socket etc. supported on walls or suspended from slab or run in chases (chased in walls shall be made by using electric cutter) including cutting and making good the same as necessary to the strucure as per drawings and specifications.
| 13 mm | 400 | Rft | 250 | 60 | 100000 | 24000 | 124000
| 20 mm | 150 | Rft | 380 | 75 | 57000 | 11250 | 68250
| 25 mm | 750 | Rft | 480 | 100 | 360000 | 75000 | 435000
| 32 mm | 100 | Rft | 250 | 125 | 25000 | 12500 | 37500
| 50 mm | 2350 | Rft | 1300 | 150 | 3055000 | 352500 | 3407500
| 75 mm | 150 | Rft | 1750 | 175 | 262500 | 26250 | 288750
221123 | Domestic water transfer end suction centrifgual pump-motor
| Supply and installation of domestic water transfer end suction centrifgual pump- motor set complete with controls and accessories as per drawings and specifications. | 2 | set | 1662000 | 20000 | 3324000 | 40000 | 3364000
221300 | Facility Sanitary Sewage
221313 | Facility sanitary sewage piping uPVC Class D
Supply and installation of facility sanitary sewage piping uPVC Class D as per BSS specifications including uPVC fittings with solvent cement jointing with clamps, hangers, rawl bolts, bends, tees, etc. complete in all respect as per drawings and specifications.
| 6 inch (150 mm) | 600 | Rft | 1460 | 225 | 876000 | 135000 | 1011000
| 4 inch (100 mm) | 100 | Rft | 980 | 200 | 98000 | 20000 | 118000
221316 | Soil, waste and vent UPVC class B piping
Supply and installation of soil, waste and vent UPVC class B piping as per BSS 4514 & 5255 or equivalent BS specifications including uPVC fittings with rubber ring joints clamps, bends, tees, Y- tees, reducers, clean out etc. embedded in floors and walls, clamped to walls, suspended from slab, making no. of holes and making good the same and all other accessories as per drawings and specifications.
| 4 inch dia (110 mm) | 145 | Rft | 950 | 150 | 137750 | 21750 | 159500
| 3 inch dia (75 mm) | 85 | Rft | 800 | 125 | 68000 | 10625 | 78625
| 2 inch dia (50 mm) | 115 | Rft | 500 | 100 | 57500 | 11500 | 69000
| 1-1/2 inch dia (40 mm) | 80 | Rft | 360 | 80 | 28800 | 6400 | 35200
221319 | Cleanouts
Supply and installation of cleanouts complete in all respect as per drawings and specificaitons.
| 3 inch dia (75 mm) | 4 | rm | 5000 | 1000 | 20000 | 4000 | 24000
| 2 inch dia (50 mm) | 15 | rm | 5000 | 1000 | 75000 | 15000 | 90000
221319 | Floor drains
Supply and installation of floor drains complete in all respect as per drawings and specifications.
| 4 inch dia (100 mm) | 4 | Nos |  |  | 0 | 0 | 0
| 3 inch dia (75 mm) | 4 | Nos | 6000 | 1000 | 24000 | 4000 | 28000
221319 | Grease trap
| Supply and installation of grease trap complete in all respect as per drawings and specifications. | 1 | Nos | 145000 | 13000 | 145000 | 13000 | 158000
221319 | Gully Traps
| Supply and installation of gully trap complete in all respect as per drawings and specifications. | 1 | Nos | 19000 | 2000 | 19000 | 2000 | 21000
223400 | Fuel Fired Domestic Water Heaters
223430 | Hot Water Heater
Supply and Installation of Domestic Hot Water Geysers complete in all respect as per drawings and Specifications.
| 30 gallon capacity | 1 | Nos | 70000 | 4000 | 70000 | 4000 | 74000
224200 | Plumbing Fixtures
a. | European Water Closets with Flush Valve
| Supply and Installation of europeon type water closets of approved color with "P" or "S" trap, seat and cover best approved quality including imported flush valve with all accessories and fittings complete all connection and relative material making requisite hole in walls, floors and plinth for pipe connections and making good with approved materials complete in all respect as per drawings and Specifications. | 1 | Nos | 142000 | 10000 | 142000 | 10000 | 152000
c. | Eastern Water Closets with Flush Tank
| Supply and Installation of europeon type water closets of approved color with "S" trap best approved quality including imported flush valve with all accessories and fittings complete all connection and relative material making requisite hole in walls, floors and plinth for pipe connections and making good with approved materials complete in all respect as per drawings and Specifications. | 1 | Nos | 182000 | 10000 | 182000 | 10000 | 192000
g. | Counter Mounted/Padestal Wash Basin/ Vanity
| Supply and Installation of Counter Mounted Wash Basin/ Vanity including bottle trap, imported brass waste chain plug complete with concealed safety brackets, waste water joining assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making good with approved material complete in all respects as per drawings and Specifications. ( TOTO LW821CJ or approved equal) | 2 | Nos | 67000 | 6000 | 134000 | 12000 | 146000
h. | Stainless Steel Kitchen Sink
| Supply and Installation of Stainless Steel Kitchen Sinks of specified size best quality with bottle trap, painted MS bracket set with nuts bolts, waste water jointing assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making good with approved material complete in all respect as per drawings and Specifications. | 1 | Nos | 65000 | 15000 | 65000 | 15000 | 80000
k. | Soap Dispensers
| Supply and Installation of soap dispensers complete in all respect as per drawings and Specifications. | 2 | Nos | 29000 | 1000 | 58000 | 2000 | 60000
l. | Shampoo Bowls
| Supply and Installation of shampoo bowls complete in all respect as per drawings and Specifications. | 1 | Nos | 87000 | 6000 | 87000 | 6000 | 93000
m. | C.P Tee Valves for Cistern Water Inlet
| Supply and installation of C.P. Tee Valves for Cistern Water Inlet with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 4 | Nos | 3000 | 750 | 12000 | 3000 | 15000
n. | C.P Tee Valves for Washbasin
| Supply and installation of C.P. Tee Valves for Washbasin inlet with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 4 | Nos | 3000 | 750 | 12000 | 3000 | 15000
o. | Bath Mixer with Hand Shower
| Supply and installation of Bath Mixer with Hand Shower with flexible pipe, mounting hook, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 1 | Nos | 50000 | 2000 | 50000 | 2000 | 52000
q. | Single hole mixer for Washbasin
| Supply and installation of Single hole mixers for washbasin with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 30000 | 1500 | 60000 | 3000 | 63000
r. | Single hole high neck mixer for Kitchen Sink
| Supply and installation of Single hole high neck mixers for kitchen sink with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 1 | Nos | 57500 | 2000 | 57500 | 2000 | 59500
s. | Muslim Shower
| Supply and installation of muslim shower with flexible hose, mounting hook, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 13500 | 1000 | 27000 | 2000 | 29000
t. | Double bibcock
| Supply and installation of double bibcock with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 27500 | 1000 | 55000 | 2000 | 57000
u. | Hose bib (20 mm dia) with gate valve
| Supply and installation of hosebib (20 mm dia) with gate valve, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 4500 | 500 | 9000 | 1000 | 10000
Fire Suppression System
212000 | Fire Extinguishing System
212116 | Carbondi Oxide Fire Extinguishers
Supply and installation of Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications.
b. | 5 kg | 11 | Nos | 29000 | 500 | 319000 | 5500 | 324500
212416 | Dry Powder Fire Exitinguishers
Supply and installation of Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications.
a. | 4.5 kg | 11 | Nos | 17000 | 500 | 187000 | 5500 | 192500
| TOTAL COST |  |  |  |  | 13846490 | 2089575 | 15936065