## Consolidate Summary
Saddar Karachi project
Mechanical Work Lahour Cost Detail
Description | Material Cost | Labour Cost | Amount
ACMV Work | 0 | 8615475 | 8615475
FSS Work | 0 | 2653300 | 2653300
Plumbling Work | 0 | 827525 | 827525
Total Cost | 0 | 12096300 | 12096300
Discount 11.757% |  | 1422161.991 | 1422161.991
Total Labour Cost of Saddar Project |  | 10674138.009 | 10674138.009
Add:Service Sale tax 15% |  | 1601120.7013 | 1601120.7013
Total Labour Cost of With Sale Tax |  | 12275258.7103 | 12275258.7103

## Summary
ACMV Work
S.No | Description | Work Description | Amount
1 | Installation, testing & commissioning of electric screw chiller | electric screw chiller | 100000
2 | Installation, testing & commissioning of cooling tower | cooling tower | 100000
3 | Unloading, rigging, lifting, installation, testing and commissioning of air handling units | air handling units | 790000
4 | Unloading, rigging, lifting, installation, testing and commissioning of fan coil units (FCUs & DFCUs) | fan coil units (FCUs & DFCUs) | 488000
5 | Supply & installation of valves & accessories of chillers | valves & accessories of chillers | 184000
6 | Supply & installation of valves & accessories of cooling towers | valves & accessories of cooling towers | 89000
7 | Supply & installation of valves & accessories for AHUs | valves & accessories for AHUs | 713100
8 | Supply & installation of valves & accessories for FCUs & DFCUs | valves & accessories for FCUs & DFCUs | 793000
9 | Supply & installation of valves & accessories for chilled water | valves & accessories for chilled water | 118000
10 | Unloading, rigging, lifting, installation, testing and commissioning of water circulation pumps | water circulation pumps | 270000
11 | Supply & installation of valves & accessories for pumps | valves & accessories for pumps | 123000
12 | Supply, installation, testing and commissioning of Variable Frequency Drive (VFD) | Variable Frequency Drive (VFD) | 50000
13 | Supply & installation of SCH-40 M.S.(As per ASME & API standard, | SCH-40 M.S.(As per ASME & API standard, | 1613350
14 | Supply, Installation of Pre Formed Polystyrene (Thermopore) insulation | Pre Formed Polystyrene (Thermopore) insulation | 506625
15 | Supply & installation of Pre Formed Polyurethane (Bituminous Kraft Paper Facing) | Pre Formed Polyurethane (Bituminous Kraft Paper Facing) | 39000
16 | Supply, fabrication and installation of 26 (SWG) gauge G.I cladding over chilled water pipes insulation | 26 (SWG) gauge G.I cladding over chilled water pipes insulation | 34650
17 | Supply & installation single split air conditioning units decorative type (inverter) | air conditioning units decorative type (inverter) | 5000
18 | Supply & installation of refrigerant pipes (liquid + gas) | refrigerant pipes (liquid + gas) | 6000
19 | Supply & installation of air curtains | air curtains | 9000
20 | Unloading, rigging, lifting, placement, installation, testing and commissioning of Ventilation Fans | Ventilation Fans | 35000
21 | Supply, fabrication and installation of M.S sheet metal welded duct | M.S sheet metal welded duct | 52800
22 | Supply, fabrication and installation of 2" thick rockwool | 2" thick rockwool | 43500
23 | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding for over rockwool insulation | 26 SWG gauge G.I. cladding for over rockwool insulation | 58000
24 | Supply, fabrication and installation of pre-insulated ductwork of polyurethane foam panel | pre-insulated ductwork of polyurethane foam panel | 0
25 | Supply, fabrication and installation of machine made G.I sheet metal duct | G.I sheet metal duct | 29700
26 | Supply & installation of 2" thick Pre Formed Polyurethane insulation | 2" thick Pre Formed Polyurethane insulation | 7500
27 | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding | 26 SWG gauge G.I. cladding | 12000
28 | Supply & installation of rubberfoam acoustical duct sound liner adhesive | rubberfoam acoustical duct sound liner adhesive | 160000
29 | Supply & installation of aluminum fabricated powder coated fresh & exhaust Air louvers | exhaust Air louvers | 22400
30 | Supply & installation of aluminum fabricated, powder coated grills, diffusers and registers | diffusers and registers | 174600
31 | Supply & installation of flexible duct including hangers, jubilee clamp | flexible duct including hangers, jubilee clamp | 1000
32 | Supply & installation of butterfly damper for above flexible duct with gas kits, nut bolts | butterfly damper for above flexible duct with gas kits, nut bolts | 1000
33 | Supply, fabrication & installation of pre-insulated Volume Control Damper | pre-insulated Volume Control Damper | 43500
34 | Supply & installation of uPVC (Sch 40.) drain pipe insulated | uPVC (Sch 40.) drain pipe insulated | 160750
35 | Supply & installation of uPVC (Sch 80.) class 'D' pipe for cooling tower makeup | uPVC (Sch 80.) class 'D' pipe for cooling tower makeup | 50000
36 | Supply, installation, testing & commissioning of valve accessories for Decouple Connection | valve accessories for Decouple Connection | 27000
37 | Supply, rigging, lifting, installation and testing of centrifugal sediment separator | centrifugal sediment separator | 50000
38 | Supply, Installation, testing, commissioning of By pass chemical feeder | By pass chemical feeder | 5000
39 | Supply, Installation, testing & commissioning of Chemical dozing plant | Chemical dozing plant | 10000
40 | Chemical required for one year operation of chilled & cooling water circuit | Chemical | 0
41 | Supply, installation, testing and commissioning of boosting pump | boosting pump | 50000
42 | Supply, Installation, Testing and Commissioning of allied electrical works for ACMV Systems | Commissioning ACMV Systems | 100000
43 | Supply, installation, testing and commissioning of interconnecting wiring, control wiring | interconnecting wiring, control wiring | 450000
44 | Supply, installation, testing and commissioning of perforated cable trays | perforated cable trays | 300000
45 | Supply & installation of additional MS Pipe support, hangers & anchors | MS Pipe support, hangers & anchors | 200000
46 | Painting & Identification work on chilled water pipes & exhaust duct | Painting | 200000
47 | Testing, balancing and commissioning of water side of the system | water side of the system | 150000
48 | Testing, balancing and commissioning of air side of the system complete | air side of the system complete | 150000
49 | Making of Shop drawings on Auto CAD | Shop drawings on Auto CAD | 20000
50 | Making of As Built drawings | As Built drawings | 20000
|  | ACMV Total Work Value | 8615475

## ACMV
Bill of Quantities
ACMV Works
Imtiaz Supermarket | [8 empty] | Rev.00
Saddar, Karachi | [8 empty] | Date: 25-03-2025
[5 empty] | Material |  | Labour |  | Total
S.No. |  | Description | Unit | Qty | Rate | Amount | Rate | Amount | Amount Rs.
All works shall be completed, tested and commissioned as per drawings, specifications and as per instruction of consultant
1 |  | Installation, testing & commissioning of electric screw chiller, complete in all respects, ready to operate with supply and fixing of all accessories including interconnecting wiring, control wiring, power wiring (terminal connection), pipe inlet outlet connections, etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 1.1 | CH - 01 | No. | 2 |  | 0 | 50000 | 100000 | 100000
2 |  | Installation, testing & commissioning of cooling tower complete in all respects, ready to operate with supply and fixing of all accessories including interconnecting wiring, control wiring, power wiring (terminal connection), pipes inlet outlet connections etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 2.1 | CT - 01 | No. | 2 |  | 0 | 50000 | 100000 | 100000
3 |  | Unloading, rigging, lifting, installation, testing and commissioning of air handling units of different capacities complete in all respects, ready to operate with supply and fixing of all accessories, including hanger steel base, vibration isolators, including interconnecting power & control wiring (terminal connection) with inlet & outlet chilled water connections, drain connection, flexible rubber duct connection / connector etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 3.1 | BF-AHU-01 | Nos. | 3 |  | 0 | 35000 | 105000 | 105000
| 3.2 | GF-AHU-01 | Nos. | 2 |  | 0 | 35000 | 70000 | 70000
| 3.3 | GF-AHU-02 | Nos. | 7 |  | 0 | 35000 | 245000 | 245000
| 3.4 | GF-AHU-03 | Nos. | 2 |  | 0 | 35000 | 70000 | 70000
| 3.5 | GF-AHU-04 | Nos. | 5 |  | 0 | 35000 | 175000 | 175000
| 3.6 | FAHU-01 | Nos. | 5 |  | 0 | 25000 | 125000 | 125000
4 |  | Unloading, rigging, lifting, installation, testing and commissioning of fan coil units (FCUs & DFCUs) of different capacities complete in all respects, ready to operate with supply and fixing of all accessories, including hanger steel base, vibration isolators, including interconnecting power & control wiring (terminal connection) with inlet & outlet chilled water connections, drain connection, flexible rubber duct connection / connector etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 4.1 | CSU-01 | Nos. | 7 |  | 0 | 8000 | 56000 | 56000
| 4.2 | DFCU-1 | Nos. | 5 |  | 0 | 8000 | 40000 | 40000
| 4.3 | DFCU-2 | Nos. | 31 |  | 0 | 8000 | 248000 | 248000
| 4.4 | DFCU-3 | Nos. | 18 |  | 0 | 8000 | 144000 | 144000
5 |  | Supply & installation of valves & accessories of chillers with supports, hangers, flanges, gas kits, nut & bolts etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
| 5.1 | Butterfly Valve (Gear Operated)
| i. | 5" dia | Nos. | 4 |  | 0 | 5000 | 20000 | 20000
| ii. | 6" dia | Nos. | 4 |  | 0 | 6000 | 24000 | 24000
| 5.2 | Flexible Connectors
| i. | 5" dia | Nos. | 4 |  | 0 | 5000 | 20000 | 20000
| ii. | 6" dia | Nos. | 4 |  | 0 | 6000 | 24000 | 24000
| 5.3 | Check Valve
| i. | 5" dia | Nos. | 2 |  | 0 | 5000 | 10000 | 10000
| ii. | 6" dia | Nos. | 2 |  | 0 | 6000 | 12000 | 12000
| 5.4 | Balancing Valve (with self sealing measuring nipples)
| i. | 5" dia | Nos. | 2 |  | 0 | 5000 | 10000 | 10000
| ii. | 6" dia | Nos. | 2 |  | 0 | 6000 | 12000 | 12000
| 5.5 | 2-Way Motorized Butterfly Valve with Actuator & controls
| i. | 5" dia | Nos. | 2 |  | 0 | 5000 | 10000 | 10000
| ii. | 6" dia | Nos. | 2 |  | 0 | 6000 | 12000 | 12000
| 5.6 | Thermometer 12" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 8 |  | 0 | 1500 | 12000 | 12000
| 5.7 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 8 |  | 0 | 1500 | 12000 | 12000
| 5.8 | Air Vent with Ball Valve | Nos. | 2 |  | 0 | 1000 | 2000 | 2000
| 5.9 | Flow Switch | Nos. | 4 |  | 0 | 1000 | 4000 | 4000
6 |  | Supply & installation of valves & accessories of cooling towers with supports, hangers, flanges, gas kits, nut & bolts etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
| 6.1 | Butterfly Valve (Gear Operated)
| i. | 4" dia | Nos. | Rate Only |  |  | 4000
| ii. | 5" dia | Nos. | 6 |  | 0 | 6000 | 36000 | 36000
| iii. | 6" dia | Nos. | 2 |  | 0 | 6000 | 12000 | 12000
| iv. | 8" dia | Nos. | 2 |  | 0 | 8000 | 16000 | 16000
| 6.2 | 2-Way Motorized Butterfly Valve with Actuator & controls
| i. | 8" dia | No. | 1 |  | 0 | 8000 | 8000 | 8000
| 6.3 | Air Vent with Ball Valve | Nos. | 2 |  | 0 | 1000 | 2000 | 2000
| 6.4 | Ball Valve
| i. | 1.25" dia (Make up) | Nos. | 2 |  | 0 | 1500 | 3000 | 3000
| ii. | 1.5" dia | Nos. | Rate Only |  |  | 1500
| iii. | 2" dia (Quick Fill, Overflow & Drain) | Nos. | 6 |  | 0 | 2000 | 12000 | 12000
7 |  | Supply & installation of valves & accessories for AHUs with supports, hangers, flanges, gas kits, nut & bolts etc.(where it required), complete in all respects as per specifications, drawings and as per instructions of consultant.
| 7.1 | Ball Valve
| i. | 1.25" dia | Nos. | 36 |  | 0 | 1200 | 43200 | 43200
| ii. | 1.5" dia | Nos. | 28 |  | 0 | 1500 | 42000 | 42000
| iii. | 2" dia | Nos. | 32 |  | 0 | 2000 | 64000 | 64000
| 7.2 | Strainers
| i. | 1.25" dia | Nos. | 9 |  | 0 | 1200 | 10800 | 10800
| ii. | 1.5" dia | Nos. | 7 |  | 0 | 1500 | 10500 | 10500
| iii. | 2" dia | Nos. | 8 |  | 0 | 2000 | 16000 | 16000
| 7.3 | Balancing Valve (with self sealing measuring nipples)
| i. | 1.25" dia | Nos. | 9 |  | 0 | 1200 | 10800 | 10800
| ii. | 1.5" dia | Nos. | 7 |  | 0 | 1500 | 10500 | 10500
| iii. | 2" dia | Nos. | 8 |  | 0 | 2000 | 16000 | 16000
| 7.4 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 48 |  | 0 | 1500 | 72000 | 72000
| 7.5 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 48 |  | 0 | 1000 | 48000 | 48000
| 7.6 | 2-Way Motorized Valve with Actuator (0-100% modulating)
| i. | 1" dia | Nos. | 9 |  | 0 | 1200 | 10800 | 10800
| ii. | 1.25" dia | Nos. | 7 |  | 0 | 1500 | 10500 | 10500
| iii. | 1.5" dia | Nos. | 8 |  | 0 | 1500 | 12000 | 12000
| 7.7 | Digital Decorative Thermostat Controller (BMS Interfacable) with Duct Mounted Sensor | Nos. | 24 |  | 0 | 1500 | 36000 | 36000
| 7.8 | Fan Control Panel with incoming Ckt. Breaker, DOL starter for upto 5.5 kW and auto S/D Starter for above 5.5 kW with protections and safeties | Nos. | 24 |  | 0 | 5000 | 120000 | 120000
| 7.9 | Control wiring from controller to sensors, motorized valve and Power wiring from FCP to fan, up to 15' radius | Jobs | 24 |  | 0 | 7500 | 180000 | 180000
8 |  | Supply & installation of valves & accessories for FCUs & DFCUs with supports, etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
| 8.1 | Ball Valve
| i. | 1" dia | Nos. | 244 |  | 0 | 1000 | 244000 | 244000
| 8.2 | Strainers
| i. | 1" dia | Nos. | 61 |  | 0 | 1000 | 61000 | 61000
| 8.3 | Balancing Valve (with self sealing measuring nipples)
| i. | 1" dia | Nos. | 61 |  | 0 | 1000 | 61000 | 61000
| 8.4 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | Rate Only |  |  | 1500
| 8.5 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | Rate Only |  |  | 1000
| 8.6 | 2-Way Motorized Valve with Actuator (0-100% modulating)
| i. | 1" dia | Nos. | 61 |  | 0 | 1000 | 61000 | 61000
| 8.7 | Digital Decorative Thermostat Controller (BMS Interfacable) with Duct Mounted Sensor | Nos. | 61 |  | 0 | 1000 | 61000 | 61000
| 8.8 | Control wiring from controller to sensors, motorized valve and Power wiring up to 15' radius | Jobs | 61 |  | 0 | 5000 | 305000 | 305000
9 |  | Supply & installation of valves & accessories for chilled water riser circuit with supports, hangers, flanges, gas kits, nut & bolts where it required, etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
| 9.1 | Butterfly Valve (Gear Operated)
| i. | 4" dia | Nos. | 4 |  | 0 | 3000 | 12000 | 12000
| ii. | 5" dia | Nos. | 4 |  | 0 | 4000 | 16000 | 16000
| iii. | 8" dia | Nos. | 4 |  | 0 | 6000 | 24000 | 24000
| 9.2 | Balancing Valve (with self sealing measuring nipples)
| i. | 4" dia | No. | 1 |  | 0 | 3000 | 3000 | 3000
| ii. | 5" dia | No. | 1 |  | 0 | 4000 | 4000 | 4000
| iii. | 8" dia | No. | 1 |  | 0 | 6000 | 6000 | 6000
| 9.3 | Strainers
| i. | 4" dia | No. | 1 |  | 0 | 3000 | 3000 | 3000
| ii. | 5" dia | No. | 1 |  | 0 | 4000 | 4000 | 4000
| iii. | 8" dia | No. | 1 |  | 0 | 6000 | 6000 | 6000
| 9.4 | Check Valve
| i. | 4" dia | No. | 1 |  | 0 | 3000 | 3000 | 3000
| ii. | 5" dia | No. | 1 |  | 0 | 4000 | 4000 | 4000
| iii. | 8" dia | No. | 1 |  | 0 | 6000 | 6000 | 6000
| 9.5 | Ball Valve for Drainage
| i. | 2" dia | Nos. | 6 |  | 0 | 1500 | 9000 | 9000
| 9.6 | Air vent with Ball Valve | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
| 9.7 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
| 9.8 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
10 |  | Unloading, rigging, lifting, installation, testing and commissioning of water circulation pumps of different capacities including R.C.C. base (provided by client), making of Inertia Block (by ACMV Contractor), fixing of industrial grade spring vibration isolators (supplied with pumps), interconnecting wiring, control wiring, power wiring (terminal connection), inlet & outlet pipe connections, drain connection etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of Consultant.
| 10.1 | CHP- 01 | Nos. | 3 |  | 0 | 50000 | 150000 | 150000
| 10.2 | CWP- 01 | Nos. | 3 |  | 0 | 40000 | 120000 | 120000
11 |  | Supply & installation of valves & accessories for pumps with supports, hangers, flanges, gas kits, nut & bolts where it required, etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
| 11.1 | Flexible rubber connectors Single Bellow
| i. | 5" dia | Nos. | 3 |  | 0 | 2000 | 6000 | 6000
| ii. | 6" dia | Nos. | 3 |  | 0 | 3000 | 9000 | 9000
| 11.2 | Flexible rubber connectors Double Bellow
| i. | 5" dia | Nos. | 3 |  | 0 | 2000 | 6000 | 6000
| ii. | 6" dia | Nos. | 3 |  | 0 | 3000 | 9000 | 9000
| 11.3 | Butterfly Valve (Gear Operated)
| i. | 5" dia | Nos. | 6 |  | 0 | 4000 | 24000 | 24000
| ii. | 6" dia | Nos. | 6 |  | 0 | 4000 | 24000 | 24000
| iii. | 8" dia for by pass | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 11.4 | Check Valve
| i. | 5" dia | Nos. | 3 |  | 0 | 4000 | 12000 | 12000
| ii. | 6" dia | Nos. | 3 |  | 0 | 4000 | 12000 | 12000
| 11.5 | Automatic Air Vent with Ball valve | Nos. | 4 |  | 0 | 1000 | 4000 | 4000
| 11.6 | Compound Pressure Gauge with Ball Valves, Liquid filled Dial type
| i. | Range -ve 5 psi to 100 psi. | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
| ii. | Range 0 psi to 100 psi. | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
12 |  | Supply, installation, testing and commissioning of Variable Frequency Drive (VFD) for chilled water pumps & cooling towers fans with controls & control wiring complete in all respects as per specifications, drawings and as per instructions of consultant.
| 12.1 | VFD-01 (for CHP-01) | Nos. | 3 |  | 0 | 10000 | 30000 | 30000
| 12.2 | VFD-01 (for CHP-01) | Nos. | 2 |  | 0 | 10000 | 20000 | 20000
13 |  | Supply & installation of SCH-40 M.S.(As per ASME & API standard, Heavy Quality with standard SCH 40 wall thickness) pipes & fitting for water circulation system complete with bends, tees, unions, sockets, specials, MS Pipe support, hangers & anchors, M.S. angle, U channel, roller support, bolts, rods, clamps, concrete fasteners etc as required to complete in all respects ready to operate as per specification, drawings and as per instruction of consultant.
| A | Cooling Water
| 13.1 | 4" dia | Rft | 20 |  | 0 | 400 | 8000 | 8000
| 13.2 | 5" dia | Rft | 45 |  | 0 | 500 | 22500 | 22500
| 13.3 | 6" dia | Rft | 155 |  | 0 | 600 | 93000 | 93000
| 13.4 | 8" dia | Rft | 125 |  | 0 | 700 | 87500 | 87500
| 13.5 | 10" Dia | Rft | 60 |  | 0 | 800 | 48000 | 48000
| B | Chilled Water
| 13.5 | 1" dia | Rft | 1045 |  | 0 | 180 | 188100 | 188100
| 13.6 | 1.25" dia | Rft | 255 |  | 0 | 200 | 51000 | 51000
| 13.7 | 1.5" dia | Rft | 315 |  | 0 | 225 | 70875 | 70875
| 13.8 | 2" dia | Rft | 210 |  | 0 | 250 | 52500 | 52500
| 13.9 | 2.5" dia | Rft | 385 |  | 0 | 300 | 115500 | 115500
| 13.1 | 3" dia | Rft | 615 |  | 0 | 325 | 199875 | 199875
| 13.11 | 4" dia | Rft | 495 |  | 0 | 400 | 198000 | 198000
| 13.12 | 5" dia | Rft | 325 |  | 0 | 500 | 162500 | 162500
| 13.13 | 6" dia | Rft | 120 |  | 0 | 600 | 72000 | 72000
| 13.14 | 8" Dia | Rft | 280 |  | 0 | 700 | 196000 | 196000
| 13.15 | 10" Dia | Rft | 60 |  | 0 | 800 | 48000 | 48000
| 13.16 | 12" Dia | Rft | Rate Only |  |  | 1000
14 |  | Supply, Installation of Pre Formed Polystyrene (Thermopore) insulation (32 kg/m3 density) for internal chilled water pipes, bends, tees, unions, sockets, valves and on specials protected with Kraft paper, wrapped with 8oz Canvas cloth than paint with Anti fungus paint complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of Consultant.
Chilled Water internal area
| 14.1 | 1" dia | Rft | 1045 |  | 0 | 60 | 62700 | 62700
| 14.2 | 1.25" dia | Rft | 255 |  | 0 | 70 | 17850 | 17850
| 14.3 | 1.5" dia | Rft | 315 |  | 0 | 80 | 25200 | 25200
| 14.4 | 2" dia | Rft | 210 |  | 0 | 100 | 21000 | 21000
| 14.5 | 2.5" dia | Rft | 385 |  | 0 | 125 | 48125 | 48125
| 14.6 | 3" dia | Rft | 615 |  | 0 | 150 | 92250 | 92250
| 14.7 | 4" dia | Rft | 495 |  | 0 | 175 | 86625 | 86625
| 14.8 | 5" dia | Rft | 250 |  | 0 | 200 | 50000 | 50000
| 14.9 | 6" dia | Rft | 120 |  | 0 | 250 | 30000 | 30000
| 14.1 | 8" Dia | Rft | 265 |  | 0 | 275 | 72875 | 72875
| 14.11 | 10" Dia | Rft | Rate Only |  |  | 280
| 14.12 | 12" Dia | Rft | Rate Only |  |  | 300
15 |  | Supply & installation of Pre Formed Polyurethane (Bituminous Kraft Paper Facing) (50 kg/m3 density) for chilled water pipes exposed to weather area with fittings, bends, tees, unions, sockets, valves & accessories and on specials complete in all respects as per schedule, specification, drawings and as per instruction of Consultant.
Chilled Water exposed to weather area & plantroom
| 15.1 | 4" dia | Rft | Rate Only |  |  | 175
| 15.2 | 5" dia | Rft | 75 |  | 0 | 200 | 15000 | 15000
| 15.3 | 6" dia | Rft | Rate Only |  |  | 250
| 15.4 | 8" Dia | Rft | 15 |  | 0 | 300 | 4500 | 4500
| 15.5 | 10" Dia | Rft | 60 |  | 0 | 325 | 19500 | 19500
| 15.6 | 12" Dia | Rft | Rate Only |  |  | 350
16 |  | Supply, fabrication and installation of 26 (SWG) gauge G.I cladding over chilled water pipes insulation complete in all respects ready to operate as per specification, drawings and as per instruction of consultant.
| 16.1 | 4" dia | Rft | Rate Only |  |  | 150
| 16.2 | 5" dia | Rft | 75 |  | 0 | 180 | 13500 | 13500
| 16.3 | 6" dia | Rft | Rate Only |  |  | 200
| 16.4 | 8" Dia | Rft | 15 |  | 0 | 250 | 3750 | 3750
| 16.5 | 10" Dia | Rft | 60 |  | 0 | 290 | 17400 | 17400
| 16.6 | 12" Dia | Rft | Rate Only |  |  | 335
17 |  | Supply & installation single split air conditioning units decorative type (inverter) of different capacities, including supply & installation of supports, brackets, rubber isolator, flashing, power wiring (upto 15 ft + connection), complete in all respects ready to operate as per drawings, specification & as per instruction of consultant.
| 17.1 | AC-01 (1.5 Tr) for Plant Room (MCC Room) | Nos. | 1 |  | 0 | 5000 | 5000 | 5000
18 |  | Supply & installation of refrigerant pipes (liquid + gas) with 1/2" thick expended rubber foam insulation, PVC tape wrapping + control wiring in G.I. for external / PVC for internal from outdoor unit to indoor unit, including gas charging if required complete in all respects ready to operate as per drawings, specification & as per instruction of consultant.
| 18.1 | AC-01 (1.5 Tr) | Rft | 20 |  | 0 | 300 | 6000 | 6000
19 |  | Supply & installation of air curtains including, supports, electrical connection etc, complete in all respects ready to operate as per drawings, specification & as per instruction of consultant.
| 19.1 | 3 Feet Length | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
| 19.2 | 4 Feet Length | Nos. | 3 |  | 0 | 1000 | 3000 | 3000
20 |  | Unloading, rigging, lifting, placement, installation, testing and commissioning of Ventilation Fans as per mentioned in schedule, including supply & installation of vibration isolator, power wiring from isolation box to unit (10' to 15' radius), flexible duct connection / connector, support & hangers complete in all respects ready to operate as per drawings, specification and as per instruction of consultant.
| 20.1 | GF-EAF-01 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.2 | GF-EAF-02 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.3 | GF-EAF-03 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.4 | GF-EAF-04 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.5 | GF-EAF-05 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.6 | GF-FAF-01 | No. | 1 |  | 0 | 5000 | 5000 | 5000
| 20.7 | GF-FAF-02 | No. | 1 |  | 0 | 5000 | 5000 | 5000
21 |  | Supply, fabrication and installation of M.S sheet metal welded duct of 2.0 mm (16 Gauge) thickness for kitchen exhasut duct, complete in all respects including 300x150 access doors at all changes in direction, transformation, plenums chambers, connection pecs of hood round to square, supports & hangers etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant.. | Sqft | 660 |  | 0 | 80 | 52800 | 52800
22 |  | Supply, fabrication and installation of 2" thick rockwool (double layar) insulation of 50kg/m3 density with wire mesh reinforcement over M.S sheet metal ducts of kitchen exhaust air, complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqft | 725 |  | 0 | 60 | 43500 | 43500
23 |  | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding for over rockwool insulation etc. complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | 725 |  | 0 | 80 | 58000 | 58000
24 |  | Supply, fabrication and installation of pre-insulated ductwork of polyurethane foam panel with 52 Kg/m3 density, 20 mm thickness, coated on both sides with 80 micron thick aluminum foil complete with a 2 g/m2 layer for internal duct work including manufacturer's aluminum hardware glue, Hot Dipped galvanized hangers and supports, flexible duct connection, wooden frame, etc. Complete in all respects ready to operate as per drawings, specification and as per instruction of consultant. | Sqft | 21350 |  | 0 |  | 0 | 0
25 |  | Supply, fabrication and installation of machine made G.I sheet metal duct for exposed to weather area and toilet exhaust ducts, complete in all respects including splitter dampers, guide vanes, flexible duct connection, access door, transformation, plenums chambers, anchors supports & hangers, wooden frame complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | 495 |  | 0 | 60 | 29700 | 29700
26 |  | Supply & installation of 2" thick Pre Formed Polyurethane insulation (Bituminous Kraft Paper Facing, 50 kg/m3 density for external / exposed to weather area ducts, supply, return, fresh air duct, complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | 150 |  | 0 | 50 | 7500 | 7500
27 |  | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding for external / exposed to weather area ducts (except exhaust air) etc. complete in all respects ready to operate as per drawings, specification, instruction of Consultant. | Sqft | 150 |  | 0 | 80 | 12000 | 12000
28 |  | Supply & installation of rubberfoam acoustical duct sound liner adhesive with1/2" thick in supply air duct complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant. For AHUs & FAHUs only | Sqft | 4000 |  | 0 | 40 | 160000 | 160000
29 |  | Supply & installation of aluminum fabricated powder coated fresh & exhaust Air louvers including wooden frame, rain protection sheet bird mesh etc complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqin | 11200 |  | 0 | 2 | 22400 | 22400
30 |  | Supply & installation of aluminum fabricated, powder coated grills, diffusers and registers etc for supply, return, exhaust & fresh air of different sizes (Grade A) wooden frame, supports and other accessories etc. complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant.
| 30.1 | Registers / Diffuser with Damper | Sqin | 65600 |  | 0 | 2 | 131200 | 131200
| 30.2 | Grills | Sqin | 4500 |  | 0 | 2 | 9000 | 9000
| 30.3 | S.S Wire Mesh with G.I Frame | Sqin | 1000 |  | 0 | 21 | 21000 | 21000
| 30.4 | Linear Slot 6,000 Series
| i. | 2 Slots of 3/4" | Rft | 10 |  | 0 | 500 | 5000 | 5000
| 30.4 | Exhaust air Disc Valves
| i. | 6" Dia | Nos. | 14 |  | 0 | 600 | 8400 | 8400
31 |  | Supply & installation of flexible duct including hangers, jubilee clamp complete in all respects as per specification, drawings & as per instruction of consultant.
| 31.1 | 6" dia | Rft | 10 |  | 0 | 100 | 1000 | 1000
32 |  | Supply & installation of butterfly damper for above flexible duct with gas kits, nut bolts, complete in all respects, ready to operate as per specification, drawings & as per instruction of consultant.
| 32.1 | 6" dia | Nos. | 1 |  | 0 | 1000 | 1000 | 1000
33 |  | Supply, fabrication & installation of pre-insulated Volume Control Damper, blades to be constructed with extruded aluminum in airfoil shape with thermal isolation gape & shall have seals, pvc / aluminum profiles duct connection at both end etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqin | 14500 |  | 0 | 3 | 43500 | 43500
34 |  | Supply & installation of uPVC (Sch 40.) drain pipe insulated with 3/8" thick rubber foam insulation including clamps, bends, tees, drain plugs, sockets, protection treatment, PVC tape wrapping complete in all respects as per specifications, drawings & as per instructions of Consultant.
| 34.1 | 1" dia | Rft | 395 |  | 0 | 75 | 29625 | 29625
| 34.2 | 1.25" dia | Rft | 735 |  | 0 | 100 | 73500 | 73500
| 34.3 | 1.5" dia | Rft | 185 |  | 0 | 125 | 23125 | 23125
| 34.2 | 2" dia | Rft | 230 |  | 0 | 150 | 34500 | 34500
35 |  | Supply & installation of uPVC (Sch 80.) class 'D' pipe for cooling tower makeup, quick filling and drain from overhead tank and boosting pumps to cooling tower compete with ball valves, clamps, bends, tees, drain plugs, sockets, protection treatment including PVC tape wrapping complete in all respects ready to operate, as per drawings and as per instructions of consultant. | Lot | 1 |  | 0 | 50000 | 50000 | 50000
36 |  | Supply, installation, testing & commissioning of valve accessories for Decouple Connection to be installed as per site conditions complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant.
| 36.1 | Butterfly Valve (Gear Operated)
| i. | 4" dia | Nos. | 3 |  | 0 | 5000 | 15000 | 15000
| 36.2 | 2-Way Motorized Valve with Actuator (0-100% Modulation)
| i. | 4" dia | No. | 1 |  | 0 | 10000 | 10000 | 10000
| 36.3 | Pressure Differential Switch | No. | 1 |  | 0 | 2000 | 2000 | 2000
37 |  | Supply, rigging, lifting, installation and testing of centrifugal sediment separator for Cooling water open circuit @ 40 micron, inlet / outlet as per drawing, including valves & accessories complete with all respects ready to operate as per specification, drawings and as per instruction of Consultant. | Set | 1 |  | 0 | 50000 | 50000 | 50000
38 |  | Supply, Installation, testing, commissioning of By pass chemical feeder with inlet/outlet connections including valves & accessories, funnel for chemical feeding, initial chemicals for chilled water circuit complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 1 |  | 0 | 5000 | 5000 | 5000
39 |  | Supply, Installation, testing & commissioning of Chemical dozing plant including 2 Nos. automatic dozing pumps, Liquid Chemical tanks with level indicator, initial chemicals for cooling water circuit etc. complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 1 |  | 0 | 10000 | 10000 | 10000
40 |  | Chemical required for one year operation of chilled & cooling water circuit including Initial Flashing Dozing, Initial Dozing & maintaining dozing for one year plant operation as per instructions of Consultant. | Lot. | 1 |  | 0 |  | 0 | 0
41 |  | Supply, installation, testing and commissioning of boosting pump set one standby of required size and capacity with pressurized vertical type diaphragm tank, auto / manual operation control panel pre wired, power on/off breaker, including gate valve, check valve, float valve, pressure gauge etc complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 2 |  | 0 | 25000 | 50000 | 50000
42 |  | Supply, Installation, Testing and Commissioning of allied electrical works for ACMV Systems including Motor Control Centre, MCCs complete in all respects including weather proof sheet metal cabinet, bus bars, internal wiring, earth strip, connector strip, MCB, MCCB, Control fuses, magnetic connector, Overload relay, indication lights, voltmeter, ammeter, under voltage, phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant. | Lot | 1 |  | 0 | 100000 | 100000 | 100000
43 |  | Supply, installation, testing and commissioning of interconnecting wiring, control wiring, power wiring from MCC, DB, panel to equipment (equipment as shown in SLD) with isolation switches near the equipment, including civil works related to complete wiring works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant | Lot | 1 |  | 0 | 450000 | 450000 | 450000
44 |  | Supply, installation, testing and commissioning of perforated cable trays made with 1.63mm SWG (16 Guage) painted G.I Sheet, including hanger, bracket, proper bends, cover of trays shall be made with 1.22mm SWG (18 guage) painted G.I sheet, complete in all respects, ready to operate as per schedule, specification, drawings and as per instruction of Consultant. | Lot | 1 |  | 0 | 300000 | 300000 | 300000
45 |  | Supply & installation of additional MS Pipe support, hangers & anchors for plant room & riser pipes including M.S. angle, U channel, Roller Support, bolts, rods, clamps, Concrete fasteners etc. complete in complete in all respects as per specification, drawings & as per instruction of Consultant. | Job. | 1 |  | 0 | 200000 | 200000 | 200000
46 |  | Painting & Identification work on chilled water pipes & exhaust duct, supports, hangers etc. complete in all respects with one coat of ICI make Red lead oxide primer & two coats of ICI make enamel paint as per instruction of Consultant. | Job. | 1 |  | 0 | 200000 | 200000 | 200000
47 |  | Testing, balancing and commissioning of water side of the system (from independent agency) complete in all respects including flow measurement & balancing, temp, pressure, electrical data of related equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1 |  | 0 | 150000 | 150000 | 150000
48 |  | Testing, balancing and commissioning of air side of the system complete (from independent agency) in all respects including air measurement & balancing, temp, pressure & electrical data of related equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1 |  | 0 | 150000 | 150000 | 150000
49 |  | Making of Shop drawings on Auto CAD latest version with section details and equipment foundation details, as per instruction of Consultant. | Job. | 1 |  | 0 | 20000 | 20000 | 20000
50 |  | Making of As Built drawings, Documentation Technical / Operational Manual & LOG Book for each equipment as per instruction of Consultant. | Job. | 1 |  | 0 | 20000 | 20000 | 20000
|  | Total Cost with income tax Rs. | [6 empty] | 8615475
Note: > The owner reserves the right to supply any or all materials for any item themselves. Therefore, please quote the labour rates accordingly.
> M.S platform & RCC foundation for placement for equipment will be owner scope.
> Kitchen Hoods supply & installation will be owner scope.
> Above quantities based on tender drawing, material should be procured as per approved shop drawing & as per site requirement.
> Contractor is instructed to visit the site, understand the nature of work and then fill the rates accordingly and submit the quotation. No argument and discussion will be entertained after awarding of work.
> Miscellaneous work which was not included in BOQ but necessary to complete the project in all respects and ready to operate as per instructions of Consultant. (Bidder should mentioned the type of works).

## Summary FSS
FSS Work
S.No | Work Description | Amount
1 | Fire hose cabinet double height 32" x 60" x 14" | 42000
2 | Fire hose cabinet size 42" x 36" x 12" | 6000
3 | Fire department breeching connectionair handling units | 5000
4 | Landing valves size 2-1/2" dia | 21000
5 | MS Sch-40 seamless pipes | 1618100
6 | Sprinkler Heads | 385700
7 | Fire extinguishers with fixing accessories. | 14500
8 | Zone Control Valve assembly 3" dia | 7000
9 | Zone Control Valve assembly 4" dia | 24000
10 | Alarm Check valve | 1000
11 | Pressure relief valve size 4" dia | 1000
12 | Automatic air relief valve | 4000
13 | Float Switch for low water level cut off | 1000
14 | Anti vortex suction plates for 6" dia | 5000
15 | Flow meter 6" dia. | 5000
16 | OS & Y Gate valve | 34000
17 | Throttling type butterfly valve | 10000
18 | C.I body check valve | 14000
19 | Fire Pumps Set | 50000
20 | Supervisory Fire Control Panel | 50000
21 | MS insulated 6" dia Diesel Engine | 45000
22 | Allied electrical work including power cables to pumps | 35000
23 | fire stop material | 10000
24 | As-Built & Shop Drawings | 20000
25 | Painting, identification and tagging | 150000
26 | Flushing of entire fire pipe work | 45000
27 | Testing, and commissioning of entire fire fighting | 50000
| Total | 2653300

## FSS
Bill of Quantities
Fire Suppression Services
Imtiaz Super Market | [8 empty] | Rev.00
Saddar, Karachi. | [8 empty] | Date: 25-03-2025
S.No. |  | Description | Unit | Qty | Material |  | Labour |  | Total
[5 empty] | Rate | Amount | Rate | Amount | Amount Rs.
FIRE FIGHTING SERVICES
Supply, installation, testing & commissioning of fire suppression system including all equipment, pipe works and accessories ready to operate as per specifications, drawings and instructions of consultants.
1 |  | Fire hose cabinet double height 32" x 60" x 14", stainless steel front, powder coated back including 1" dia x 100 Rft. rubber hose reel, nozzle guide, lock shield valve, pressure regulating valve automatic 180 deg. swing type, with 2-fire extinguishers as shown on drawing.
| i. | Type FHC | Nos. | 7 |  |  | 6000 | 42000 | 42000
2 |  | Fire hose cabinet size 42" x 36" x 12" for spare hose pipes including 4 Nos. 2-1/2" x 100 Rft. synthetic hose pipe, jet/spray/fog nozzle with aluminum instantaneous coupling, 2-Nos. fire blanket 6'-0" X 6'-0", fireman's axe, 2-pairs of fire proof gloves, front breakable glass, lock and all other accessories as specified, complete in all respects as per drawings, specified.
| i. | Type FHC-S | No. | 1 |  |  | 6000 | 6000 | 6000
3 |  | Fire department breeching connection 2 ways as per BSS 5041-3 including cabinet with breakable glass, SS frame & drain plug. | No. | 1 |  |  | 5000 | 5000 | 5000
4 |  | Landing valves size 2-1/2" dia complete in all respects. | Nos. | 7 |  |  | 3000 | 21000 | 21000
5 |  | MS Sch-40 seamless pipes including all specials fittings UL listed FM approved, threaded, welded joints, flexible pipe, flanges, coupling, masking plates, bends, tees, clamps, supports and hangers, sleeves, masking plates chiseling, cutting holes, making good where required, painting and protection treatment etc. Complete in all respects.
| i. | Dia 1" (Threaded fitting) | Rft. | 2870 |  |  | 180 | 516600 | 516600
| ii. | Dia 1-1/4" (Threaded fitting) | Rft. | 1680 |  |  | 200 | 336000 | 336000
| iii. | Dia 1-1/2" (Threaded fitting) | Rft. | 830 |  |  | 225 | 186750 | 186750
| iv. | Dia 2" (Threaded fitting) | Rft. | 950 |  |  | 250 | 237500 | 237500
| v. | Dia 2-1/2" (Welded joints fitting) | Rft. | 150 |  |  | 275 | 41250 | 41250
| vi. | Dia 3" (Welded joints fitting) | Rft. | 120 |  |  | 300 | 36000 | 36000
| vii. | Dia 4" (Welded joints fitting) | Rft. | 400 |  |  | 350 | 140000 | 140000
| viii. | Dia 6" (Welded joints fitting) | Rft. | 310 |  |  | 400 | 124000 | 124000
6 |  | Sprinkler Heads
| i. | Sprinkler Upright K = 5.6 Quick Response (Opening Temperature 57ºC) | Nos. | 597 |  |  | 600 | 358200 | 358200
| ii. | Sprinkler Pendent type Concealed cover plate Quick Response, K = 5.6 (Opening Temperature 57ºC) | Nos. | 55 |  |  | 500 | 27500 | 27500
7 |  | Fire extinguishers with fixing accessories.
| i. | Type Class B&C FX-3 (6 Kg. CO2 Carbon Dioxide Gas) | Nos. | 8 |  |  | 500 | 4000 | 4000
| ii. | Type Class A,B&C FX-4 (6 Kg. Dry Chemical Powder) | Nos. | 8 |  |  | 500 | 4000 | 4000
| iii. | Type Class K FX-5 (6 Litre Wet chemical fire extinguisher). | Nos. | 5 |  |  | 500 | 2500 | 2500
| iv. | Automatic fire extinguisher (10 Kg. Dry Chemical Powder) | Nos. | 3 |  |  | 500 | 1500 | 1500
| v. | 50 Kg. capacity (Foam Extinguisher Trolley) | No. | 1 |  |  | 500 | 500 | 500
| vi. | 30 Kg. capacity (CO2 Extinguisher Trolley) | No. | 1 |  |  | 2000 | 2000 | 2000
8 |  | Zone Control Valve assembly 3" dia complete with following.
| i. | UL Listed Pressure reducing valve (PRV) 3" dia
| ii. | OS & Y Gate valve 3" size
| iii. | Check valve 3" size | No. | 1 |  |  | 7000 | 7000 | 7000
| iv. | Pressure Gauge
| v. | Water flow switch 3" dia
| vi. | 1-1/2" dia test valve with sight glass & sectional drain valve.
9 |  | Zone Control Valve assembly 4" dia complete with following.
| i. | UL Listed Pressure reducing valve (PRV) 4" dia
| ii. | OS & Y Gate valve 4" size
| iii. | Check valve 4" size | Nos. | 3 |  |  | 8000 | 24000 | 24000
| iv. | Pressure Gauge
| v. | Water flow switch 4" dia
| vi. | 2" dia test valve with sight glass & sectional drain valve.
10 |  | Alarm Check valve assembly with alarm gong and pipe work. with retarding chamber.
| i. | Size. 6" | No. | 1 |  |  | 1000 | 1000 | 1000
11 |  | Pressure relief valve size 4" dia | No. | 1 |  |  | 1000 | 1000 | 1000
12 |  | Automatic air relief valve, 1" connection | Nos. | 4 |  |  | 1000 | 4000 | 4000
13 |  | Float Switch for low water level cut off. | No. | 1 |  |  | 1000 | 1000 | 1000
14 |  | Anti vortex suction plates for 6" dia. suction pipe | No. | 1 |  |  | 5000 | 5000 | 5000
15 |  | Flow meter 6" dia. | No. | 1 |  |  | 5000 | 5000 | 5000
16 |  | OS & Y Gate valve matching flanges with tempering switch.
| i. | Size. 2-1/2" | Nos. | 2 |  |  | 2500 | 5000 | 5000
| ii. | Size. 3" | No. | 1 |  |  | 3000 | 3000 | 3000
| iii. | Size. 4" | Nos. | 4 |  |  | 4000 | 16000 | 16000
| iv. | Size. 6" | Nos. | 2 |  |  | 5000 | 10000 | 10000
17 |  | Throttling type butterfly valve with matching flanges.
| i. | Size. 6" | Nos. | 2 |  |  | 5000 | 10000 | 10000
18 |  | C.I body check valve with matching flanges.
| i. | Size. 4" | No. | 1 |  |  | 4000 | 4000 | 4000
| ii. | Size. 6" | Nos. | 2 |  |  | 5000 | 10000 | 10000
19 |  | Fire Pumps Set 500 gpm @ 9.5 bar comprising of 1 No. multistage in line Jockey Pump + 1 No. main horizontal pump with electrical motor + 1 No. Standby horizontal pump with diesel engine, diesel storage tank including pump controllers mounted on common MS skid, inter connecting pipes, wiring, OS&Y valve, check valves and all accessories as per requirement of NFPA 20, drawings and engineer instruction. | Set. | 1 |  |  | 50000 | 50000 | 50000
20 |  | Supervisory Fire Control Panel for sensing and monitoring of flow and monitoring OS&Y valves switching with true alarm including batteries and charger. | Job. | 1 |  |  | 50000 | 50000 | 50000
21 |  | MS insulated 6" dia Diesel Engine Flue pipe with 2" Rockwool insulation up to outside the building as per Consultant's approval. | Job. | 1 |  |  | 45000 | 45000 | 45000
22 |  | Allied electrical work including power cables to pumps motors, control cables and wires from sensing monitoring and indicating devices and switches to Electrical Control Panel and Fire Control Panel and supervisory switch including GI/PVC conduits and tray, termination, luxes and all accessories complete in all respects. Note: Contractor shall perform allied electrical works within the pump room. Power to the pump room shall be provided by the client. | Job. | 1 |  |  | 35000 | 35000 | 35000
23 |  | Supply & installation of fire stop material (for passive fire fighting / smoke barrier) in all MEP openings and penetrations, either in slab or wall, complete in all respects, ready to operate as per fire stopper recommended material, and as per instruction of Consultant. | Job. | 1 |  |  | 10000 | 10000 | 10000
24 |  | Making of As-Built & Shop Drawings on AutoCAD 2018 or latest version with sectional details complete in all respects as per instructions of consultant. | Job. | 1 |  |  | 20000 | 20000 | 20000
25 |  | Painting, identification and tagging to the installations and equipments. | Job. | 1 |  |  | 150000 | 150000 | 150000
26 |  | Flushing of entire fire pipe work according to (NFPA-13). | Job. | 1 |  |  | 45000 | 45000 | 45000
27 |  | Testing, and commissioning of entire fire fighting installation as per Consultant's approval. | Job. | 1 |  |  | 50000 | 50000 | 50000
|  | Total Cost of Works with Income Tax Rs. | [6 empty] | 2653300
Note:
> | Above quantities based on tender drawing, material should be procured as per approved shop drawing & as per site requirement.
> | Contractor is instructed to visit the site, understand the nature of work & then fill the rates accordingly and submit the quotation. No argument and discussion will be entertained after awarding of work.
> | Miscellaneous work which was not included in BOQ but necessary to complete the project in all respects and ready to operate as per instructions of Consultant. (Bidder should mentioned the type of works).

## Summary Plu
Plumbling Summary
S.No | Work Description | Amount
1 | PLUMBING FIXTURES | 183500
2 | WATER SUPPLY SYSTEM | 173525
3 | SOIL, WASTE VENT AND RAIN WATER DRAINAGE SYSTEM | 232500
4 | EXTERNAL SEWER & MANHOLES | 188000
5 | SUNDRIES | 50000
| Total | 827525

## Plum
Bill of Quantities
Plumbing & Sanitary Services
Imtiaz Super Market | [8 empty] | Rev.00
Saddar, Karachi. | [8 empty] | Date: 25-03-2025
S.No. |  | Description | Unit | Qty | Material |  | Labour |  | Total
[5 empty] | Rate | Amount | Rate | Amount | Amount Rs.
SECTION - 01, PLUMBING FIXTURES
Supply and Installation of plumbing fixtures & faucets complete in all respects including all accessories, support, hangers, etc. ready to use as per specifications, drawings and instructions of Consultant.
1.1 |  | European style coupled water closet floor mounted with seat cover, flush tank C.P. (chrome plated) connector, thimble, etc.
| i. | Type - EWC | Nos. | 3 |  | 0 | 7000 | 21000 | 21000
1.2 |  | Asian style water closet Orissa type with flush tank C.P. (chrome plated) connector, uPVC Class "E" flush pipe, thimble, P-Trap, etc.
| i. | Type - AWC | Nos. | 7 |  | 0 | 6000 | 42000 | 42000
1.3 |  | Toilet Hand Spray with flexible chain & telephone type shower Including tee stop cock etc. complete in all respect.
| i. | Type - TS (for EWC) | Nos. | 3 |  | 0 | 1500 | 4500 | 4500
1.4 |  | Toilet Hand Spray with flexible chain & telephone type shower Including double bib cock etc. complete in all respect.
| i. | Type - TS (for AWC) | Nos. | 7 |  | 0 | 1000 | 7000 | 7000
1.5 |  | Wash basin (WB) including bottle trap, waste, stop cocks, etc.
| i. | Type - WB (without Pedestal) | Nos. | 6 |  | 0 | 5000 | 30000 | 30000
| ii. | Type - WB (Vanity) | Nos. | 4 |  | 0 | 5000 | 20000 | 20000
1.6 |  | Wash basin hot and cold water mixer, etc.
| i. | Type - WB | Nos. | 6 |  | 0 | 2000 | 12000 | 12000
| ii. | Type - WB (Vanity) | Nos. | 4 |  | 0 | 2000 | 8000 | 8000
1.7 |  | Shower set with mixer including filler and shower head.
| i. | Type - SH | Nos. | 2 |  | 0 | 4000 | 8000 | 8000
1.8 |  | Stainless steel kitchen sink including stop cocks, P-trap / Bottle trap, waste pipe etc complete in all respects.
| i. | SK - 1, 34" x 20" single bowl and single drainer. | No. | 1 |  | 0 | 2000 | 2000 | 2000
1.9 |  | Sink hot and cold water mixer, etc.
| i. | SK - 1 | No. | 1 |  | 0 | 2000 | 2000 | 2000
1.1 |  | S.S Grease Trap 7.5 Kg inlet/outlet connections 2" dia complete in all respects. | Nos. | 1 |  | 0 | 5000 | 5000 | 5000
1.11 |  | Bib cocks brass body hot and cold water for Ablution.
| i. | AB - 3/4" | Nos. | 4 |  |  | 1000
1.12 |  | Toilet accessories complete set.
| i. | Soap Dispenser | Nos. | 10 |  | 0 | 500 | 5000 | 5000
| ii. | Towel Rail | Nos. | 8 |  | 0 | 500 | 4000 | 4000
| iii. | Paper Holder | Nos. | 3 |  | 0 | 500 | 1500 | 1500
| iv. | Brush Holder | Nos. | 3
| v. | Coat Hooks | Nos. | 20 |  | 0 | 500 | 10000 | 10000
| vi. | Hand Dryer | Nos. | 3 |  | 0 | 500 | 1500 | 1500
|  | Sub Total Rs. | [5 empty] | 183500 | 183500
SECTION-02 WATER SUPPLY SYSTEM
Supply, installation, testing and commissioning of complete pipe work for cold and hot water system including all accessories required to complete systems ready to operate as per specification, drawings & instruction of Consultant.
2.1 |  | Polypropylene Random PP-R pipes PN 20 and fittings with fusion jointing along with all types of unions, tees, bends, sockets, clamps, hangers, supports, sleeves, masking plates, chiseling, making holes making good, excavation, bedding backfilling as required complete in all respect.
| i. | Dia. OD 25 mm | Rft. | 280 |  | 0 | 100 | 28000 | 28000
| ii. | Dia. OD 40 mm | Rft. | 210 |  | 0 | 150 | 31500 | 31500
| iii. | Dia. OD 50 mm | Rft. | 15 |  | 0 | 160 | 2400 | 2400
| iv. | Dia. OD 63 mm | Rft. | 20 |  | 0 | 200 | 4000 | 4000
| v. | Dia. OD 75 mm | Rft. | 25 |  | 0 | 225 | 5625 | 5625
2.2 |  | Same as item # 2.1 but for hot water supply with Polypropylene Random PP-R (PN -25) with Aluminium foil.
| i. | Dia OD 25 mm | Rft. | 150 |  | 0 | 115 | 17250 | 17250
2.3 |  | Open cell rubber foam insulation 3/8" thick & pvc tape wrapping for hot water pipes.
| i. | Dia OD 25 mm | Rft. | 150 |  | 0 | 25 | 3750 | 3750
2.4 |  | Brass body gate valves / ball valves with unions.
| i. | Size 3/4" | Nos. | 30 |  | 0 | 1000 | 30000 | 30000
| ii. | Size 1" | Nos. | 3 |  |  | 1000
| iii. | Size 1-1/4" | Nos. | 2 |  | 0 | 1000 | 2000 | 2000
| iv. | Size 1-1/2" | Nos. | 3 |  | 0 | 1500 | 4500 | 4500
2.5 |  | C.I body check valve with matching flanges.
| i. | Size 1-1/2" | No. | 1 |  | 0 | 1500 | 1500 | 1500
2.6 |  | Bib cock brass body for washing area.
| i. | Size 3/4" | Nos. | 2 |  | 0 | 1000 | 2000 | 2000
2.7 |  | Hot water storage heater (Electric) suitable for 30 psi working pressure including thermostat, inlet/outlet connection. Pressure relief valve.
| i. | HWE-30 (30 Litres Storage Capacity) | Nos. | 5 |  | 0 | 2000 | 10000 | 10000
| ii. | HWE-50 (50 Litres Storage Capacity) | Nos. | 3 |  | 0 | 2000 | 6000 | 6000
2.8 |  | Pressure boosting pumps set with VFD, motors electrical panel including incoming, outgoing MCCBs, pressure transmeter, pumps starters, lead/lag relay, dry run protection, 100 litres diaphragm pressure tank, inter connecting pipe work, valves, mounted on common steel base, lnlet/outlet connection electrical power cable, foundation as per schedule. (1 duty & 1 standby)
| i. | PBP-01 @ 35 gpm 2.5 bar pressure cut-in & 3.5 cut-out. | Set | 1 |  | 0 | 25000 | 25000 | 25000
|  | Sub Total Rs. | [5 empty] | 173525 | 173525
SECTION-03 SOIL, WASTE VENT AND RAIN WATER DRAINAGE SYSTEM
Supply, fixing, testing and commissioning of equipment, pipe work required to complete the soil, waste, vent and rain water systems in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
3.1 |  | uPVC pipes of approved make along with specials, fittings, bends, wye, tees, sockets, flexible connectors, sleeves, masking plates, chiseling, making hole, excavation, backfilling making good where as required jointing with rubber ring seal.
| i. | Dia. 1-1/2" | Rft. | 50 |  | 0 | 100 | 5000 | 5000
| ii. | Dia. 2" | Rft. | 320 |  | 0 | 150 | 48000 | 48000
| iii. | Dia. 4" | Rft. | 650 |  | 0 | 200 | 130000 | 130000
| iv. | Dia. 2" Class "D" (for sump pit discharge pipe) | Rft. | 80 |  | 0 | 150 | 12000 | 12000
3.2 |  | Floor trap including S.S grating floor trap, inlet outlet connection complete in all respects.
| i. | FT- with 4" P - trap | Nos. | 28 |  | 0 | 1000 | 28000 | 28000
3.3 |  | Cleanout for soil, waste pipes of approved make.
| i. | For 4" dia. Pipe with SS floor cover plate (FCO) | Nos. | 6 |  | 0 | 1000 | 6000 | 6000
3.4 |  | uPVC cowl for vent pipe of the following dia. including all accessories complete.
| i. | Size. 2" | Nos. | 3 |  | 0 | 500 | 1500 | 1500
| ii. | Size. 4" | Nos. | 4 |  | 0 | 500 | 2000 | 2000
|  | Sub Total Rs. | [5 empty] | 232500 | 232500
SECTION-04 EXTERNAL SEWER & MANHOLES
Supply, fixing, testing and commissioning of equipment, pipe work required to complete the sewerage disposal services in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
4.1 |  | uPVC pipes class 'D' for Sewer drainage with push fit rubber joints including excavation in any type of soil, dewatering if required bedding, back filling with selected material, removing of extra materials.
| i. | Dia. 6" size | Rft. | 180 |  | 0 | 300 | 54000 | 54000
4.2 |  | Construction of Gully Trap with material including, excavation, 4" size uPVC P-trap CC base CI cover with frame, CC benching water proof internal plaster inlet/out connections etc.
| i. | Type GT, Size 10"x10" | Job. | 4 |  | 0 | 3000 | 12000 | 12000
4.3 |  | Construction of grating with material including, excavation, uPVC P-trap CC base MS grating with frame, CC benching water proof internal plaster inlet/out connections etc.
| i. | Size 6" wide | Rft. | 8 |  | 0 | 2000 | 16000 | 16000
4.4 |  | Construction of manholes with material including, excavation, base top RCC slab CI cover with frame, GI steps, CC benching water proof internal plaster inlet/out connections etc.
| i. | Size. 24" X 24" | Nos. | 5 |  | 0 | 15000 | 75000 | 75000
4.5 |  | Construction of sump pit tank with material including, excavation, base top slab bedding, GI steps, CI double covers, internal CC water proof plasters, uPVC tees, CC benching, inlet/outlet connection etc, complete in all respect. (Except civil works)
| i. | Size 3'-0" x 3'-0" x 3'-0" water depth | Job. | 1 |  | 0 | 25000 | 25000 | 25000
4.6 |  | Submersible pump for waste water drainage including float switch, water proof cable, ball valves, check valves with union & lifting chain. (1 duty & 1 standby)
| i. | SP-01 @ 25 gpm 25 feet head. | Set. | 1 |  | 0 | 1000 | 1000 | 1000
4.7 |  | Motor Control panel for Duplex (2 Nos.) submersible pumps including auto Lead/Lag sequencing of pumps, pump starters, auto on / off, float switches, high level alarm, power and control wiring. | Job | 1 |  | 0 | 5000 | 5000 | 5000
|  | Sub Total Rs. | [5 empty] | 188000 | 188000
SECTION-05 SUNDRIES
Contractor will priced the sundries items for all Plumbing & Sanitary (P&S) services as per specifications, drawings and instruction of consultant.
5.1 |  | Submittals, samples, shop drawings, inspections, As-Built drawings, operation and maintenance manuals and the like as required by specification. | Job. | 1
5.2 |  | Testing, and commissioning entire P&S installation as per Engineer's approval. | Job. | 1 |  | 0 | 50000 | 50000 | 50000
Sub Total Rs.
|  | TOTAL OF ALL SECTIONS RS. | [5 empty] | 50000 | 50000