## Sheet1
2024-12-03
Project: Bank Al Habib Limited 12th Floor
RATE ANALYSIS
Chilled water pipe Insulation
S. # | Description | Material Rate | Cladding (Material + labour) | Wastage 05% | Cons Glue / Tape 10% | Over Head profit 25% | Total Rate | Unit | Qty | Amount
Brand: XLPE Aerofoam
Aerofoam insulation on chilled water pipe.
i | 25mm dia | 1463.2 | 600 | 103.16 | 206.32 | 593.17 | 2965.85 | Rft | 1 | 2965.85 | 6200 | 1240 | 1463.2
ii | 32mm dia | 1858.5 | 650 | 125.425 | 250.85 | 721.1938 | 3605.9688 | Rft | 1 | 3605.9688 | 7875 | 1575 | 1858.5
iii | 40mm dia | 1982.4 | 700 | 134.12 | 268.24 | 771.19 | 3855.95 | Rft | 1 | 3855.95 | 8400 | 1680 | 1982.4
iv | 50mm dia | 2128.72 | 725 | 142.686 | 285.372 | 820.4445 | 4102.2225 | Rft | 1 | 4102.2225 | 9020 | 1804 | 2128.72
v | 60mm dia | 2383.6 | 750 | 156.68 | 313.36 | 900.91 | 4504.55 | Rft | 1 | 4504.55 | 10100 | 2020 | 2383.6
S. # | Description | Material Rate | Cladding (Material + labour) | Wastage 05% | Cons Glue / Tape 10% | Over Head profit 25% | Total Rate | Unit | Qty | Amount
Brand: PU
Polyurethane insulation (PU) on chilled water pipe.
i | 25mm dia | 560 | 600 | 58 | 116 | 333.5 | 1667.5 | Rft | 1 | 1667.5 | 2390 | 478 | 564.04
ii | 32mm dia | 610 | 650 | 63 | 126 | 362.25 | 1811.25 | Rft | 1 | 1811.25 | 2725 | 545 | 643.1
iii | 40mm dia | 665 | 700 | 68.25 | 136.5 | 392.4375 | 1962.1875 | Rft | 1 | 1962.1875 | 2975 | 595 | 702.1
iv | 50mm dia | 690 | 725 | 70.75 | 141.5 | 406.8125 | 2034.0625 | Rft | 1 | 2034.0625 | 3350 | 670 | 790.6
v | 60mm dia | 785 | 750 | 76.75 | 153.5 | 441.3125 | 2206.5625 | Rft | 1 | 2206.5625 | 3800 | 760 | 896.8
Note: Suppliers' quotations attached.