## HVAC
[6 empty] | Date | 13 May 2024
[6 empty] | Quotation # | 002
Attn: Mr. Shujaat Ali
NTN 4312149-7
Quotation
Supply and installation of Ventilation system at basement Bank Al-Falah Head Office Karachi.
OPTION 1
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | Removal of power supply and existing cabinet type exhuast fans from basement area. | Nos | 4 | 0 | 5000 | 0 | 20000
2 | Core Cuttings with Hilti for frehs air . | Nos | 4 | 0 | 25000 | 0 | 100000
3 | Supply & Installation of Axial fans with related fittings such as nut bolts, rawal bolt gasket etc. | Nos | 8 | 140000 | 10000 | 1120000 | 80000
4 | Supply & Installation of Machine made G.I Sheet metal duct with nut bolts, rawal bolt gasket etc. | SFT | 1660 | 450 | 80 | 747000 | 132800
5 | Supply & Installation of hangers & supports for equipment and G.I ducts. | Job | 1 | 35000 | 15000 | 35000 | 15000
6 | Supply and installation of flexible duct connector | Job | 1 | 15000 | 7000 | 15000 | 7000
7 | Supply and installation of eye bolic diffuser 6" Dia | Nos | 4 | 12000 | 1000 | 48000 | 4000
8 | Providing and installation of wire with angle frame for fresh air / exhaust air. | Job | 1 | 20000 | 20000 | 20000 | 20000
9 | Painting and tagging of equipment. | Job | 1 | 15000 | 15000 | 15000 | 15000
10 | Testing and commissioning of fresh / exhaust air fans | Job | 1 | 0 | 30000 | 0 | 30000
Total Amount Rs | [5 empty] | 2000000 | 423800
SRB 13% on Labour | [5 empty] | 0 | 55094
Total after SRB | [5 empty] | 2000000 | 478894
Grand Total Amount Rs | [6 empty] | 2478894
Note: Bill will be charged on actual measurment.
OPTION 2
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | Supply & Installation of VFD ATV 212 HO75 N4-7.5 KW IP21 (SCHNIDER) | Nos | 1 | 350000 | 8000 | 350000 | 8000
2 | Supply & Installation of VFD ATV 212 HD22 N4-22 KW IP21 (SCHNIDER) | Nos | 1 | 980000 | 15000 | 980000 | 15000
Total Amount Rs | [5 empty] | 1330000 | 23000
SRB 13% on Labour | [5 empty] | 0 | 2990
Total after SRB | [5 empty] | 1330000 | 25990
Grand Total Amount Rs | [6 empty] | 1355990
Note: Electrical work not included in the quote.
For PIONEER SERVICES
PIONEER SERVICES