## Sheet1
PES/BM/001-001/09/17 | [5 empty] | 2017-09-22
Attn: Mr. Kumail Younus
Bill for Swimming pool work at Burhani Mehal.
S. # | Description | Qty | Unit | Material rate | Installation rate | Total Amount
1 | Providing & installation of Fiber pool filter with multi port valve media etc complete in all respect. 36" Dia | 1 | No | 190000 | 20000 | 210000
2 | Providing & installation of 2HP single phase pool filter pump | 2 | Nos | 75000 | 10000 | 170000
3 | Providing & installation of main drain 12 x 12 | 1 | No. | 15000 | 2000 | 17000
4 | Providing & installation of Inlet | 4 | Nos. | 2500 | 500 | 12000
5 | Providing & installation of Vaccuum point. | 2 | Nos. | 2800 | 500 | 6600
6 | Providing & installation of Skimmer. | 3 | Nos | 11000 | 3000 | 42000
7 | Pool ladder (2 Step) | 1 | No. | 19000 | 2000 | 21000
8 | Pool Lights 10" Dia with transformer | 6 | Nos. | 14000 | 2000 | 96000
9 | Providing & installation of floor Junction box Box | 6 | Nos. | 1500 | 500 | 12000
10 | Maintenance kit | 1 | No. | 20000 | 2000 | 22000
11 | Providing & installation of electrical wiring for pool light with 7.036mm | 900 | Rft | 200 | 25 | 202500
12 | Gate Valve 2" Dia | 8 | Nos | 4500 | 500 | 40000
13 | Pipe 2" Class E | 500 | Rft | 109 | 50 | 79500
14 | Check Valve 2" Dia | 2 | Nos | 3500 | 500 | 8000
15 | Check Valve 1 ½" Dia | 2 | Nos | 3200 | 500 | 7400
16 | Check Valve 1" Dia | 3 | Nos | 1900 | 500 | 7200
17 | Installation of Owner Supplied Ozone generator with supply of fittings. | 1 | No. | 0 | 8000 | 8000
18 | Installation of pool heater with related fittings. | 1 | No. | 0 | 7000 | 7000
19 | Testing & commissioning of swimming pool | 1 | Job | 0 | 65000 | 65000
20 | Providing & installation of pool MCC Panel | 1 | Job | 110000 | 10000 | 120000
Total Amount Rs. | [5 empty] | 1153200
Thanking you,
Sincerely yours, | [5 empty] | 1110000 | 900000
For PIONEER ENGINEERING SERVICES.
M. HABIB UR REHMAN