## Sheet1
PS/TNW/302/07/21 |  |  |  |  | 2021-07-07
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Muhammad
Quotation for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate | Amount
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting (22 SWG) for air ducting, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 1320 | 280 | 369600
2 | Supply, Installation & Commissioning of Glass wool insulation of 25mm thickness for supply and return air ducts complete in all respect as per drawings. | Sqft | 1320 | 150 | 198000
3 | Supply & installation of Flexible duct connector for supply and return air. | Rft | 40 | 750 | 30000
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect
| a) Fresh air intake louver | Sqft | 4 | 4000 | 16000
| b) Return air grills | Sqft | 24 | 4000 | 96000
5 | Installation of Jet Diffuser 4" Dia with damper | Nos | 8 | 1000 | 8000
6 | Installation of Jet Diffuser 6" Dia with damper | Nos | 20 | 1500 | 30000
7 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings.
| a) VCD | Sqft | 15 | 4000 | 60000
| b) Fire Damper | Sqft | 15 | 5000 | 75000
8 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 200 | 200 | 40000
9 | Supply and installation of hangers & supports complete in all respect. | Job | 1 | 45000 | 45000
10 | Air balancing of entire system | Job | 3 | 25000 | 75000
11 | Testing & comissioning of system. | Job | 3 | 15000 | 45000
Total Amount Rs |  |  |  |  | 1087600
SST Tax 13% |  |  |  |  | 141388 | Advance payment
Grand Total Amount Rs |  |  |  |  | 1228988 | Advance | 40% | 491595.2
Note: Bill will be charged on actual quantity at site | [5 empty] | Less Tax | 7.5% | 36869.64
[6 empty] | Cheque amount |  | 454725.56
Thanking you,
For PIONEER SERVICES.
[6 empty] | Gross amout |  | 1228988
[6 empty] | received amount |  | 491595.2
[6 empty] | Net |  | 737392.8
[6 empty] | Less Tax 7.5% |  | 55304.46
[6 empty] | Net |  | 682088.34
[6 empty] | Less 20% SRB w/H |  | 28277.6
653810.74
1108536.3
PIONEER SERVICES