## Sheet1
PES/tnw/300/04/21 |  |  |  |  | 2021-05-29
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Muhammad
Quotation for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate | Amount
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting (22 SWG) for air ducting, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 1250 | 280 | 350000
2 | Supply, Installation & Commissioning of Glass wool insulation of 25mm thickness for supply and return air ducts complete in all respect as per drawings. | Sqft | 1250 | 150 | 187500
3 | Supply & installation of Flexible duct connector for supply and return air. | Rft | 40 | 750 | 30000
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect
| a) Jet Diffuser 4" Dia with damper | Nos | 6 | 6000 | 36000
| b) Jet Diffuser 6" Dia with damper | Nos | 20 | 11000 | 220000
| c) Fresh air intake louver | Sqft | 4 | 4000 | 16000
| d) Return air grills | Sqft | 24 | 4000 | 96000
5 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings.
| a) VCD | Sqft | 15 | 4000 | 60000
| b) Fire Damper | Sqft | 15 | 5000 | 75000
6 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 200 | 200 | 40000
7 | Supply and installation of hangers & supports complete in all respect. | Job | 1 | 45000 | 45000
8 | Air balancing of entire system | Job | 3 | 25000 | 75000
9 | Testing & comissioning of system. | Job | 3 | 15000 | 45000
Total Amount Rs |  |  |  |  | 1275500
Note: Bill will be charged on actual quantity at site
Thanking you,
For PIONEER ENGINEERING SERVICES.
NADEEM IQBAL