## Sheet1
PES/tnw/301/05/21 | [7 empty] | 2021-04-22
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Muhammad
Quotation for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate |  | Amount |  | Total Amount
|  |  |  | Material | Labour | Material | Labour
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting machine made with gasket, nut bolts washers etc for duct, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 19660 | 230 | 60 | 4521800 | 1179600 | 5701400
2 | Supply, Installation & Commissioning of Glass wool insulation (25mm thick density 24 kg) for supply and return air ducts complete in all respect as per drawings. | Sqft | 19660 | 120 | 30 | 2359200 | 589800 | 2949000
3 | Supply & installation of Flexible duct connector for supply and return connection from packaged units. (Imported Ductmate) | Rft | 540 | 550 | 50 | 297000 | 27000 | 324000
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect |  |  |  |  | 0 | 0 | 0
| a) Jet Diffuser 4" Dia with damper | Nos | 8 | 4750 | 1000 | 38000 | 8000 | 46000
| b) Jet Diffuser 6" Dia with damper | Nos | 20 | 9500 | 1000 | 190000 | 20000 | 210000
| c) Fresh air intake louver | Sqft | 78 | 3500 | 500 | 273000 | 39000 | 312000
| d) Return air grills | Sqft | 24 | 3500 | 500 | 84000 | 12000 | 96000
5 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings. |  |  |  |  | 0 | 0 | 0
| a) VCD | Sqft | 280 | 3000 | 500 | 840000 | 140000 | 980000
| b) Fire Damper | Sqft | 280 | 3100 | 500 | 868000 | 140000 | 1008000
6 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 3800 | 170 | 30 | 646000 | 114000 | 760000
7 | Supply / installation of hangers & supports for HVAC ducts (packaged units. | Job | 38 | 6000 | 1500 | 228000 | 57000 | 285000
8 | Air balancing of packaged units. | Nos | 38 | 0 | 5000 | 0 | 190000 | 190000
9 | Testing & comissioning of packaged units (Cordination) | Job | 38 | 0 | 5000 | 0 | 190000 | 190000
Total Amount Rs | [7 empty] | 13051400
Note: Bill will be charged on actual quantity at site
Thanking you,
For PIONEER ENGINEERING SERVICES.
NADEEM IQBAL

## Sheet2
PES/TNW/301/05/21 | [7 empty] | 2021-04-22
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Kumail Younus
Quotation for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate |  | Amount |  | Total Amount
|  |  |  | Material | Labour | Material | Labour
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting machine made with gasket, nut bolts washers etc for duct, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 19660 | 230 | 60 | 4521800 | 1179600 | 5701400
2 | Supply, Installation & Commissioning of Glass wool insulation (25mm thick density 24 kg) for supply and return air ducts complete in all respect as per drawings. | Sqft | 19660 | 120 | 30 | 2359200 | 589800 | 2949000
3 | Supply & installation of Flexible duct connector for supply and return connection from packaged units. (Imported Ductmate) | Rft | 540 | 550 | 50 | 297000 | 27000 | 324000
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect |  |  |  |  | 0 | 0 | 0
| a) Jet Diffuser 4" Dia with damper | Nos | 8 | 4750 | 1000 | 38000 | 8000 | 46000
| b) Jet Diffuser 6" Dia with damper | Nos | 20 | 9500 | 1000 | 190000 | 20000 | 210000
| c) Fresh air intake louver | Sqft | 78 | 3500 | 500 | 273000 | 39000 | 312000
| d) Return air grills | Sqft | 24 | 3500 | 500 | 84000 | 12000 | 96000
5 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings. |  |  |  |  | 0 | 0 | 0
| a) VCD | Sqft | 280 | 3000 | 500 | 840000 | 140000 | 980000
| b) Fire Damper | Sqft | 280 | 3100 | 500 | 868000 | 140000 | 1008000
6 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 3800 | 170 | 30 | 646000 | 114000 | 760000
7 | Supply / installation of hangers & supports for HVAC ducts (packaged units. | Job | 38 | 6000 | 1500 | 228000 | 57000 | 285000
8 | Air balancing of packaged units. | Nos | 38 | 0 | 5000 | 0 | 190000 | 190000
9 | Testing & comissioning of packaged units (Cordination) | Job | 38 | 0 | 5000 | 0 | 190000 | 190000
Total Amount Rs | [7 empty] | 13051400
Note: Bill will be charged on actual quantity at site
Thanking you,
For PIONEER ENGINEERING SERVICES.
M. Bilal Habib