## Summery 1st IPC (hidden)
1st Running Bill
Total Construction
CONSTRUCTION OF NEW SURGICAL ONCOLOGY COMPLEX AT JPMC , KARACHI
Civil Works |  | SUMMARY
S # | BOQ # | Description | Previous Bill Amount | Current Bill Amount | Total Amount ( Rs)
Demolition Works
A | 01-1C | Demolition Works | 0 | #REF! | #REF!
B |  | Earth Work
| 01-2C | Excavation | 0 | #REF! | #REF!
| 01-4C | Back Filling ( out side source ) | 0 | #REF! | #REF!
| 01-5C | Stone Soling | 0 | #REF! | #REF!
C |  | Termite Control Treatment
| 01-6C | Termite | 0 | #REF! | #REF!
D |  | Reinforcement
| 01-7C | Steel Grade 70 | 0 | #REF! | #REF!
E |  | SUB-STRUCTURE
| 01-8C | Class 'E' concrete ( Lean for Foundation ) | 0 | #REF! | #REF!
| 01-10C | Class 'B' concrete (Footing / Foundation) | 0 | #REF! | #REF!
| 01-11C | Class 'A' concrete (Column up to plinth) | 0 | #REF! | #REF!
F |  | Water Proofing & Built up Roofing.
| 01-40C | Bitumen coating grade 10/20 | 0 | #REF! | #REF!
| Total ( A+B+C+D+E+F ) = G |  | 0 | #REF! | #REF! | #REF!
| I | Deduction Against Rebate @ 2.64 % | 0 | #REF! | #REF!
| H= G-I | Work done Amount after Rebate | 0 | #REF! | #REF! | #REF!
Extra Works detail
|  | Relocation of Electrical cables | 0 | 222300 | 222300
|  | Work done Amount including Extra Woks | 0 | #REF! | #REF!
DEDUCTIONS
| I | Recovery of OFM
| ia | Deduction Against Steel 91.23 tons @ 85500 per tons | 0 | -7800250.5 | -7800250.5
| ib | Deduction Against Cement @ 550/= Per Bag ( OPC ) [ 4184 bags ] | 0 | -2301200 | -2301200
| I | Total Amount after OFM Deduction | 0 | #REF! | #REF!
| ja | 10 % Of Retention Mooney | 0 | #REF! | #REF!
| jb | Mobilization Advance | 0 | -2000000 | -2000000
| J | Total Amount After deduction of Retention & Mobilization | 0 | #REF! | #REF!
|  | Deduction Income tax @7.5 % | 0 | #REF! | #REF!
| K | Total Payable Amount after all deductions | 0 | #REF! | #REF!

## Plumbing Works (UGT)
SUBMITTAL / SHOP DRAWINGS STATUS
CONSTRUCTION OF DEPARTMENT OF PSYCHIATRY & NEUROLOGY AT JPMC KARACHI
Item No. | Description | Unit | BOQ Qty | Submission Date | Attached Brochure / Sample | Approved / Dis approved | Remarks
SHOP DRAWINGS.
A. | Water Supply Ref: Spec. No5100 & 5180
1P | PPR cold and hot water pipes SDR - 6 (PN 20) conforming to DIN 8077 & DIN 8078 & fittings, SDR 6 (PN 25) conforming to DIN 16962 of following inner diameters (for unexposed piping)
| a) 1/2 inch Inner Dia. | R-Ft | 25
| b) 3/4 inch Inner Dia. | R-Ft | 1625
| c) 1 inch Inner Dia. | R-Ft | 625
| d) 1-1/4 inch Inner Dia. | R-Ft | 250
| e) 1-1/2 inch Inner Dia. | R-Ft | 313
| f) 2 inch Inner Dia. | R-Ft | 125
| g) 2-1/2 inch Inner Dia. | R-Ft | 13
| h) 3 inch Inner Dia. | R-Ft | 13
2P | Electric Water Cooler
| h) 90 Ltr / hr | Nos. | 3
3P | Bronze gate valve of the following diameters.
| a) 3/4 inch | Nos. | 1
| b) 1 inch Inner | Nos. | 6
| c) 1-1/4 inch | Nos. | 1
| d) 1-1/2 inch | Nos. | 13
| e) 2 inch | Nos. | 9
| f) 2-1/2 inch | Nos. | 11
| g) 3 inch | Nos. | 5
| h) 4 inch | Nos. | 3
4P | C.P. brass double bib tap with muslim shower of following diameter
| a) 3/4 inch | Nos. | 118
5P | Electric Water Heater Including gate valve and all other accesspries of the following capacity.
| a) 12 US Gallons | No | 5
| b) 25 US Gallons | No | 4
| c) 35 Gallons | No | 4
B. | PLUMBING FIXTURES Ref: Spec. No 5100 & 5180
6P | Europen water closet (Coupled) including all other necessary accessories as specified & required for installation. | Nos. | 115
7P | Europen water closet (Coupled) for disable including all other necessary accessories as specified & required for installation. | Nos. | 3
8P | Pedestal type wash basin with all other accessories as specified & required for installation. | Nos. | 43
9P | Counter type wash basin for all other accessories as specified & required for installation. | Nos. | 64
10P | Pedestal type wash basin for disable with all other accessories as specified & required for installation. | Nos. | 3
11P | Imported galss mirror of Belgium origin as specified. | SM | 975
12P | C.P towel rail as specified. | Nos. | 45
13P | C.P toilet paper holder as specified. | Nos. | 118
14P | C.P Soap dispensor as Specified. | Nos. | 78
15P | Shower rose including all accessories as specified. | Nos. | 20
16P | Stainless stell single bowl kitchen sink with all accessories as specified & required for installation. | Nos. | 5
16P(a) | Stainless steel Sluice including all other accessories complete as specified and as per manufacture's recommendations. | Nos. | 8
C. | SANITARY DRAINAGE Ref: Spec. No 5100 & 5180
17P | uPVC soil,waste and vent pipes conforming to ASTM D-1785 of Schedule 40 & fittings D-2465 of Schedule 40 including fittings Compatible with pipe of following diameter:
| a) 1-1/2 inch | R-Ft | 513
| b) 2 inch | R-Ft | 1075
| c) 3 inch | R-Ft | 3250
| d) 4 inch | R-Ft | 2250
18P | Floor drains with stainless steel gratings and UPVC P- trap of the folllowing diameter as specified.
| a) 3 inch | Nos. | 125
19P | Floor trap with stainless steel gratings and UPVC P - trap of the following diameter as specified.
| a) 3 inch | Nos. | 138
20P | Floor cleanout with brass cover of the following diameter as specified
| a) 3 inch | Nos. | 15
| b) 4 inch | Nos. | 15
21P | Plug cleanout of the following diameter as specified
| a) 3 inch | Nos. | 58
| b) 4 inch | Nos. | 50
22P | C.I vent cowel for soil / waste pipe of the following diameter as specified.
| a) 3 inch | Nos. | 13
D. | RAIN WATER PIPING. Ref: Spec. No 5100 & 5180
23P | uPVC rain water pipes conforming to ASTM D-1785 of Schedule 40 & fittings D-2465 of Schedule 40 including jointing with solvent cement confirming to ASTM D-2564 compatible with pipe of following diameter:
| a) 4 inch | R-Ft | 375
| b) 6 inch | R-Ft | 63
24P | Cast Iron pipe conforming to BS 416 of following diameter as specified.
| 3 inch | R-Ft | 31
| 4 inch | R-Ft | 600
25P | Cast Iron roof drains side inlet type of the following diameter as specified and as shown in the drawing.
| 3 inch | Nos. | 1
| 4 inch | Nos. | 1
26P | Cast Iron roof drains dome type of the following diameter as specified and as shown in the drawing.
| 3 inch | Nos. | 8
| 4 inch | Nos. | 1
27P | uPVC rain water shoes of following diameters
| a) 6 inch | Nos. | 1
| b) 4 inch | Nos. | 8
E. | EXTERNAL WATER SUPPLY SYSTEM Ref: Spec. No. 5100,5225,5213 & 5180
28P | Supply and installation of HDPE Pipes PE-100, (PN-16 & SDR-11) conforming to ISO-4427 : 1996 with fittings conforming to ISO-3458 including puddle flangesof following diametersas shown in drawings and as specified for filling OHWT. (O.D - Outer Diameter)
| a) Dia 3.54 inch (90 mm OD) | R-Ft | 500
29P | GI Pipes and fittings (Medium duty) of following diameters as specified (exposed piping on roof)
| a) Dia. 4 inch | R-Ft | 25
| b) Dia. 3 inch | R-Ft | 250
| c) Dia. 2-1/2 inch | R-Ft | 750
| d) Dia. 2 inch | R-Ft | 563
| e) Dia. 1-1/2 inch | R-Ft | 250
| f) Dia. 3/4 inch | R-Ft | 100
30P | Gate Valve in chamber of following diameter as shown on the drawing and as specified.
| a) Dia. 3 inch | Nos. | 1
31P | Dia 2" G.I overflow pipe for over head tank | R-Ft | 13
32P | Cast iron cover with frame of following size (Light Duty)
| a) 2'-0" x 2'x0" | Nos. | 5
33P | G.I U-turn vent pipe of following diameter:
| a) Dia. 2 inch | Nos. | 5
34P | Galavanised M.S ladder rungs for roof tank as specified. | Nos. | 20
F. | EXTERNAL SEWERAGE SYSTEM
uPVC PIPE AND FITTINGS (SEWERAGE) Ref: Spec No. 5218 & 5180
35P | uPVC drainage pipe & fittings conforming to BS 3505 & BS 4346 of Calss 'B' as specified (below ground)
| a) Dia 6 inch | R-Ft | 13
| b) Dia 8 inch | R-Ft | 938
| c) Dia 10 inch | R-Ft | 94
| d) Dia 12 inch | R-Ft | 125
Gully Trap Ref. Spec. No 5100
36P | Chamber with Gully Trap of following size as shown on the drawing.
| a) 1'-6" x 1'-6" | Nos. | 14
| b) 2' x 2' | Nos. | 1
MANHOLES Ref. Spec. No. 5225 & 5233
37P | Manholes of following sizes comprising earthworks, plain cement concrete reinforced cement concrete, ladder rungs and C.I (Medium Duty) Cover with frame etc. Complete in all respect as shown on drawings.
| a) 3' x 3' | No | 23
| b) 2' x 2' | No | 1
SERVICE CONNECTION Ref: Spec. No 5270
38P | Service Connection with existing manhole complete in all respects and as approved by the Engineer. | No | 1
G. | FIRE FIGHTING Ref: Spec. No. 5150 & 5180
39P | Foam 9 litre | Nos | 5
40P | Dry Chemical powder 6 Kg | Nos | 33
41P | Carbon dioxide 5 kg | Nos | 3
42P | Seamless black steel pipe conforming to ASTM A-53 Schedule 40 and fittings conforming to BS - 534 of Following diameters as specified.
| a) Dia 4 inch | R-Ft | 140
| b) Dia 3 inch | R-Ft | 388
| c) Dia 2-1/2 inch | R-Ft | 875
43P | Fire Hose Cabinet including all accessories as shown on drawings and as specified. | Nos | 20
H. | EXTERNAL FIRE FIGHTING SYSTEM Ref: Spec. No. 5150 & 5180
44P | Seamless black steel pipe conforming to ASTM A-53 Schedule 40 and fittings conforming to BS - 534 of Following diameters as specified.(burried pipe wrapped with approved with anti corrosive tape)
| a) Dia 6 inch | R-Ft | 1000
45P | Cast Iron Gate Valve (PN-16) in chamber of following diameter as shown on the drawing and as specified
| a) Dia 6 inch | Nos. | 4
46P | Siamese Connection as shown on the drawing and as specified | Nos. | 1
Total Cost Of Plumbing Works Carried Over to Summary
P.PLUMBING WORKS
UNDERGROUND WATER TANK & PUMP ROOM
MS PIPES & PIPE FITTINGS Ref. Spec. No. 5214 & 5280
02b-1P | Supply and Installation of Seamless Black Steel pipe of Schedule 40 Grade B Conforming to ASTM - A53 with fittings conforming to ASTM A-234 including pipe supports as shown in the drawings and as specified (I.D - Internal Diameter)
| a) 6 in (I.D) | R.ft | 31
| b) 4 in (I.D) | R.ft | 119
| c) 2.5 in (I.D) | R.ft | 6
POLY ETHYLENE PIPES & PIPE FITTINGS Ref. Spec 5213 & 5280.
02b-2P | Supply and installation of HDPE Pipes PE-100 (PN-10 & SDR-17) Conforming to ISO - 4427:1996 with fittings conforming to ISO -3458 including puddle flanges of following diameters as shown in drawings and as specified. (O.D - Ouer Diameter)
| a) 6.29 in or 160mm (O.D) | R.ft | 125
VALVES AND APPURTENANCES Ref. Spec. No 5220
02b-3P | Supply and installation of flanges ands Cast Iron Gate Valve of the following diameter as per BS 5154 or equivalent (PN-16)
| a) 6 in (I.D) | No. | 3
| b) 4 in (I.D) | No. | 9
| c) 2.5 in (I.D) | No. | 1
02b-4P | Supply and installation of flanges ends Cast Iron Check Valve of the following diameter conforming to BS 5153 or equivalent (PN-16)
| a) 4 in (I.D) | No. | 6
| b) 2.5 in (I.D) | No. | 1
02b-5P | Supply and installation of surage relief valve of following diameter including all accessoris as shown in the drawings and as specified.
| a) 2 in (I.D) | No. | 1
02b-6P | Supply and installation of brass foot valve with strainer of following size as shown in the drawqings and as specified.
| a) 4 in (I.D) | No. | 4
02b-7P | Supply and installation of float valve of copper alloy piston type conforming to BS 1212 including float shall be of copper conforming to BS 1968 including all accessories as shown in the drawingsand as specified.
| a) 6 in (I.D) | No. | 1
02b-8P | Supply and installation of galvanized mild steel U-turned vent pipes with puddle flanges as shown in the drawings and as specified.
| a) 4 in (I.D) | No. | 10
PUMPING MACHINERY AND ACCESSORIES Ref. Spec. No. 5240
02b-9P | Supply & Insatalltion of Horizontal Centrifugal Pump and Motor of the following capacity and head including pressure gauges level switches and all accessories required to complete the job as shown in the drawings and as specified.
| Q = 125 US Gpm, H = 130 ft | No | 3
02b-10P | Supply & Installation Deep Well Turbine Pump and Motor of the Following capacity and head including pressure gauges, pressure switches and all accessories required to complete the job as shown in the drawings and as specified.
| Q = 200 US Gpm, H = 260 ft | No | 2
| Q = 50 US Gpm, H = 290 ft | No | 1
02b-11P | Supply & Installation of Overhead Ganty with chain pulley of 2 Tonne capacity including all necessary fittings required to complete the job, as shown in the drawings and as specified. | No | 1
02b-12P | Supply and installaion of Flexible coupling of following sizes as shown on the drawings and as specified.
| a) 4 in (I.D) | No. | 4
02b-13P | Supply and installation of Water level indicator as shown in the Drawings and as specified. | No. | 1
02b-14P | Supply and installation of cast iron cover with frame of following sizes (Heavy Duty)
| a) 2ft x 2ft | No. | 5