## HVAC - The forum
HVAC SYSTEM - SPECIFICATIONS
S# | Items | Approved Make | Quoated make
1 | VRF | Gree | Gree / Hisence
Hisense
TCL
L.G
York
2 | Refrigerant pipes | Mueller (USA) Approved Equal | Approved Equal
3 | Refrigerant Pipe Insulation | AeroFlex (Thailand) Approved Equal | Aerflex (Thailand)
4 | UPVC Pipe | Dadex | DADEX
AGM Approved Equal
5 | Electric cables & Wires | Pakistan Cable | Newage Cable
Newage Cable Approved Equal
6 | Ventilation Fan | BVN | SASA
S&P
SASA Approved Equal
7 | G.I Sheet | Pakistan Steel | Imported
Imported Approved Equal
8 | Air Devices | Steel Craft | Steel Craft
Mehran Approved Equal
9 | Concrete Fasteners & Anchors | Hilti (US) | Approved Equal
Sikla (UK) Approved Equal
10 | Paints | ICI (Pakistan) | ICI (Pakistan)
Berger (Pakistan) Approved Equal
11 | Motors | Siemens | Approved Equal
ABB Approved Equal
12 | M.C.C & Perforated Cable Tray | Karimi Electric | Karimi Electric
Sunbeam Approved Equal
13 | Refrigerant Isolation Valve | Danfoss | -
Mueller
Emersion Approved Equal
14 | Fire Extinguishers | Naffco | Naffco
Sffeco Approved Equal
PLUMBING SYSTEM - SPECIFICATIONS
S# | Items | Approved Make | Quoated make
1 | Water Closets | Europe type Porta - HD 427 WH | Europe type Porta - HD 427 WH
Asian Type Porta - HD - 70
2 | Geyser | Nasgas Approved Equal | Approved Equal
3 | Wall Canceled flush tank | Porta Model - G3004A | Porta Model - G3004A
4 | Wash basin or Vanity | Wall Mounted Pedestal Porta | Wall Mounted Pedestal Porta
Vanity Below Counter Porta - HDL - U22
5 | Basin mixer | Zilver HD - 100 | Zilver HD - 100
6 | Toilet Shower | Zilver ts -102/TS-102-S | Zilver ts -102/TS-102-S
7 | CP Angle Valve | Zilver GX7016 | Zilver GX7016
8 | bib Cock | Zilver E-S09X | Zilver E-S09X
9 | Paper Holder | Zilver - EQ-204C | Zilver - EQ-204C
10 | Liquid Soap Dispenser | Zilver -BQ5940B | Zilver -BQ5940B
11 | PPR Pipe & UPVC Pipe | Vesbo | DADEX
Dadax Approved Equal
12 | Valve fitting | Hattersley (Japan) | Econosto
Econosto (Holand) Approved Equal
13 | Floor drain & C.O.P | Aqua | KABAL
Kabal Approved Equal

## Plumbing - The forum
PLUMBING SYSTEM - SPECIFICATIONS
S# | Items | Approved Make | Quoated make
1 | Water Closets | Europe type Porta - HD 427 WH | Europe type Porta - HD 427 WH
Asian Type Porta - HD - 70
2 | Geyser | Nasgas Approved Equal | Nasgas
3 | Wall Canceled flush tank | Porta Model - G3004A | Porta Model - G3004A
4 | Wash basin or Vanity | Wall Mounted Pedestal Porta | Wall Mounted Pedestal Porta
Vanity Below Counter Porta - HDL - U22
5 | Basin mixer | Zilver HD - 100 | Zilver HD - 100
6 | Toilet Shower | Zilver ts -102/TS-102-S | Zilver ts -102/TS-102-S
7 | CP Angle Valve | Zilver GX7016 | Zilver GX7016
8 | bib Cock | Zilver E-S09X | Zilver E-S09X
9 | Paper Holder | Zilver - EQ-204C | Zilver - EQ-204C
10 | Liquid Soap Dispenser | Zilver -BQ5940B | Zilver -BQ5940B
11 | PPR Pipe & UPVC Pipe | Vesbo | DADEX
Dadax Approved Equal
12 | Valve fitting | Hattersley (Japan) | Econosto
Econosto (Holand) Approved Equal
13 | Floor drain & C.O.P | Aqua | KABAL
Kabal Approved Equal

## Electrical - The Forum
ELECTRICAL - SPECIFICATIONS
S# | Equipment / Material | Manufacturer / Supplier | Quoated make
1 | L.V. Cables | Pakistan Cables Limited
Pioneer Cables Limited
Newage Cables
2 | PVC / uPVC Conduit and Accessories | Galco
Dadex
Jeddah Polymer
Popular
3 | Wiring Accessories (Switich & Sockets etc.) | Clipsal
Legrand
ABB
4 | Back Boxes, Pull Boxes Junction Boxes etc. | Hussain & company
Leiamra Engineering
EZZI Engineering
5 | Celling Fan / Exhaust Fans | Millat Fan
Pak Fan
GFC
6 | Lighting Fixtures | Pierlite
Future Tech
NVC
Osram / Ledvance
7 | Emergency & Exit Lights | Marshall, UK
Cooper (Menvier)
Bardic
8 | Distribution Board Manifacturer | Karimi Switchgear
Engineers & Engineering
Unique Engineering
9 | Circuit Breaker | Schneider
ABB
10 | Indication Lights | Telemechanique
Fuji
Giovenzana
11 | Changeover / Cam Switches | Breter / Camsco
Gave / GGT
12 | Digital voltmeter / Ammeter | Entes
Hanyoung
Janitza
Circutor
13 | Energy Analyzer | Lovato
Janitza - Germany
Entes
Circutor
14 | Loand Break Switch | Telemechanique
Socomec
15 | Isolator | Schneider
ABB
Lovato
16 | Current Transformer | Lovato
revalco
Dixsen
17 | Data & Voice Communication System | 3M
Clipsal
Vivanco
18 | CCTV Camera | Pelco
Infenova
Bosh
19 | Fire Alarm system | Zeta
Cooper (Menvier)
Inim
Hochiki
Advance
20 | Fire Alarm Cable (LSOH) | Draka
Prysmian - UK
Firecel - Itlay
21 | Steel Conduit and Acessories | Hilal Inductries
International Inductries Ltd
22 | Cable Trays / Trunking | Hussain & Co
Leiamra Engineering
EZZI Engineering
Electro Line
23 | Floor Boxes | Legrand
Davis / Clipsal
Britlite
24 | Access Control | HID
Virdi
Salto