## Sheet1
PES/DB/01/12/22 | [7 empty] | 2022-12-01
Attn: Mr. S. Talal.
Variation order for RAF fan & VFD with related material - Deutsche Bank Dolmen Mall Clifton Karachi
S. # | Description | Material Rate | Labour Rate | Over Head profit 25% | Tax 7.5% | Unit | Qty | Amount
Supply of following material:
1 | RAF Fan | 510000 | 25000 | 133750 | 50156.25 | No | 1 | 718906.25 | 37500 | 43875
2 | Flexible duct connector | 15000 | 4000 | 4750 | 1781.25 | No | 1 | 25531.25
3 | Variable Frequency Drive 5.5 kW. | 156780 | 15000 | 42945 | 16104.375 | No | 1 | 230829.375
4 | Variable Frequency Drive 2.2 kW for AHUs | 113490 | 15000 | 32122.5 | 12045.9375 | No | 2 | 345316.875
5 | Metal panel for VFD. | 35000 | 2000 | 9250 | 3468.75 | No | 1 | 49718.75
6 | 24 amp power supply | 4000 | 1500 | 1375 | 515.625 | No | 1 | 7390.625 | 27990 | 32748.3
7 | Wiring and conduiting | 15000 | 5000 | 5000 | 1875 | Job | 1 | 26875
8 | Testing & Commissioning | 0 | 25000 | 6250 | 2343.75 | Job | 1 | 33593.75
Total Amount Rs. | [7 empty] | 1438161.875
Thanking you,
For PIONEER ENGINEERING SERVICES.
Bilal Habib