## HVAC
|  |  |  | Date | 01 June 2023
|  |  |  | Quotation # | 328
|  |  |  | NTN # | 4312149-7
Attn: Mr. Hussain Bharmal
Quotation
Installation of Fire Fighting System - North Walk Shopping Mall
S. # | Description | Unit | Qty | Labour Rate | Labour Amount
1 | Installation of M.S Sch-40 Seamless pipe with related material such as reduser, tee, elbow, socket etc for spirnkler system.
i | 1-1/4" dia | Rft | 180 | 325 | 58500
ii | 1" dia | Rft | 140 | 300 | 42000
2 | Installation of sprinklers horiozontal side wall with related fittings. | Nos | 26 | 1000 | 26000
3 | Supply and installation of Hanger & supports for above M.S pipe and fittngs. | Job | 1 | 10000 | 10000
4 | Painting of M.S Pipe (red oxide + Red) | Job | 1 | 20000 | 20000
5 | Testing & commissioning of the system | Job | 1 | 10000 | 10000
Total Amount Rs |  |  |  |  | 166500
SRB 13% on Labour |  |  |  |  | 21645
Total after SRB |  |  |  |  | 188145
For PIONEER SERVICES
PIONEER SERVICES