## HVAC
PS/TNW/316/10/22 |  |  |  |  | 2022-10-21
M/S Dawat-e-Hadiyah Burhani Mahal |  |  | NTN 4312149-7
Mciver Road, Karachi
Attn: Mr. Hussain Bharmal
Invoice for Supply of HVAC Material at Food Court - The North Walk Shopping Mall
S. # | Description | Unit | Qty | Material Rate | Labour Amount
1 | Re-align, regging and shifting packaged unit as required including supply & installation of vibration islolator 4" thick (6 x 3 units) | Nos | 3 |  | 0
1 | Supply of G.I. sheet metal duct machine made (22 / 24 SWG) with flange, nut bolts, gasket, duct sealent. | Sqft | 4760 | 325 | 1547000
2 | Supply of Glass wool insulation of 25mm thick for supply & return air ducts. | Sqft | 1980 | 130 | 257400
3 | Supply of Glass wool insulation of 25mm thick for supply & return air ducts. | Sqft | 2780 | 180 | 500400
4 | Supply of G.I Cladding on exposed area duct (26 SWG) for protection of insulation. | Sqft | 2780 | 300 | 834000
5 | Supply of Return air Grill |  |  |  | 0
i) | (6" x 8 ft long) | Nos | 4 | 8000 | 32000
ii | (6" x 6 ft long) | Nos | 6 | 6800 | 40800
6 | Supply of fresh air in take louver 12 x 20 | Nos | 3 | 6700 | 20100
7 | Supply of aluminium filter 1" thick 12 x 20 | Nos | 3 | 3600 | 10800
8 | Supply of Flexible duct connector for return / supply air duct connection. | Rft | 42 | 650 | 27300
9 | Supply of volume control damper 12 x 20 | Nos | 3 | 6000 | 18000 | Payment Break up
10 | Supply of volume control damper 32 x 22 | Nos | 6 | 17600 | 105600 | inv # 316 | 2562840
11 | Supply of Fire damper 32 x 22 | Nos | 3 | 17600 | 52800 | inv # 317 | 446950
12 | Supply of hangers / supports for G.I sheet metal ducts. | Nos | 100 | 1200 | 120000 | inv # 013 Burhnai Majli area | 1050220
13 | Supply of Shop drawings & As built on Auto CAD 2018. | Set | 1 | 20000 | 20000 | Total Bill | 4060010
14 | Supply of control wiring. | Rft | 30 | 1500 | 45000 | Less WHT 4.5% | 182700.45
15 | Supply of Paints. | Drum | 1 | 30000 | 30000 | CHQ Amount | 3877309.55
17 | Testing & commissioning cordination with supplier | Job | 3 | 0 | 0 |  |  | #REF!
Total Amount Rs |  |  |  |  | 3661200 |  |  | #REF!
Advance Bill amount 70% |  |  |  |  | 2562840 |  |  | #REF!
Total Amount Rs |  |  |  |  | 6224040
For PIONEER SERVICES.
#REF!
PIONEER SERVICES

## working
|  |  | Discount | 4.811%
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
Discount | 88065.0403 | 18198.9538
Sub Total Amount | 1742534.9597 | 360101.0462
SRB 13% on Labour | 0 | 46813.136
Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
SRB 13% on Labour | 0 | 49179
Total Amount | 1830600 | 427479
Discount | 88065.0403 | 20564.8177
Grand Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419