## Table 1
Executive Summary
Plumbing & Sanitary Services
Amreli Steet Limited |  |  |  | Rev.01
10th Floor, Dolmen Sky Tower, Karachi |  |  |  | Date: 02-11-2022
S. No. | Description | Material Amount | Labour Amount | Total Amount
1 | SECTION - 01
INSTALLATION OF PLUMBING FIXTURES
2 | SECTION-02
WATER SUPPLY SYSTEM
3 | SECTION-03
SOIL, WASTE VENT AND RAIN WATER DRAINAGE SYSTEM
4 | SECTION-04
SUNDRIES
Note:
1) | Contractor is instructed to visit the site, understand the nature of work & then fill the rates accordingly and submit the quotation. No argument and discussion will be entertained after awarding of work.
2) | Miscellaneous work which was not included in BOQ but necessary to complete the project in all respects and ready to operate as per instructions of Consultant. (Bidder should mentioned the type of works).

## Table 2
Bill of Quantities
Plumbing & Sanitary Services
Amreli Steet Limited | [7 empty] | Rev.01
10th Floor, Dolmen Sky Tower, Karachi | [7 empty] | Date: 02-11-2022
S.No. | Description | Unit | Qty | Material |  | Labour |  | Total
|  |  |  | Rate | Amount | Rate | Amount | Amount
| SECTION - 01, INSTALLATION OF PLUMBING FIXTURES. | Nos. | 2 | ----- | -
Installation of plumbing fixtures & faucets complete in all respects including all accessories, support, hangers, etc. ready to use as per specifications, drawings and instructions of Consultant.
1.1 | European style W.C. wall hung type with seat cover, concealed flush tank, cover plate wall mounted brackets with fixing accessories.
i. | Type - EWC-WH
1.2 | European style W.C wall hung type for disabled persons with seat cover, concealed flush tank, S.S bracket, grap bar support, C.P. connector, thimble, etc.and fixing accessories. | No. | 1 | ----- | -
i. | Type - EWC-WH
1.3 | Toilet Hand Spray with flexible chain & telephone type shower Including tee stop cock etc. complete in all respect. | Nos. | 3 | ----- | -
i. | Type - TS
1.4 | Wash basin (WB) half pedestal wall mounted including bottle trap, waste, stop cocks, etc. | No. | 1 | ----- | -
i. | Type - WB
ii. | Type - WB (Vanity) | Nos. | 2 | ----- | -
1.5 | Wash basin hot and cold water mixer, etc. | No. | 1 | ----- | -
i. | Type - WB
ii. | Type - WB (Vanity) | Nos. | 2 | ----- | -
1.6 | Stainless steel kitchen sink including stop cocks, P-trap / bottle trap, waste pipe etc complete in all respects. | No. | 1 | ----- | -
i. | SK - 1, 34" x 20" single bowl and single drainer.
1.7 | Sink hot and cold water mixer, etc. | Nos. | 1 | ----- | -
i. | For SK - 1
1.8 | Mixer for hot & cold water system for Ablution. | Nos. | 1 | ----- | -
i. | Type - M
1.9 | Toilet accessories complete set. | Nos. | 3 | ----- | -
i. | Soap Dispenser
ii. | Towel Rail | Nos. | 2 | ----- | -
iii. | Paper Holder | Nos. | 3 | ----- | -
iv. | Coat Hooks | Nos. | 6 | ----- | -
v. | Automatic Hand Dryer | Nos. | 2 | ----- | -
| Sub Total Rs. |  |  |  | -
| SECTION-02 WATER SUPPLY SYSTEM. | Rft. | 70
Supply, installation, testing and commissioning of complete pipe work for cold and hot water system including all accessories required to complete systems ready to operate as per specification, drawings & instruction of Consultant.
2.1 | Polypropylene Random PP-R pipes PN 20 and fittings with fusion jointing along with all types of unions, tees, bends, sockets, clamps, lindapter supports hangers, sleeves, masking plates, chiseling, making holes making good, excavation, bedding backfilling as required complete in all
i. | Dia. OD 25 mm
ii. | Dia. OD 32 mm | Rft. | 20
iii. | Dia. OD 40 mm | Rft. | 30
iv. | Dia. OD 50 mm | Rft. | 10
2.2 | Same as item # 2.1 but for hot water supply with Polypropylene Random PP-R (PN -25) with Aluminium foil. | Rft. | 50
i. | Dia OD 25 mm
ii. | Dia. OD 32 mm | Rft. | 20
2.3 | Open cell rubber foam insulation 3/8" thick & pvc tape wrapping for hot water pipes. | Rft. | 30
i. | Dia OD 25 mm
ii. | Dia. OD 32 mm | Rft. | 20
2.4 | Brass body gate valves / ball valves with unions. | Nos. | 2
i. | Size 1"
ii. | Size 1-1/4" | No. | 1
2.5 | Supply & installation of hot water storage heater (Electric) suitable for 30 psi working pressure including thermostat, inlet/outlet connection. Pressure relief valve. | Nos. | 1
i. | HWE-80 (80 Litres Storage Capacity)
Sub Total Rs.
| SECTION-03 SOIL, WASTE VENT AND RAIN WATER DRAINAGE SYSTEM | Rft. | 20
Supply, fixing, testing and commissioning of equipment, pipe work required to complete the soil, waste, vent and rain water systems in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
3.1 | uPVC pipes of approved make along with specials, fittings, bends, wye, tees, sockets, lindapter supports hangers, flexible connectors, sleeves, masking plates, chiseling, making hole, excavation, backfilling making good where as required jointing with rubber ring seal.
i. | Dia. 1-1/2"
ii. | Dia. 2" | Rft. | 10
iii. | Dia. 3" | Rft. | 20
iv. | Dia. 4" | Rft. | 40
3.2 | Floor trap including S.S grating with floor trap, inlet outlet connection complete in all respects. | Nos. | 6
i. | FT- 3"
3.3 | Cleanout for soil, waste pipes of approved make. | Nos. | 2
i. | For 3" Pipe with SS floor cover plate
ii. | For 4" mm Pipe with SS floor cover plate | Nos. | 2
3.4 | uPVC cowl for vent pipe of the following dia. including all accessories complete. | No. | 1
i. | Size. 3"
ii. | Size. 4" | No. | 1
Sub Total Rs.
| SECTION-04 SUNDRIES | Job. | 1
Contractor will priced the sundries items for all Plumbing & Sanitary (P&S) services as per specifications, drawings and instruction of consultant.
4.1 | Submittals, samples, shop drawings, inspections, As-Built drawings, operation and maintenance manuals and the like as required by specification.
4.2 | Testing, and commissioning entire P&S installation as per Engineer's approval. | Job. | 1
Sub Total Rs.
TOTAL OF ALL SECTIONS RS.

## Table 3
Bill of Quantities
Plumbing & Sanitary Services
Amreli Steet Limited | [7 empty] | Rev.01
10th Floor, Dolmen Sky Tower, Karachi | [7 empty] | Date: 02-11-2022
S.No. | Description | Unit | Qty | Material |  | Labour |  | Total
|  |  |  | Rate | Amount | Rate | Amount | Amount