## Sheet1
LIST OF HVAC EQUIPMENT
S # | Equipment | Equipment Tag # | Installed Location | Area served
1 | Chiller-1 | 101/1 circuit -1 | Roof Plant Room | All Floors
2 |  | 101/1 circuit -2
3 | Chiller-2 | 101/2 circuit -1
4 |  | 101/2 circuit -2
5 | Chiller-3 | 101/3 circuit -1
6 |  | 101/3 circuit -2
1 | Primary Chilled water pump-1 | 102/1 | Roof Plant Room | Chiller-1
2 | Primary Chilled water pump-2 | 102/2 | Roof Plant Room | Chiller-2
3 | Primary Chilled water pump-3 | 102/3 | Roof Plant Room | Chiller-3
1 | Secondary Chilled water pump-1 | 103/1 | Roof Plant Room | All Floors
2 | Secondary Chilled water pump-2 | 103/2
3 | Secondary Chilled water pump-3 | 103/3
1 | Condenser water pump-1 | 104/1 | Roof Plant Room | Cooling towers
2 | Condenser water pump-2 | 104/2
3 | Condenser water pump-3 | 104/3
| Condenser water pump-4 | 104/4
1 | Cooling Tower-1 | 105/1 Cell-1 | Roof | All Chillers
2 |  | 105/1 Cell-2
1 | Cooling Tower-2 | 105/2 Cell-1
2 |  | 105/2 Cell-2
1 | Cooling Tower-3 | 105/3 Cell-1
2 |  | 105/3 Cell-2
1 | Fresh Air handling unit-1 | 106/01 | 5th Floor | All Floors
1 | Air handling unit-1 | 107/01 | Basement | Ground Gloor A-Area
2 | Air handling unit-2 | 107/02 | Mezzanine Floor | Ground Gloor B-Area
3 | Air handling unit-3 | 107/03 | Mezzanine Floor | Mezzanine A-Area
4 | Air handling unit-4 | 107/04 | 1st Floor | Mezzanine B-Area
5 | Air handling unit-5 | 107/05 | 1st Floor | 1st Floor A + B Area
6 | Air handling unit-6 | 107/06 | 2nd Floor | 2nd Floor A + B Area
7 | Air handling unit-7 | 107/07 | 3rd Floor | 3rd Floor A + B Area
8 | Air handling unit-8 | 107/08 | 4th Floor | 4th Floor A + B Area
9 | Air handling unit-9 | 107/09 | 5th Floor | Cafeteria
13
1 | Fan Coil units-1 | 108/01 | BMS Room | BMS Room
2 | Fan Coil units-2 | 108/02
3 | Fan Coil units-3 | 108/03 | Lift Machine Room | Lift Machine Room
4 | Fan Coil units-4 | 108/04
13
1 | Ventilation Fans-1 | 109/01 | Basement | Basement
2 | Ventilation Fans-2 | 109/02
3 | Ventilation Fans-3 | 109/03
4 | Ventilation Fans-4 | 109/04
5 | Ventilation Fans-5 | 109/05 | 2nd Floor | CEO Room
6 | Ventilation Fans-6 | 109/06 | 4th Floor | 4th Floor
7 | Ventilation Fans-7 | 109/07
8 | Ventilation Fans-8 | 109/08 | 5th Floor | Toilet
9 | Ventilation Fans-9 | 109/09
10 | Ventilation Fans-10 | 109/10
10 | Ventilation Fans-11 | 109/11 | Plant Room | Plant Room
10 | Ventilation Fans-12 | 109/12
9 | Booster pump-1 | 110/01 | Roof | Cooling Towers & Chilled Water system
9 | Booster pump-2 | 110/02
9 | Expantion Pump-1 | 111/01 | Roof Plant Room | Chilled Water system
9 | Expantion Pump-2 | 111/02
9 | MCC Panel |  | Roof Control room | Plant Room
9 | Water Treatment |  |  | Cooling Towers & Chilled Water system
PIONEER SERVICES