## Summary
DOLMEN CITY FAMILY AREA, SECOND FLOOR |  |  |  | SUMMARY OF BILL OF QUANTITIES
FIRE SUPPRESSION SYSTEM WORKS |  |  |  | DATED: APRIL 12, 2023
SUMMARY OF BILL OF QUANTITIES
ITEM NO. | DESCRIPTION | MATERIAL AMOUNT (RS.) | INSTALLATION AMOUNT (RS.) | TOTAL AMOUNT (RS.)
1 | FIRE SPRINKLERS (SECTION 21 13 10 & DS/1283E-21 13 10)
2 | CORRUGATED STAINLESS STEEL FLEXIBLE CONNECTOR
3 | PORTABLE FIRE EXTINGUISHER FOR FIRE TYPES A, B, C & AFFF (SECTION 21 21 10 & DS/1283E-21 21 10)
4 | BLACK STEEL SCHEDULE-40 PIPING (SECTION 21 10 10)
5 | SIESMIC BRACING
6 | FIRE SPRINKLER SYSTEM ACCEPTANCE TEST (SECTION 21 13 17)
7 | PAINTING COATING & STENCILING (SECTION 21 05 50)
8 | PIPE SUPPORT SYSTEM (SECTION 21 05 29)
9 | MISCELLANEOUS
TOTAL =
COST OF GST (ON MATERIAL) AND SST (ON INSTALLATION) =
GRAND TOTAL =
Fire Sprinkler- Upright, Quick response (SP-02)
Fire Sprinkler- Pendent Concealed, Quick response (SP-03)
Fire Sprinkler- Side wall , Quick response (SP-04)
Cabinet complete with 06 Spare Sprinklers (Upright) (SP-02)
Cabinet complete with 06 Spare Sprinklers (Concealed Pendent) (SP-03)

## Fire Works - Final
DOLMEN CITY FAMILY AREA, SECOND FLOOR | [8 empty] | BILL OF QUANTITIES
FIRE SUPPRESSION SYSTEM WORKS | [8 empty] | DATED: APRIL 12, 2023
BILL OF QUANTITIES
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10)
ITEM NO. | DESCRIPTION | ESTIMATED QUANTITY | UNIT | MATERIAL |  | INSTALLATION |  | TOTAL
|  |  |  | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
|  |  |  | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.)
[5 empty] | (3) x (5) |  | (3) x (7) | (5) + (7) | (6) + (8)
1 | FIRE SPRINKLERS (SECTION 21 13 10 & DS/1283E-21 13 10)
1.1 | Fire Sprinkler-Concealed Pendent, Standard Response (SP-01)- NEW | 5 | Nos.
1.2 | Dismantling and relocation of Existing Fire Sprinkler-Concealed Pendent, Standard Response (SP-01)- Complete in all Respect | 1 | Lot
1.3 | Cabinet complete with 06 Spare Sprinklers (Pendent ESFR Sprinkler) (SP-01) | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
Sub-total Carried to Summary
2 | CORRUGATED STAINLESS STEEL FLEXIBLE CONNECTOR
2.1 | Corrugated Stainless Steel Flexible Connector Ø 1" X 3 ft (UL/FM) - NEW | 5 | Nos.
Sub-total Carried to Summary
3 | PORTABLE FIRE EXTINGUISHER FOR FIRE TYPES A, B, C & AFFF (SECTION 21 21 10 & DS/1283E-21 21 10)
3.1 | Supply & Installation of 6kg Dry Powder Extinguisher (ABC) | 1 | No.
Sub-total Carried to Summary
4 | BLACK STEEL SCHEDULE-40 PIPING (SECTION 21 10 10)
4.1 | Welded Piping System
4.1.1 | Ø 250 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.1.2 | Ø 200 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.1.3 | Ø 150 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.1.4 | Ø 100 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.1.5 | Ø 75 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.1.6 | Ø 65 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.2 | Threaded Piping System
4.2.1 | Ø 50 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
4.2.2 | Ø 40 mm | 4 | Rm
4.2.3 | Ø 32 mm | 7 | Rm
4.2.4 | Ø 25 mm | 44 | Rm
Sub-total Carried to Summary
5 | SIESMIC BRACING
5.1 | Transverse Seismic Bracing (As per FND Detail No. FND/SS/10)
5.1.1 | Ø 200 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.1.2 | Ø 150 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.1.3 | Ø 100 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.1.4 | Ø 75 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.1.5 | Ø 65 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.2 | Longitudinal Seismic Bracing (As per FND Detail No. FND/SS/11)
5.2.1 | Ø 200 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.2.2 | Ø 150 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.2.3 | Ø 100 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.2.4 | Ø 75 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.2.5 | Ø 65 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.3 | Four Way Seismic Bracing (As per FND Detail No. FND/ADD/10)
5.3.1 | Ø 200 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.3.2 | Ø 150 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.3.3 | Ø 100 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.3.4 | Ø 75 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.3.5 | Ø 65 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.4 | Seismic Restraint (As per FND Detail No. FND/ADD/08)
5.4.1 | Ø 50 mm | - | No. |  | Rate Only |  | Rate Only |  | Rate Only
5.4.2 | Ø 40 mm | 1 | No.
5.4.3 | Ø 32 mm | 1 | No.
5.4.4 | Ø 25 mm | 12 | Nos.
Sub-total Carried to Summary
6 | FIRE SPRINKLER SYSTEM ACCEPTANCE TEST (SECTION 21 13 17)
6.1 | Fire Sprinkler System Acceptance Test | 1 | Lot
Sub-total Carried to Summary
7 | PAINTING COATING & STENCILING (SECTION 21 05 50)
7.1 | Painting, Coating
7.1.1 | Ø 250 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.2 | Ø 200 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.3 | Ø 150 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.4 | Ø 100 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.5 | Ø 75 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.6 | Ø 65 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.7 | Ø 50 mm | - | Rm |  | Rate Only |  | Rate Only |  | Rate Only
7.1.8 | Ø 40 mm | 4 | Rm
7.1.9 | Ø 32 mm | 7 | Rm
7.1.10 | Ø 25 mm | 44 | Rm
7.2 | Stenciling & Identification | 1 | Lot
7.3 | Signage as per NFPA (For Example: Signage of Fire Hose Reel, Landing Valve etc.) | - | Lot |  | Rate Only |  | Rate Only |  | Rate Only
Sub-total Carried to Summary
8 | PIPE SUPPORT SYSTEM (SECTION 21 05 29)
8.1 | Engineered Pipe Support System | 1 | Lot
Sub-total Carried to Summary
9 | MISCELLANEOUS
9.1 | Hydrostatic Testing | 1 | Lot
9.2 | Shop Drawings | 1 | Lot
9.3 | As Built Drawings | 1 | Lot
9.4 | Fire Stoping of Walls & Structure Openings (For Small Openings - Hilti FS - ONE or Approved Equivalent) - UL based Solution | 1 | Lot
9.5 | Pipe Sleeves | 1 | Lot
9.6 | Cutting, tapping and Connecting Fire Pipe to Existing Fire Piping as Shown in the drawing 03-FND-1283E-FA-F-14-02-200-00 | 1 | Lot
Sub-total Carried to Summary