## Sheet1
PES/DMC/004/08/23 | [9 empty] | 2023-09-14
Attn: Mr. Anas Aftab
Variation order for AHU Room Piping and Accessories - Dolmen Family Area DMC Karachi
S. # | Description | Material Rate | Labour Rate | Fittings 15% | Waste 05% | Over Head profit 10% | Tax 7.5% | Unit | Qty | Amount
1 | Supply & installation of M.S Pipe 25mm | 431 | 240 |  | 21.55 | 69.255 | 57.1354 | Rft | 120 | 98272.845
2 | Supply & installation of PICV 25mm with Pressure ports and valve actuator. | 69540 | 15000 | 0 | 0 | 8454 | 6974.55 | No. | 1 | 99968.55
3 | Supply and installation of Room Thermostat | 12810 | 2500 |  | 0 | 1531 | 1263.075 | Nos | 2 | 36208.15
4 | Control wiring of thermostat & PICV (1.5mm 3 core) | 95 | 70 |  | 0 | 16.5 | 13.6125 | Rft | 65 | 12682.3125
5 | Supply and installation of XLPE insulation tube 25mm thickness 25mm | 640 | 120 |  | 32 | 79.2 | 65.34 | Rft | 120 | 112384.8
6 | Supply and installation of 3" Dia tapes. | 1200 | 400 |  | 0 | 160 | 132 | Nos | 32 | 60544
7 | Supply & installation of Aerofoam XLPE Glue 2.5 ltr | 11000 | 5000 |  | 0 | 1600 | 1320 | Tin | 2 | 37840
8 | Supply and installation of following valves and accessories for AHU assembly. |  |  |  | 0 | 0 |  |  |  | 0
* | Gate Valve 1" Dia | 6372 | 1500 |  | 0 | 787.2 | 649.44 | Nos | 4 | 37234.56
* | Gate Valve 3/4" Dia | 4248 | 1500 |  | 0 | 574.8 | 474.21 | Nos | 2 | 13594.02
* | Ball Valve 1" Dia | 5664 | 1500 |  | 0 | 716.4 | 591.03 | Nos | 1 | 8471.43
* | Strainer 1" Dia | 9853 | 1500 |  | 0 | 1135.3 | 936.6225 | Nos | 1 | 13424.9225
* | Air Vent 3/4" Dia | 2950 | 1500 |  | 0 | 445 | 367.125 | Nos | 2 | 10524.25
* | Pressure Guage 4-1/2" Dial | 4956 | 1500 |  | 0 | 645.6 | 532.62 | Nos | 2 | 15268.44
* | Thermometer 6" Dia | 6490 | 1500 |  | 0 | 799 | 659.175 | Nos | 2 | 18896.35
* | Syphon 1/4" | 377 | 250 |  | 0 | 62.7 | 51.7275 | Nos | 2 | 1482.855
* | Guage Cock 1/4" | 767 | 250 |  | 0 | 101.7 | 83.9025 | Nos | 2 | 2405.205
* | Thermowell | 708 | 250 |  | 0 | 95.8 | 79.035 | Nos | 2 | 2265.67
* | Balancing Valve 1" Dia | 11350 | 2000 |  | 0 | 1335 | 1101.375 | Nos | 1 | 15786.375
9 | Supply & installation of related fittings such as tee, bend union, elbow etc. | 21090 | 7500 |  | 0 | 2859 | 2358.675 | Job | 1 | 33807.675
10 | Supply & installation of condensate drain pipe insulation 1-1/4 | 715 | 80 |  | 0 | 79.5 | 65.5875 | Rft | 70 | 65806.125
11 | Application of red oxide paint over M.S Pipe. | 10000 | 5000 |  | 0 | 1500 | 1237.5 | Job | 1 | 17737.5
12 | Supply and installation of hangers and supports such as pipe supports, anchor bolt, hanging clips and rods. | 30000 | 10000 |  | 0 | 4000 | 3300 | Job | 1 | 47300
13 | Interconnection & access of AHU assembly with mall chilled water line | 0 | 15000 |  | 0 | 1500 | 1237.5 | Job | 1 | 17737.5
14 | Testing, commissioning & balancing of AHU assembly | 0 | 35000 |  | 0 | 3500 | 2887.5 | Job | 1 | 41387.5
Total Amount Rs | [9 empty] | 821031.035
For PIONEER ENGINEERING SERVICES.
Bilal Habib