## Fire
07 Dec 2023
Attn: Mr. M. Haris
INVOICE
Water Transfer & Booster pumps Set - Mr Ali Jameel Residence
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | Supply and installation of under ground water transfer pump (1.0 HP Local made: Fountain) with related fittings such as suction pipe, elbow, tee, union etc | No | 1 | 85000 | 8000 | 85000 | 8000
2 | Supply and installation of level controller for under ground and over head water transfer pump. | No | 1 | 75000 | 10000 | 75000 | 10000
3 | Providing and installation of control wiring for under ground / over head water tank for auto control system in PVC conduit. | Rft | 390 | 250 | 50 | 97500 | 19500
4 | Supply and installation of electric panel for transfer pump. | No | 1 | 65000 | 8000 | 65000 | 8000
5 | Regging, lifting, shifting and installation of booster (pump set) with related fittings including neopron isolator and inlet & outlet connections. (only for new toilet area) | No | 1 |  | 15000 | 0 | 15000
6 | Supply and installation of Valve and accessories with ralated fittings such as flanges, fittings, gasket, nut bolt, washers elbow tea, socket etc.
i | Ball Valve 1" | Nos | 2 | 7000 | 1000 | 14000 | 2000
ii | Foot Valve 1" | Nos | 1 | 7000 | 1000 | 7000 | 1000
iii | Non return valve 1" | Nos | 3 | 7000 | 1000 | 21000 | 3000
7 | Providing and installation of control wiring in PVC conduit for DX-Split Units. | Rft | 300 | 250 | 50 | 75000 | 15000
8 | Providing and making of cores / holes at various point for split AC and plumbing work. | Job | 1 | 0 | 85000 | 0 | 85000
9 | Removal of existing gas fire geyser and reinstallation at new location with new pipe and fittings | Job | 1 | 8000 | 8000 | 8000 | 8000
Total Amount Rs | [5 empty] | 447500 | 174500
Grand Total Amount | [5 empty] | 622000
Note:
1) Above quotation is exclusive of all taxes.
2) Taxes will be charged seperately if required.
NOTE: ITEM # 5 BOOSTER PUMP, AWAITING FOR SUPPLIER'S QUOTATION EXCEPT ONE QUOTATION RECEIVED FROM ZARA ENGINEERS (ATTACHED)
For PIONEER ENGINEERING SERVICES
PIONEER SERVICES