## Sheet1
M/S Fakhri Brothers |  |  |  |  | 2023-09-21
Att: Mr. Zia Ghani
REVISED PURCHASE ORDER
NOVEC 1230 System for the project (UEP 17th Floor DMC Karachi)
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
SHIELD 1230 Gas Fire Exinguishing System - Room 1 @ 17th Floor:
Mechanical Components :
| SHIELD1230 28.3L Cylinder Assembly (14.2kg-33.9kg) Complete with 1" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI, Model: SD-28FK5-01 with SHIELD1230 (SD-FK-5-1-12) Agent: 23kg | 1 | Nos | 968550 | 968550
| Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection, Model: SD-REA-SS | 1 | Nos | 282347 | 282347
| External Monitoring Switch with Mounting Clamp, Model: SD-EMS0025 | 1 | Nos | 47547 | 47547
| Manual Actuator with Push to operate, Model: SD-MA0025 | 2 | Nos | 33459 | 66918
| Discharge Pressure Operated Switch, Model: SD-DPS-B6-95-1 | 2 | Nos | 56352 | 112704
| Discharge Hose 1 Inch with Female Swivel Fittings, Model: SD-DH0025 | 1 | Nos | 17610 | 17610
| 1 Inch (25MM) Check Valve, Model: SD-CV0025 | 1 | Nos | 52830 | 52830 |  | 105660
| Discharge Nozzle, Brass | 1 | Nos | 62222 | 62222
| Caution Label [Set of 3] | 1 | Set | 28176 | 28176
| SHIELD1230 Cylinder Lebel 280x180, Model: SD-FK5-LBL | 1 | Nos | 9979 | 9979
| Electrical Components: |  |  | -
| Conventional Extinguishing Control Panel 230V, Red-SHIELD A-XT, UL Listed, Model: S230R-EXT | 1 | Nos | 206037 | 206037
| Optical Smoke Detector W/ Base, UL Listed, Model: S-C2011 | 2 | Nos | 9392 | 18784
| Abort Switch, UL Listed, Model: S111R-AB | 2 | Nos | 46373 | 92746
| Bell 6" c/w Back Box, Model: FB1000C6 | 1 | Nos | 11740 | 11740
| Strobe Horn W/ Back Box, UL Listed, Model: SH-HSIR | 1 | Nos | 28176 | 28176
| Xenon/Strobe Light W/ Back Box, UL Listed, Model: SH-STIR | 1 | Nos | 28176 | 28176
| SHIELD 1230 Gas Fire Exinguishing System - Room 2 @ 17th Floor: |  |  | -
| Mechanical Components : |  |  | -
| SHIELD1230 28.3L Cylinder Assembly (14.2kg-33.9kg) Complete with 1" Valve and Pressure Gauge Pressure Switch, Cylinder Label & Bracket without LLI, Model: SD-28FK5-01 with SHIELD1230 (SD-FK-5-1-12) Agent: 23kg | 1 | Nos | 968550 | 968550
| Removable Electric Actuator c/w Supervisory Switch, 1 Inch Connection, Model: SD-REA-SS | 1 | Nos | 282347 | 282347
| External Monitoring Switch with Mounting Clamp, Model: SD-EMS0025 | 1 | Nos | 47547 | 47547
| Manual Actuator with Push to operate, Model: SD-MA0025 | 2 | Nos | 33459 | 66918
| Discharge Pressure Operated Switch, Model: SD-DPS-B6-95-1 | 2 | Nos | 56352 | 112704
| Discharge Hose 1 Inch with Female Swivel Fittings, Model: SD-DH0025 | 1 | Nos | 17610 | 17610
| 1 Inch (25MM) Check Valve, Model: SD-CV0025 | 1 | Nos | 52830 | 52830
| Discharge Nozzle, Brass | 1 | Nos | 62222 | 62222
| Caution Label [Set of 3] | 1 | Set | 28176 | 28176
| SHIELD1230 Cylinder Lebel 280x180, Model: SD-FK5-LBL | 1 | Nos | 9979 | 9979
| Electrical Components: |  |  | -
| Conventional Extinguishing Control Panel 230V, Red-SHIELD A-XT, UL Listed, Model: S230R-EXT | 1 | Nos | 206037 | 206037
| Optical Smoke Detector W/ Base, UL Listed, Model: S-C2011 | 2 | Nos | 9292 | 18584
| Abort Switch, UL Listed, Model: S111R-AB | 2 | Nos | 46373 | 92746
| Bell 6" c/w Back Box, Model: FB1000C6 | 1 | Nos | 11740 | 11740
| Strobe Horn W/ Back Box, UL Listed, Model: SH-HSIR | 1 | Nos | 28176 | 28176
| Xenon/Strobe Light W/ Back Box, UL Listed, Model: SH-STIR | 1 | Nos | 28176 | 28176
|  | TOTAL: |  |  | 4068884 | 3963224
Discount 20% |  |  |  |  | 813776.8
Total amount |  |  |  |  | 3255107.2
Note: Above PO is subject to approval from the consultant.
| Advance Payment Given on dated 11 May 23 through Bank Al Falah Cheque # 45591977 |  |  |  | 5000000
Received by Mr. Zia Ghani
Signature
Date
for PIONEER SERVICES