## Sheet1
PES/VISA/010/07/23 | [7 empty] | 2023-07-08
Attn: Mr. Salman Mughal
Variation order for Additional work in IT Room - VISA OFFICE DMC Karachi
S. # | Description | Material Rate | Labor Rate | OH profit 20% | Tax 7.5% | Unit | Qty | Amount
1 | Supply and installation of Grills 650 x 250 | 5720 | 1500 | 1444 | 649.8 | Nos | 4 | 37255.2
2 | Supply and installation of back draft dampers 650 x 250 | 5200 | 1500 | 1340 | 603 | Nos | 4 | 34572
2 | Supply and installation of VCD 650 x 250 |  | 1500 | 300 | 135 | Nos | 1 | 1935
3 | Supply and installation of ducting | 450 | 85 | 107 | 48.15 | Sqft | 200 | 138030
4 | Supply and installation of insulation. | 500 | 60 | 112 | 50.4 | Sqft | 200 | 144480
5 | Supply and installation of WCPU. | 700000 | 25000 | 145000 | 65250 | No | 1 | 935250
6 | Supply and installation of flexible pipe connector 1" Dia | 11000 | 1500 | 2500 | 1125 | Nos | 2 | 32250
7 | Supply and installation of power / Control wiring | 25000 | 8000 | 6600 | 2970 | Job | 1 | 42570
8 | Supply and installation of valves and accessories. | [6 empty] | 0
i | Ball Valve 1" | 4910 | 1500 | 1282 | 576.9 | Nos | 2 | 16537.8
ii | Strainer 1" | 4310 | 1500 | 1162 | 522.9 | No | 1 | 7494.9
iii | Balancing Valve 1" | 12640 | 1500 | 2828 | 1272.6 | No | 1 | 18240.6
iv | Flow Switch 1" | 20000 | 1500 | 4300 | 1935 | No | 1 | 27735
9 | Supply and installation of SCH- 40 M.S Pipe 1" Dia. | 40000 | 15000 | 11000 | 4950 | Lot | 1 | 70950
10 | Flushing, dismanting & reinstallation of SCH- 40 M.S Pipe 1" & 1-1/2" Dia for fire fighting system including supple and installation of M.S Fittings. | 50000 | 15000 | 13000 | 5850 | Lot | 1 | 83850
11 | Supply and installation of UPVC 1" Dia drain Pipe with insulation | 15000 | 5000 | 4000 | 1800 | Lot | 1 | 25800
12 | Supply and installation of hangers & supports | 50000 | 15000 | 13000 | 5850 | Job | 1 | 83850
13 | Painting on Chilled water & Fire pipe. | 15000 | 5000 | 4000 | 1800 | Job | 1 | 25800
14 | Interlocking with Existing system | 150000 | 20000 | 34000 | 15300 | Job | 1 | 219300
Total Amount Rs. | [7 empty] | 1945900.5
For PIONEER ENGINEERING SERVICES.
Bilal Habib