## Sheet1
M/S IK Associates | [7 empty] | 2025-03-19
Project: Khaadi Kanteen F-6, Islamabad
Attn: Salman Mughal
Variation # 3
Supply & installation of Exhaust Fans
S. # | Description | Material Rate | Labour Rate | Over Head profit 28% | Total Rate | Unit | Qty | Amount
1 | Supply and installation of centrifugal Kitchen Fan with Motor Canopy Make: SISTEVEN Model: STC-300-4T-3 IE3 | 395064 | 25000 | 117617.92 | 537681.92 | No | 1 | 537681.92 | 466175.52
2 | Supply and installation of Centrifugal Kitchen Fan with Motor Canopy Make: SISTEVEN Model: STC-350-4T-4 IE3 | 661073.76 | 35000 | 194900.6528 | 890974.4128 | No | 1 | 890974.4128 | 780067.0368
3 | Supply and installation of Centrifugal Fan with G4 Filter. Make: SISTEVEN Model: CADT-15/15-1.5 IE3 | 508315.68 | 25000 | 149328.3904 | 682644.0704 | No | 1 | 682644.0704 | 599812.5024
4 | Supply and installation of Centrifugal Fan with G4 Filter. Make: SISTEVEN Model: CADT-18/18-3 IE3 | 704091.84 | 40000 | 208345.7152 | 952437.5552 | No | 1 | 952437.5552 | 830828.3712
5 | Supply and installation of hangers and supports. | 100000 | 15000 | 32200 | 147200 | No | 1 | 147200 | 118000
6 | Transportation cost. |  | 75000 | 21000 | 96000 | Job | 1 | 96000
Total Amount Rs. | [7 empty] | 3306937.9584
Note: Supplier's quotation attached
For PIONEER ENGINEERING SERVICES.
Bilal Habib

## Justification (2)
2025-03-20
EXHAUST FANS SCOPE
BILL OF QUANTITY |  |  |  | VARIATION
BOQ Item # | Description | CFM | Brand | CFM | Brand
10 | EAF-01 | 3900 | SASA | 4200 | SISTEVEN
10 | EAF-02 | 5500 | SASA | 6750 | SISTEVEN
10 | FAF-01 | 3500 | SASA | 3450 | SISTEVEN
10 | FAF-02 | 4950 | SASA | 5760 | SISTEVEN
KITCHEN HOOD
BILL OF QUANTITY |  |  |  | VARIATION
BOQ Item # | Description | Size | Brand | Size | Brand
11 | EH-01 Wall Mounted Canopy Type | 10' 6" x 4' 1" | Moon Steel Fabricators | 11'6"x 4'x 1'6" | Moon Steel Fabricators
11 | EH-02 Back Shelf Low Proximity Type | 22' 0" x 2' 4" | Moon Steel Fabricators | 27'x 3'6"x 2'4" | Moon Steel Fabricators

## Justification
2025-03-27
KANTEEN VOS - Acknowledgement
BOQ Item # | Description | Remarks | PES Remarks
1 | Kitchen Hood |  | Accepted
2 | Exhuast Fan |  | Accepted
3 | Split AC |  | Conditionally accepted, Split AC scope accepted, whereas Copper pipe, insulation, wire etc will be claimed as per BOQ rates
4 | Air Curtains | Part of BOQ | Accepted