## Sheet1
M/S Shan Controls | [6 empty] | 2025-06-13
PO # 15
Att: Mr. Imran
PURCHASE ORDER against quote Ref # P2402-013
Supply of VAVs for Bank Al Habib 12th Floor Center Point Karachi
S No. | D e s c r i p t i o n | Inlet Dia | VAV Tag # | Qty | Unit | Rate | Amount
Variable Air Volume Boxes, GRAND, Pakistan *With Metal Enclosure Box *Insulation : 1" Fiberglass Insulation *With Transformer *With VAV Controller *With Room Thermostat
1 | Variable Air Volume | 8 | VAV-18-01 | 2 | Nos | 103000 | 206000
2 | Variable Air Volume | 8 | VAV-18-02 | 6 | Nos | 102000 | 612000
3 | Variable Air Volume | 6 | VAV-18-03 | 1 | Nos | 114000 | 114000
4 | Variable Air Volume | 8 | VAV-18-04 | 2 | Nos | 103000 | 206000
5 | Variable Air Volume | 7 | VAV-18-05 | 1 | Nos | 123500 | 123500
6 | Variable Air Volume |  | VAV-19-01 | 1 | Nos | 118000 | 118000
7 | Variable Air Volume |  | VAV-19-02 | 1 | Nos | 114000 | 114000
8 | Variable Air Volume |  | VAV-19-03 | 3 | Nos | 103000 | 309000
9 | Variable Air Volume |  | VAV-19-04 | 4 | Nos | 102000 | 408000
10 | Variable Air Volume |  | VAV-19-05 | 1 | Nos | 110000 | 110000
11 | Variable Air Volume |  | VAV-19-06 | 1 | Nos | 118000 | 118000
12 | Variable Air Volume | 10 | VAV-17-01 | 2 | Nos | 104000 | 208000
13 | Variable Air Volume | 6 | VAV-17-02 | 5 | Nos | 106000 | 530000
14 | Variable Air Volume | 8 | VAV-17-03 | 1 | Nos | 114000 | 114000
15 | Variable Air Volume | 7 | VAV-17-04 | 1 | Nos | 118000 | 118000
16 | Variable Air Volume | 5 | VAV-17-05 | 1 | Nos | 112000 | 112000
17 | Variable Air Volume | 8 | VAV-17-06 | 2 | Nos | 103000 | 206000
18 | Variable Air Volume |  | VAV-17-07 | 7 | Nos | 102000 | 714000
19 | Variable Air Volume |  | VAV-17-08 | 1 | Nos | 123500 | 123500
20 | Variable Air Volume |  | VAV-17-09 | 1 | Nos | 104000 | 104000
|  | 6 |  | TOTAL: |  |  | 4668000
21 | Programming Testing & Commissioning of 4 No's of VAV Boxes |  |  | 1 | Job | 150000 | 150000
|  |  |  | Grand TOTAL |  |  | 4818000
Terms & Conditions
1) Price is valid only for 60 Days
2) 50% advacnce & balance before delivery or option-2 Balance material against balance material delivered against 30 to 40 days PDC.
3) 5 Lacs old outstanding amount settelled with advance.
4) GST Invoice issue after 3 months
5) Above price discount at @ 8% agreed.
Note: Above PO is subject to approval from the consultant.
Note:
Above Price is locked and will not affect after change in the Dollar Prices.
for PIONEER ENGINEERING SERVICES
| Parital advance Payment Given on dated 15 May 23 |  |  |  | 1000000
Received by M. Imran
Signature
Date
PIONEER SERVICES