## HVAC
M/S Dawat-e-Hadiyah Burhani Mahal |  |  |  | Date | 2024-12-05
Mciver Road, Karachi |  |  |  | Invoice # | 319
|  |  |  | NTN # | 4312149-7
Invoice
Supply of HVAC Material for Food Court - The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate | Amount
1 | Supply of G.I. sheet metal duct machine made (22 / 24 SWG) with flange, nut bolts, gasket, duct sealant etc. complete in all respect. | Sqft | 4560 | 325 | 1482000
2 | Supply of aluminum faced XLPE insulation 20mm thick for supply & return air ducts. (internal duct area) | Sqft | 1041 | 550 | 572550
3 | Supply of Glass wool insulation of 25mm thick for supply & return air ducts including canvas cloth & antifungus paint complete in all respect. (internal duct area) | Sqft | 262 | 130 | 34060
4 | Supply of PU insulation 50mm thick for supply & return air ducts including canvas cloth & antifungus paint complete in all respect. (internal duct area) | Sqft | 2880 | 645 | 1857600
5 | Supply of G.I Cladding on exposed area duct (26 SWG) for protection of insulation. | Sqft | 3626 | 300 | 1087800
6 | Supply of double deflection return air grill including rectagular M.S pipe frame. |  |  |  | 0
| i) 18 x 24 | Nos | 4 | 16500 | 66000
| ii) 10 x 30 | Nos | 5 | 11800 | 59000
7 | Supply of fresh air in take louver 12 x 20 | Nos | 2 | 6700 | 13400
8 | Supply of aluminium filter 1" thick 12 x 20 | Nos | 2 | 3600 | 7200
9 | Supply of Flexible duct connector for return / supply air duct connection. | Rft | 36 | 650 | 23400
10 | Supply of volume control damper 12 x 20 | Nos | 2 | 6000 | 12000
11 | Supply of volume control damper 32 x 20 | Nos | 2 | 17600 | 35200
12 | Supply of Fire damper 32 x 20 | Nos | 2 | 17600 | 35200
13 | Supply of hangers / supports for G.I sheet metal ducts. | Job | 1 | 120000 | 120000
14 | Making of Shop drawings & As built on Auto CAD 2018. | Set | 1 | 20000 | 20000
15 | Supply of control wiring including installation of thermostat complete in all respect. | Job | 0 | 15000 | 0
16 | Supply of Painting & Identification. | Job | 1 | 30000 | 30000
Total Amount Rs |  |  |  |  | 5455410
Received |  |  |  |  | 2874349
Total Payable Amount Rs |  |  |  |  | 2581061
For PIONEER SERVICES.
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
PIONEER SERVICES

## working
|  |  | Discount | 4.811%
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
Discount | 88065.0403 | 18198.9538
Sub Total Amount | 1742534.9597 | 360101.0462
SRB 13% on Labour | 0 | 46813.136
Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
SRB 13% on Labour | 0 | 49179
Total Amount | 1830600 | 427479
Discount | 88065.0403 | 20564.8177
Grand Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419