## Table 1
2024-09-16
Quotation for Air conditioning work for Salaam Taqaful Limited.
No | Description | Qty. | Unit | Rate | Amount
1 | Installation of Air Conditioning Units. | 3 | Nos. | 5000 | 15000
2 | Supply and installation of refrigerant piping (Liquid + Gas) with expanded rubber foam Insulation. |  |  |  |  | 3 | 7000
| a) 1/4 | 150 | Rft | 435 | 65250
| a) 3/8 | 150 | Rft | 730 | 109500
| a) 1/2 | 150 | Rft | 950 | 142500
| a) 3/4 | 150 | Rft | 1550 | 232500
3 | Supply & Installation of 2.5mm 4 core flexible control wire with UPVC conduit. | 1 | Coil | 75000 | 75000
4 | Supply & Installation of PVC duct 60mm x 60mm | 100 | Rft | 70 | 7000
5 | Supply & Installation of hangers supports with clips. | 1 | Job | 35000 | 35000
6 | Supply, Installation of U-PVC piping condensate drain including with rubber foam insulation, for drain water piping. |  |  |  | 0
| 1” dia | 60 | Rft | 450 | 27000
7 | Core cutting3" | 3 | Nos | 2500 | 7500
8 | Supply & installation of M.S angle iron bracket for condensing unit. | 3 | Set | 7000 | 21000
Total Amount. |  |  |  |  | 737250
Discount |  |  |  |  | 62250
Total Amount. |  |  |  |  | 675000
SST 15% |  |  |  |  | 101250
Grand Total Amount. |  |  |  |  | 776250
PIONEER SERVICES

## Sheet1
M/S Sameen Enterprises
BILLL OF QUANTITES
S.No | Description | Qty | Unit | Rate | Amount
1 | Supply and Installation of Aluminum Faced XPLE insulation 3/4'' thick for internal ducts of different sections complete in all respects as per specification, drawings | 860 | Sft | 637 | 547820
2 | S/F of Powder Coated Jet Nozzle Eye Ball Diffuser of Aluminum with damper , dia 6'' & 360 degree rotation | 22 | Each | 6000 | 132000
3 | Supply and Installation of Volume control damper 42'' x 24'' High Quality Aluminum | 1 | Each | 42500 | 42500
4 | Dismantling , Lifting , Shifting , Installation , Testing , Balancing & Commissioning of Existing DX Air Handling Units with outdoor units of different capacities to the locations as per new layouts including hangers supports, steel base , vibration , isolators , interconnecting power & control wiring , thermostat with inlets & outlet connection / connector, refrigerant gas recharging etc complete in all respects | 1 | Job | 750000 | 750000
| Total Amount RS |  |  |  | 1472320
FOR PIONEER SERVICES
PIONEER SERVICES