## Table 1
M/S ASPL
2024-08-12
Attn: Safia Saleem
Please find the attached cost proposal for HVAC work for the project SALAM TAKAFUL LIMITED
Air-Conditioning Works
No | Description | Unit | Qty. | Rate | Amount
Section - 1
Air-Conditioning System
1 | Installation, Testing & Commissioning of following Air Conditioning Units Complete in all respect ready to operate complete in all respect. The work should be completed with control / power wiring / E.C.C. with conduiting as required between indoor and outdoor unit.
i) | 1 TR Wall Mounted Type A/C unit. | Nos. | 1 | 20000 | 20000
ii) | 1.5 TR Wall Mounted Type A/C unit. | Nos. | 1 | 23000 | 23000
iii) | 2.0 TR Wall Mounted Type A/C unit. | Nos. | 4 | 30000 | 120000
iv) | 2.0 TR Ceiling Mounted Cassette Type A/C unit. | Nos. | 2 | 30000 | 60000
2 | Supply, installation, testing & commissioning of refrigerant piping (Liquid + Gas - 1/4 +3/8) make Muller USA with expanded rubber foam Insulation protected with Grey Tape, Gas Charging if required. Control wiring with 4x2.5mm² PVC insulated copper cable in P.V.C. Conduit between internal and external units, complete in all respect. (up to 1 TR Unit) | Mtr. | 10 | 3600 | 36000
3 | Supply, installation, testing & commissioning of refrigerant piping (Liquid + Gas - 1/4 +1/2) make Muller USA with expanded rubber foam Insulation protected with Grey Tape, Gas Charging if required. Control wiring with 4x2.5mm² PVC insulated copper cable in P.V.C. Conduit between internal and external units, complete in all respect. (up to 1.5 / 2 TR Unit) | Mtr. | 10 | 4050 | 40500
4 | Supply, Installation, testing and Commissioning of Refrigerant piping (Liquid + Gas-5/8+3/8) make Muller USA with expanded rubber foam Insulation protected with Grey Tape, Gas Charging if required. Control wiring with 4x4 mm² PVC insulated copper cable in P.V.C. Conduit between internal and external units, complete in all respect. (up to 2 TR Unit) | Mtr. | 80 | 4950 | 396000
5 | Supply, Installation of U-PVC piping condensate drain including all cutting, fixing fitting, laying, cleaning and making good with 10 mm thick rubber foamed insulation, for drain water piping. The joints shall be properly sealed with manufacturer recommended solution and tape on circumferential joints and on longitudinal joints. Complete in all respect as per drawings and specifications.
5.1 | ¾” dia | Mtr. | 50 | 1350 | 67500
5.2 | 1” dia | Mtr. | 100 | 1650 | 165000
6 | Supply & installation of angle iron frame with antirust enamel of 2 costs & final grey paint, for split A/C outdoor units including antivibration pads, to be fixed on exterior wall, as per approval of Consultant. | Nos. | 14 | 9500 | 133000
Total cost of Air-Conditioning Works |  |  |  |  | 1061000
Discount 2% |  |  |  |  | 21220
Total cost of Air-Conditioning Works |  |  |  |  | 1039780
PIONEER SERVICES

## Sheet1
M/S Sameen Enterprises
BILLL OF QUANTITES
S.No | Description | Qty | Unit | Rate | Amount
1 | Supply and Installation of Aluminum Faced XPLE insulation 3/4'' thick for internal ducts of different sections complete in all respects as per specification, drawings | 860 | Sft | 637 | 547820
2 | S/F of Powder Coated Jet Nozzle Eye Ball Diffuser of Aluminum with damper , dia 6'' & 360 degree rotation | 22 | Each | 6000 | 132000
3 | Supply and Installation of Volume control damper 42'' x 24'' High Quality Aluminum | 1 | Each | 42500 | 42500
4 | Dismantling , Lifting , Shifting , Installation , Testing , Balancing & Commissioning of Existing DX Air Handling Units with outdoor units of different capacities to the locations as per new layouts including hangers supports, steel base , vibration , isolators , interconnecting power & control wiring , thermostat with inlets & outlet connection / connector, refrigerant gas recharging etc complete in all respects | 1 | Job | 750000 | 750000
| Total Amount RS |  |  |  | 1472320
FOR PIONEER SERVICES
PIONEER SERVICES