## Summary
Office no 195 Gulshan e Iqbal
13-C Block - D ,Karachi ,Pakistan
021-35643857
niceengr@gmail.com
SUMMARY OF BOQ
ITEM # | DESCRIPTION | TOTAL COST
230010 | General Requirements for HVAC System | -
230100 | Operation and maintenance of HVAC System | -
230500 | Common Work Results for HVAC | 6027465.2
230700 | HVAC Insulation | 5121244.75
230800 | Commissioning of HVAC | 100000
230900 | Instrumentation and Control for HVAC
232100 | HVAC Piping and Pumps | 4519581.9
233100 | HVAC Ducts and Casings | 4629610
233300 | Air Duct Accessories | 136730
233700 | Air Outlets and inlets | 406800
238219 | Fan coil Unit's & FAHU | 101700
| TOTAL AMOUNT | 21043131.85
NOTE: | All chilled water piping shall have 26 Gauge G.I. Sheet Jacketting.
Note on A13: Mujahid:

## Estimate
PROPOSAL FOR HVAC WORK 3RD FLOOR ROOF TOP FLOOR NASTP BUILTING KARACHI
Item # | Particulars | Rate |  | Amount |  | Total Cost | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  | Material | Installation | Material | Installation |  |  |  | Material | Labour | Material | Labour
230010 | General Requirements for HVAC System
a. | Making Shop Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications |  | 5000 | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
b. | Making As Built Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications |  | 5000 | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
230100 | Operation and maintenance of HVAC System
230113 | Operation and maintenance of HVAC System
a. | One month test run | 25000 |  | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
230500 | Common Work Results for HVAC
230513.13 | AIR Handling UNITS ISOLATOR BOX
a. | Supply, Installation of AHU Isolator Box complete in all respect including weather proof sheet metal cabinet, bus bars, internal wiring earth strip, connector strip, , magentic contactor, overload relay, indication lights, voltmeter, ammeter, under voltage phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects for HVAC equipment including Owner supplied HVAC equipment as per scheudle, speicifications and drawings. | 35000 | 5000 | #REF! | #REF! | #REF! | 8 | Nos | 79100 | 1695 | 632800 | 13560 | 646360 | 70000 | 1500 | 79100 | 1695
230513.16 | Wires, Cables, Conduites and Cable Tray | [14 empty] | 0 | 0
a. | Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of HVAC system complete in all respect as per drawings and specifications. | 40000 | 15000 | #REF! | #REF! | #REF! | 1 | Job | 339000 | 56500 | 339000 | 56500 | 395500 | 300000 | 50000 | 339000 | 56500
230519 | Meters and gages for HVAC Piping | [14 empty] | 0 | 0
a. | Supply, installation, testing and commissioning of meters and gagues and accessories for HVAC piping complete in all respect as per drawings and specifications | [14 empty] | 0 | 0
| AIR Handling unit's | [14 empty] | 0 | 0
i. | Insertion type pipe mounted thermometers | 9000 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 11639 | 1130 | 186224 | 18080 | 204304 | 10300 | 1000 | 11639 | 1130
ii. | Pressure gauge | 7000 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 10735 | 1130 | 171760 | 18080 | 189840 | 9500 | 1000 | 10735 | 1130
iii. | gague cock | 1800 | 300 | #REF! | #REF! | #REF! | 16 | Nos | 2260 | 1130 | 36160 | 18080 | 54240 | 2000 | 1000 | 2260 | 1130
iv. | thermometer with well | 3500 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 11300 | 1130 | 180800 | 18080 | 198880 | 10000 | 1000 | 11300 | 1130
230523 | General-Duty Valves for HVAC Piping | [14 empty] | 0 | 0
| Supply, installation, testing and commissioning of valves complete with flanges and all other accessories for HVAC piping complete in all respect as per drawings and specifications | [14 empty] | 0 | 0
| AIR Handling unit's | [14 empty] | 0 | 0
a. | Gate Valve | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | 14000 | 1000 | #REF! | #REF! | #REF! | 16 | Nos | 26555 | 1695 | 424880 | 27120 | 452000 | 23500 | 1500 | 26555 | 1695
| 100 mm (4 inch) Diameter | [5 empty] | 2 | Nos | 75145 | 1695 | 150290 | 3390 | 153680 | 66500 | 1500 | 75145 | 1695
b. | CFRV | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | 19000 | 1500 | #REF! | #REF! | #REF! | 8 | Nos | 55935 | 1695 | 447480 | 13560 | 461040 | 49500 | 1500 | 55935 | 1695
c. | Motorized Valve | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | 120000 | 2500 | #REF! | #REF! | #REF! | 8 | Nos | 286455 | 1695 | 2291640 | 13560 | 2305200 | 253500 | 1500 | 286455 | 1695
| Strainers with blow off 20 mm dia ball valve | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | [5 empty] | 8 | Nos | 61901.4 | 1695 | 495211.2 | 13560 | 508771.2 | 54780 | 1500 | 61901.4 | 1695
230526 | Hangers and Supports for HVAC Ducting | [14 empty] | 0 | 0
a. | Supply, Installation & Commissioning of hangers and supports for HVAC ducting complete in all respect as per drawings and specifications. | 40000 | 10000 | #REF! | #REF! | #REF! | 1 | Job | 113000 | 11300 | 113000 | 11300 | 124300 | 100000 | 10000 | 113000 | 11300
230529.13 | Hangers and Supports for HVAC Piping | [14 empty] | 0 | 0
a. | Supply, Installation & Commissioning of hangers and supports for HVAC piping complete in all respect as per drawings and specifications. | 20000 | 10000 | #REF! | #REF! | #REF! | 1 | Job | 113000 | 11300 | 113000 | 11300 | 124300 | 100000 | 10000 | 113000 | 11300
230529.16 | Hangers and Supports for HVAC Equipment | [14 empty] | 0 | 0
a. | Supply, Installation & Commissioning of hangers and supports for HVAC equipment complete in all respect as per drawings and specifications. | 30000 | 15000 | #REF! | #REF! | #REF! | 1 | Job | 113000 | 22600 | 113000 | 22600 | 135600 | 100000 | 20000 | 113000 | 22600
230553 | Identification for HVAC Ducting, Piping and Equipment | [14 empty] | 0 | 0
a. | Supply, Installation & Commissioning of identification for HVAC ducting, piping and equipment complete in all respect as per drawings and specifications. | 10000 | 5000 | #REF! | #REF! | #REF! | 1 | Job | 16950 | 11300 | 16950 | 11300 | 28250 | 15000 | 10000 | 16950 | 11300
230579 | Fire Stopping | [14 empty] | 0 | 0
a. | Supply, Installation & Commissioning of firestopping complete in all respect as per drawings and specifications. | 15000 | 5000 | #REF! | #REF! | #REF! | 1 | Job | 33900 | 11300 | 33900 | 11300 | 45200 | 30000 | 10000 | 33900 | 11300
230700 | HVAC Insulation | [14 empty] | 0 | 0
230713.13 | Duct Insulation | [14 empty] | 0 | 0
a. | Supply and installation of 50 mm thick Fiber Glass Insulation of density 24 kg/m3 with Aluminum Foil for Internal G.I. sheet metal ducts of different sections for supply and return air duct with Alumninum tape and protected with 8 oz Canvas Cloth wrapping than painted anti fungus paint complete in all respect as per schedule, specifications and drawings. | 350 | 60 | #REF! | #REF! | #REF! | 9700 | Sq. Ft. | 197.75 | 56.5 | 1918175 | 548050 | 2466225 | 175 | 50 | 197.75 | 56.5
230719.13 | Chilled Water Piping Insulation | [14 empty] | 0 | 0
a. | Supply and installation of premoulded polyurethane insulation of density 50 kg/m3 with bituminous karft paper facing for chilled water pipes, bends, tees, unions, sockets, valves and on speicals, wrapped with 8 oz. canvas cloth than painted with anti fungus paint, protected 26 SWG painted G.I. sheet metal cladding complete in all respect as per scheudle, specifications and drawings. | [14 empty] | 0 | 0
| 38 mm (1-1/2 inch) thickness | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | 620 | 175 | #REF! | #REF! | #REF! | 430 | Rft | 1130 | 113 | 485900 | 48590 | 534490 | 1000 | 100 | 1130 | 113
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 220 | Rft | 1254.3 | 113 | 275946 | 24860 | 300806 | 1110 | 100 | 1254.3 | 113
| 75 mm (3 Inch) Diameter | [5 empty] | 145 | Rft | 1299.5 | 141.25 | 188427.5 | 20481.25 | 208908.75 | 1150 | 125 | 1299.5 | 141.25
| 100 mm (4 Inch) Diameter | [5 empty] | 490 | Rft | 2260 | 197.75 | 1107400 | 96897.5 | 1204297.5 | 2000 | 175 | 2260 | 197.75
230719.26 | Condensate Drain Insulation | [14 empty] | 0 | 0
a. | Supply and installation of 6 mm thick Pre-moulded Armaflex Pipe Insulation complete in all respect as per schedule, specifications and drawings. | [14 empty] | 0 | 0
| 32 mm (1-1/4 inch) Diameter | 280 | 90 | #REF! | #REF! | #REF! | 150 | Rft | 214.7 | 56.5 | 32205 | 8475 | 40680 | 190 | 50 | 214.7 | 56.5
| 50 mm (2 inch) Diameter | 280 | 90 | #REF! | #REF! | #REF! | 250 | Rft | 452 | 56.5 | 113000 | 14125 | 127125 | 400 | 50 | 452 | 56.5
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 325 | Rft | 678 | 56.5 | 220350 | 18362.5 | 238712.5 | 600 | 50 | 678 | 56.5
230800 | Commissioning of HVAC | [14 empty] | 0 | 0
230813 | Testing, Adjusting and balancing for HVAC systems | [14 empty] | 0 | 0
a. | Testing, balancing and commissioning of HVAC system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 40000 |  | #REF! | #REF! | #REF! | 1 | Job |  | 113000 | - | 100000 | 100000 | - | 100000 |  | 113000
232100 | HVAC Piping and Pumps | [14 empty] | 0 | 0
232113.23 | Hydronic Piping | [14 empty] | 0 | 0
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications. | [14 empty] | 0 | 0
| 32 mm (1-1/4 inch) Diameter | 970 | 180 | #REF! | #REF! | #REF! | 30 | Rft | 904 | 158.2 | 27120 | 4746 | 31866 | 800 | 140 | 904 | 158.2
| 50 mm (2 inch) Diameter | 1300 | 225 | #REF! | #REF! | #REF! | 320 | Rft | 1130 | 226 | 361600 | 72320 | 433920 | 1000 | 200 | 1130 | 226
232113.26 | Condensate Drain Piping | [14 empty] | 0 | 0
a. | Supply, Installation, testing & Commissioning of UPVC Class D pipes & fittings for condensate drain system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications. | [14 empty] | 0 | 0
| 25 mm (1 inch) Diameter | 430 | 80 | #REF! | #REF! | #REF! | 20 | Rft | 367.25 | 56.5 | 7345 | 1130 | 8475 | 325 | 50 | 367.25 | 56.5
| 32 mm (1-1/4 inch) Diameter | 550 | 110 | #REF! | #REF! | #REF! | 140 | Rft | 491.55 | 56.5 | 68817 | 7910 | 76727 | 435 | 50 | 491.55 | 56.5
| 38 mm (1-1/2 inch) Diameter | 550 | 110 | #REF! | #REF! | #REF! | 30 | Rft | 553.7 | 56.5 | 16611 | 1695 | 18306 | 490 | 50 | 553.7 | 56.5
232113.23 | Hydronic Piping | [14 empty] | 0 | 0
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications. | [14 empty] | 0 | 0
| 50 mm (2 inch) Diameter | [5 empty] | 430 | Rft | 1893.88 | 124.3 | 814368.4 | 53449 | 867817.4 | 1676 | 110 | 1893.88 | 124.3
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 220 | Rft | 2486 | 135.6 | 546920 | 29832 | 576752 | 2200 | 120 | 2486 | 135.6
| 75 mm (3 Inch) Diameter | [5 empty] | 145 | Rft | 3616 | 146.9 | 524320 | 21300.5 | 545620.5 | 3200 | 130 | 3616 | 146.9
| 100 mm (4 Inch) Diameter | [5 empty] | 490 | Rft | 3842 | 158.2 | 1882580 | 77518 | 1960098 | 3400 | 140 | 3842 | 158.2
233100 | HVAC Ducts and Casings | [14 empty] | 0 | 0
233113.13 | Medium/Low pressure G.I. sheet metal ducting | [14 empty] | 0 | 0
a. | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting complete in all respect as per drawings and specifications. | [14 empty] | 0 | 0
iii. | 22 gauge | 420 | 60 | #REF! | #REF! | #REF! | 2400 | Sq. Ft. | 452 | 67.8 | 1084800 | 162720 | 1247520 | 400 | 60 | 452 | 67.8
iv. | 24 gauge | 400 | 60 | #REF! | #REF! | #REF! | 7300 | Sq. Ft. | 395.5 | 67.8 | 2887150 | 494940 | 3382090 | 350 | 60 | 395.5 | 67.8
233300 | Air Duct Accessories | 12000 | 1500 | #REF! | #REF! | #REF! | [9 empty] | 0 | 0
233343 | Flexible Connectors | 25000 | 8000 | #REF! | #REF! | #REF! | [9 empty] | 0 | 0
a. | Supply, Installation, testing & Commissioning of flexible connectors between blower section and air duct complete in all respect as per drawings and specifications. | [5 empty] | 1 | Lot | 113000 | 23730 | 113000 | 23730 | 136730 | 100000 | 21000 | 113000 | 23730
233700 | Air Outlets and inlets | 20000 | 6000 | #REF! | #REF! | #REF! | [9 empty] | 0 | 0
233713 | Diffusers, Registers, and Grilles | [14 empty] | 0 | 0
| Supply, Installation, testing & Commissioning of Diffusers, Registers and Grilles complete in all respect as per drawings and specifications. | [14 empty] | 0 | 0
a. | Supply Air Diffusers (SAD) | [14 empty] | 0 | 0
| 375x375 (15"x15") | [5 empty] | 80 | Nos | 3390 | 847.5 | 271200 | 67800 | 339000 | 3000 | 750 | 3390 | 847.5
| 300x150 (12"x24") SAG | [5 empty] | 8 | Nos | 3390 | 847.5 | 27120 | 6780 | 33900 | 3000 | 750 | 3390 | 847.5
| 300x150 (10"x18") FAG | [5 empty] | 8 | NOS | 3390 | 847.5 | 27120 | 6780 | 33900 | 3000 | 750 | 3390 | 847.5
238219 | AIR Handling unit's
a. | Installation, lifting, testing & Commissioning of air handling units complete in all respect as per drawings and specifications. | 25000 | 10000 | #REF! | #REF! | #REF!
i | AHU 12TR | [5 empty] | 2 | Nos |  | 16950 | - | 33900 | 33900 | - | 15000 |  | 16950
ii | AHU 10TR | [5 empty] | 6 | Nos |  | 11300 | - | 67800 | 67800 | - | 10000 |  | 11300
| TOTAL AMOUNT | 910000 | 20000 | #REF! | #REF! | #REF! |  |  |  |  | 18747570.1 | 2295561.75 | 21043131.85
|  | 1790000 | 25000 | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF!