## Table 1
Bill of Quantities
Plumbing & Sanitary Services
Kanteen | [7 empty] | Rev.00
Date: 22-01-2025
S.No. | Description | Unit | Qty | Material |  | Labour |  | Total Amount
|  |  |  | Rate | Amount | Rate | Amount
| SECTION - 01 PLUMBING FIXTURES & FAUCETS. | Nos. | 3 | 52000 | 156000 | 10000 | 30000 | 186000
Supply and installation of plumbing fixtures & faucets complete in all respect including all accessories, support, hangers, etc. ready to use as per specifications, drawings, schedule of plumbing fixtures and instruction of consultant.
1.1 | European style W.C. Floor mounted type with seat cover, flush tank, cover plate floor mounted brackets with fixing accessories.
i. | Type - EWC
1.2 | Toilet hand shower with flexible chain & telephone type shower including tee stop cock complete in all respects. | Nos. | 3 | 9500 | 28500 | 2000 | 6000 | 34500
i. | Type - TS
1.3 | Wash basin including lever mixer as approved, basin pop-up waste, P- trap / bottle tap, wall brackets and fixing accessories, etc. | No. | 1 | 35000 | 35000 | 3000 | 3000 | 38000
i | Type - WB
ii | Type - WB (Vanity) | Nos. | 2 | 8500 | 17000 | 2000 | 4000 | 21000
1.4 | Wash basin hot and cold water mixer, etc. | Nos. | 1 | 28000 | 28000 | 3000 | 3000 | 31000
i. | Type - WB
ii | Type - WB (Vanity) | Nos. | 2 | 28000 | 56000 | 3000 | 6000 | 62000
1.5 | S.S Grease trap 7.5 Kg. capacity, inlet/outlet 50mm dia connections. | No. | 1 | 165000 | 165000 | 3000 | 3000 | 168000
1.6 | Supply and Installation of Three Compartment SS sink with mixer for each sink (one deck mounted pull out mixer + one wall mounted sink mixer), waste pipe set with drain level and tee stop cocks etc. complete in all respects. | No. | 1 | 375000 | 375000 | 15000 | 15000 | 390000
1.7 | Toilet accessories complete set, (Include following). | Nos. | 3 | 9000 | 27000 | 1000 | 3000 | 30000
i. | Soap Dispenser
ii. | Towel Rod | Nos. | 3 | 6000 | 18000 | 1000 | 3000 | 21000
iii. | Toilet Paper Holder | Nos. | 3 | 4000 | 12000 | 1000 | 3000 | 15000
iv. | S.Steel Robe Hook | Nos. | 3 | 3000 | 9000 | 1000 | 3000 | 12000
SUB TOTAL:
| SECTION-02 WATER SUPPLY SYSTEM | Rft. | 70 | 550 | 38500 | 100 | 7000 | 45500
Supply, installation, testing and commissioning of complete pipe work for cold and hot water system including all accessories required to complete systems ready to operate as per specifications, drawings & instruction of Consultant.
2.1 | Polypropylene Random PP-R pipes (PN-20) and fittings with fusion jointing along with all types of unions, tees, bends, sockets, clamps, hangers, supports, sleeves, masking plates, chiseling, making holes making good, excavation, bedding backfilling as required complete in all respect.
i. | Dia 25 mm (OD)
ii. | Dia. 32 mm (OD) | Rft. | 50 | 680 | 34000 | 200 | 10000 | 44000
iii. | Dia. 40 mm (OD) | Rft. |  |  | 0 |  | 0 | 0
iv. | Dia. 50 mm (OD) | Rft. |  |  | 0 |  | 0 | 0
2.2 | Same as item # 2.1 but for hot water supply with Polypropylene Random PP-R (PN -25) with Aluminium foil. | Rft. | 50 | 1000 | 50000 | 100 | 5000 | 55000
i. | Dia 25 mm (OD)
ii. | Dia. 32 mm (OD) | Rft. | 40 | 1400 | 56000 | 200 | 8000 | 64000
2.3 | Open cell rubber foam insulation & pvc tape wrapping for hot water pipes. | Rft. | 50 | 600 | 30000 | 50 | 2500 | 32500
i. | Dia 25 mm (OD)
ii. | Dia. 32 mm (OD) | Rft. | 40 | 650 | 26000 | 50 | 2000 | 28000
2.4 | G.I. Pipe lines for water supply as per BS 1387 medium quality IIL. Including specials sockets tee, elbow, bend, reducer plug and union etc) supported on walls or suspended from roof slab, including protective coating as per drawing and specifications including color coding complete in all respects. | Rft. | 70 | 700 | 49000 | 200 | 14000 | 63000
i. | Dia. 1"
ii. | Dia. 1-1/4" | Rft. | 15 | 900 | 13500 | 200 | 3000 | 16500
iii. | Dia. 1-1/2" | Rft. | 15 | 1450 | 21750 | 300 | 4500 | 26250
2.5 | Brass body gate valves / ball valves with union. | Nos. | 3 | 9000 | 27000 | 1000 | 3000 | 30000
i. | Size 25 mm
ii. | Size 32 mm | Nos. | 7 | 13500 | 94500 | 1000 | 7000 | 101500
2.6 | Brass body check valve. | No. | 1 | 17500 | 17500 | 2000 | 2000 | 19500
i. | Size Ø 1-1/2"
2.7 | Brass body float valve. | No. | 1 | 21500 | 21500 | 2000 | 2000 | 23500
i. | Size Ø 1-1/2"
2.8 | Hot Water LPG Gas fired / Electric geyser storage type suitable for 60 psi working pressure including inlet outlet connections, valves, gas cock, thermostat (imported), pressure relief valve, CC base, chimney. | Nos. | 1 | 95000 | 95000 | 7000 | 7000 | 102000
i. | HWG 50 Gal. capacity
2.9 | Pressure boosting pumps set with VFD, motors electrical panel including incoming, outgoing MCCBs, pressure transmeter, pumps starters, lead/lag relay, dry run protection, overload protection, diaphragm pressure tank (150 Ltrs capacity), inter connecting pipe work, valves, mounted on common steel base, lnlet/outlet connection electrical power cable from panel to motors, M.S foundation as per schedule. | Set. | 1 | 0 | 0 | 8000 | 8000 | 8000
i. | PB-01
2.1 | Supply & Installation of Submersible water transfer pumps (Duplex) set with electric motor including inlet/outlet connections, electrical connection with all fixing accessories, water proof electrical panel with automatic control system for tank low and high level, auto stop with overflow, complete in all respects. | Set. | 1 | 0 | 0 | 5000 | 5000 | 5000
WTP-01
2.11 | Motor Control panel for Duplex (2 Nos.) submersible water transfer pumps including auto Lead/Lag sequencing of pumps, pump starters, auto on / off, float switches, high level alarm, power and control wiring. | Job | 1 | 0 | 0 | 5000 | 5000 | 5000
SUB TOTAL:
| SECTION-03 SOIL, WASTE, VENT AND RAIN WATER DRAINAGE SYSTEM | Rft. | 80 | 600 | 48000 | 150 | 12000 | 60000
Supply, fixing, testing and commissioning of equipment, pipe work required to complete the soil, waste, vent and rain water systems in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
3.1 | uPVC pipes of approved make along with specials, fittings, bends, wye, tees, sockets, sleeves, masking plates, traps, vent cowl, chiseling, making hole, excavation, backfilling making good where as required jointing with rubber ring seals.
ii | Dia 2"
iv. | Dia 4" | Rft. | 170 | 1850 | 314500 | 250 | 42500 | 357000
v | Dia 6" | Rft. | 50 | 2480 | 124000 | 300 | 15000 | 139000
3.2 | Floor trap including SS grating Floor trap, inlet outlet connection complete in all respects. | Nos. | 5 | 8000 | 40000 | 1000 | 5000 | 45000
i. | FT- 4" Size with P-trap
3.3 | Clean out of approved design with cap including requisite number of holes in wall plinth or floor for pipe connection and making good the same as necessary to the structure complete including gasket and clamp complete. | Nos. | 2 | 7500 | 15000 | 1000 | 2000 | 17000
i | For 4" dia. Pipe with SS floor cover plate (FCO)
3.4 | uPVC cowl for vent pipe of the following dia. including all accessories complete. | No. | 1 | 2000 | 2000 | 1000 | 1000 | 3000
i. | Dia 2" size.
3.5 | uPVC rain water grating of approved design with dome type grating including requisite number of holes in wall plinth or floor for pipe connection and making good the same as necessary to the structure complete including gasket and clamp complete. | Nos. | 3 | 29000 | 87000 | 2000 | 6000 | 93000
RWG -Dia 4"
SUB TOTAL:
| SECTION-04 EXTERNAL SEWER & MANHOLES | Rft. | 10 | 4000 | 40000 | 1000 | 10000 | 50000
Supply, fixing, testing and commissioning of equipment, pipe work required to complete the sewerage disposal services in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
4.1 | uPVC pipes class 'D' for Sewer drainage with Solvent joints including excavation in any type of soil, dewatering if required bedding, back filling with selected material, removing of extra materials.
i. | Dia. 6" size
4.3 | Construction of Gully Trap with material including, excavation, 4" size uPVC P-trap CC base CI cover with frame, CC benching water proof internal plaster inlet/out connections etc. | Job. | 2 | 32000 | 64000 | 2000 | 4000 | 68000
i. | Type GT, Size 10"x10"
4.4 | Construction of manholes with material including, excavation, base top RCC slab CI cover with frame, GI steps, CC benching water proof internal plaster inlet/out connections etc. | Nos. | 1 | 75000 | 75000 | 10000 | 10000 | 85000
i. | Size. 24" X 24"
SUB TOTAL:
| SECTION-05 LPG GAS SUPPLY SYSTEM | Rft. | 30 | 700 | 21000 | 150 | 4500 | 25500
5.1 | Supply, fixing, testing and commissioning of equipment, pipe work required to complete the natural gas supply services in all respects with accessories ready to operate as per specifications, drawings and instructions of Consultant.
G.I. Pipe lines for gas supply as per BS 1387 medium quality IIL. Including specials sockets tee, elbow, bend, reducer plug and union etc) supported on walls or suspended from roof slab, including protective coating as per drawing and specifications including color coding complete in all respects.
i. | Dia. 3/4"
ii. | Dia. 1/2" | Rft. | 10 | 600 | 6000 | 200 | 2000 | 8000
iii. | Dia. 1" | Rft. | 70 | 900 | 63000 | 200 | 14000 | 77000
iv. | Dia. 2" | Rft. | 55 | 1700 | 93500 | 300 | 16500 | 110000
5.2 | Full bore ball valves of approved quality of gas company including all accessories complete in all respects. | Nos. | 1 | 2500 | 2500 | 500 | 500 | 3000
i. | Dia. 1/2"
ii. | Dia. 3/4" | No. | 3 | 3700 | 11100 | 500 | 1500 | 12600
iii. | Dia. 1" | Nos. | 5 | 4500 | 22500 | 700 | 3500 | 26000
iv. | Dia. 1-1/4" | Nos. | 1 | 6500 | 6500 | 850 | 850 | 7350
v. | Dia. 2" | No. | 1 | 13500 | 13500 | 1000 | 1000 | 14500
5.3 | Pressure regulator, ball valves,pressure gauges before kitchen equipment & geyser, inter connecting pipe work, supports, with by pass arrangement as per drawing etc. complete in all respect as per instructions of consultant. | Set. | 9 | 17000 | 153000 | 3000 | 27000 | 180000
5.4 | Hydraulic rubber reinforced flexible tube including G.I threaded coupling connection at both ends LPG cylinder fixing, ball valves, strainer, pressure gauges (0 to 300 psi glycerin filled) as required to complete in all respects ready to operate as per specification as per instruction of Consultant. | Nos. | 4 | 3000 | 12000 | 500 | 2000 | 14000
i. | Dia 3/4'' X 3 feet length
5.5 | Supply, installation, testing and commissioning of LPG Electric water bath vaporizer with complete automation option. Inlet/outlet gas connection & electrical power wiring connection as per drawing etc. Complete in all respect as per instruction of Consultant. | No. | 1 | 83000 | 83000 | 3000 | 3000 | 86000
i. | 30 Kg. LPG Electric water bath vaporizer.
5.6 | Pressure regulator assembly for natural gas consisted of pressure regulator, strainer, Gas filter for ball valves, pressure gauges,inter connecting pipe work, supports, with by pass arrangement as per drawing etc. complete in all respect as per instructions of consultant. | Job. | 1 | 75000 | 75000 | 5000 | 5000 | 80000
5.7 | LPG / Gas leak detecting system including supply of 2 nos Leak detector, Controller and control wiring from controller to Leak detector in G.I pipe complete in all respect ready to operate as per mentioned in schedule and as per instruction of Consultant. | No. | 1 | 0 | 0 |  | 0 | 0
5.8 | Testing and commissioning of entire gas distribution system as per gas company's regulations and satisfaction to the consultant. | Job. | 1 |  | 0 | 30000 | 30000 | 30000
SUB TOTAL:
SECTION-05 SUNDRIES
Contractor will priced the sundries items for all Plumbing & Sanitary (P&S) services as per specifications, drawings and instruction of consultant
5.1 | Submittals, samples, shop drawings, inspections, As-Built drawings, operation and maintenance manuals and the like as required by specification. | Job. | 1 | 10000 | 10000 | 10000 | 10000 | 20000
5.2 | Maintenance of the complete P&S works installation as specified. (01 month). | Job. | 1 | 15000 | 15000 | 10000 | 10000 | 25000
Note: Retention Money shall be released after submission of As-Built drawings and M&O manuals and subsequent approval by consultants
SUB TOTAL:
TOTAL OF ALL SECTIONS RS: |  |  |  |  | 2897850 |  | 415850 | 3313700