## Summary
Bank Al-Habib Limited
HVAC & Fire Fighting Work |  |  |  | 2023-02-16
22nd & 23rd Floor Centerpoint Karachi
SUMMARY OF BILL OF QUANTITIES
S.No | Description | Material | Labour | Amount
1 | HVAC 222nd Floor | 18967350 | 1763250 | 20730600
2 | HVAC 23rdth Floor | 18472100 | 1647900 | 20120000
| Total Amount HVAC |  |  | 40850600
3 | Fire Fighiing 22nd Floor | 2810350 | 482000 | 3292350
4 | Fire Fighiing 23rd Floor | 2432000 | 428000 | 2860000
| Total Amount Fire Fighting |  |  | 6152350
| Grand Total Amount | 42681800 | 4321150 | 47002950

## FF-23 F
Fire Fighting 23th Floor
Item # | Item | Qty | Rate | Amount | Rate | Amount | Total
1 | Fire Work | 1 |  | 0 |  | 0 | 0
2.1 | M.S Pipe 25mm | 230 | 3000 | 690000 | 750 | 172500 | 862500
2.2 | M.S Pipe 32mm | 15 | 3750 | 56250 | 800 | 12000 | 68250
2.3 | M.S Pipe 40mm | 20 | 4500 | 90000 | 900 | 18000 | 108000
2.4 | M.S Pipe 50mm | 25 | 5950 | 148750 | 1000 | 25000 | 173750
2.5 | M.S Pipe 65mm | 25 | 9750 | 243750 | 1100 | 27500 | 271250
2.6 | M.S Pipe 75mm | 30 | 12750 | 382500 | 1200 | 36000 | 418500
2.7 | M.S Pipe 100mm | 2 | 16500 | 33000 | 1500 | 3000 | 36000
3.1 | Sprinkler head (upright) | 1 | 3000 | 3000 | 500 | 500 | 3500
3.2 | Sprinkler head | 75 | 8050 | 603750 | 500 | 37500 | 641250
4.1 | DCP | 1 | 37000 | 37000 | 500 | 500 | 37500
5.1 | Isolation valve | 1 | 59000 | 59000 | 500 | 500 | 59500
6 | Fire Stop material | 1 | 35000 | 35000 | 15000 | 15000 | 50000
7 | AS Built drawings | 1 | 10000 | 10000 | 10000 | 10000 | 20000
8 | Painting | 1 | 20000 | 20000 | 20000 | 20000 | 40000
9 | Flushing | 1 | 20000 | 20000 | 30000 | 30000 | 50000
10 | Testing | 1 | 0 | 0 | 20000 | 20000 | 20000
Total Amount |  |  |  | 2432000 |  | 428000 | 2860000

## FF-22-F
Fire Fighting 22nd Floor
Item # | Item | Qty | Rate | Amount | Rate | Amount | Total
1 | Fire Work | 1 |  | 0 |  | 0 | 0
2.1 | M.S Pipe 25mm | 250 | 3000 | 750000 | 750 | 187500 | 937500
2.2 | M.S Pipe 32mm | 25 | 3750 | 93750 | 800 | 20000 | 113750
2.3 | M.S Pipe 40mm | 30 | 4500 | 135000 | 900 | 27000 | 162000
2.4 | M.S Pipe 50mm | 30 | 5950 | 178500 | 1000 | 30000 | 208500
2.5 | M.S Pipe 65mm | 30 | 9750 | 292500 | 1100 | 33000 | 325500
2.6 | M.S Pipe 75mm | 35 | 12750 | 446250 | 1200 | 42000 | 488250
2.7 | M.S Pipe 100mm | 2 | 16500 | 33000 | 1500 | 3000 | 36000
3.2 | Sprinkler head (pendent) | 87 | 8050 | 700350 | 500 | 43500 | 743850
4.1 | DCP | 1 | 37000 | 37000 | 500 | 500 | 37500
5.1 | Isolation valve | 1 | 59000 | 59000 | 500 | 500 | 59500
6 | Fire Stop material | 1 | 35000 | 35000 | 15000 | 15000 | 50000
7 | AS Built drawings | 1 | 10000 | 10000 | 10000 | 10000 | 20000
8 | Painting | 1 | 20000 | 20000 | 20000 | 20000 | 40000
9 | Flushing | 1 | 20000 | 20000 | 30000 | 30000 | 50000
10 | Testing | 1 | 0 | 0 | 20000 | 20000 | 20000
Total Amount |  |  |  | 2810350 |  | 482000 | 3292350

## HVAC-22F
HVAC 22nd Floor
Item # | Item | Qty | Rate | Amount | Rate | Amount | Total
1 | ACMV work | 1 | 0 | 0 | 100000 | 100000 | 100000
2 | FCU | 2 | 0 | 0 | 5000 | 10000 | 10000
3.1 | Gate valve | 8 | 8350 | 66800 | 1000 | 8000 | 74800
3.2 | Strainer | 2 | 7250 | 14500 | 1000 | 2000 | 16500
3.3 | Balancing valve | 2 | 18500 | 37000 | 1000 | 2000 | 39000
3.4 | Thermometer | 4 | 11000 | 44000 | 1000 | 4000 | 48000
3.5 | Pressure guage | 4 | 9500 | 38000 | 1000 | 4000 | 42000
3.6 | 2 way motorized valve | 2 | 88000 | 176000 | 1000 | 2000 | 178000
3.7 | Themostat controller | 2 | 55000 | 110000 | 1000 | 2000 | 112000
3.8 | Control wiring | 2 | 20000 | 40000 | 3000 | 6000 | 46000
4.1 | M.S Pipe 1" | 30 | 2900 | 87000 | 700 | 21000 | 108000
4.2 | M.S Pipe 1-1/4" | 15 | 3500 | 52500 | 800 | 12000 | 64500
5.1 | Fiber glass insulation | 30 | 2700 | 81000 | 200 | 6000 | 87000
5.2 | Fiber glass insulation | 15 | 3800 | 57000 | 300 | 4500 | 61500
6.1 | Drain piping 1" | 20 | 1600 | 32000 | 300 | 6000 | 38000
7.1 | VAV-1 | 1 | 281400 | 281400 | 3000 | 3000 | 284400
7.2 | VAV-2 | 1 | 294000 | 294000 | 3000 | 3000 | 297000
7.3 | VAV-3 | 2 | 271600 | 543200 | 3000 | 6000 | 549200
7.4 | VAV-4 | 1 | 282100 | 282100 | 3000 | 3000 | 285100
7.5 | VAV-5 | 3 | 294000 | 882000 | 3000 | 9000 | 891000
7.6 | VAV-6 | 1 | 294000 | 294000 | 3000 | 3000 | 297000
7.7 | VAV-7 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
7.8 | VAV-8 | 1 | 281400 | 281400 | 3000 | 3000 | 284400
7.9 | VAV-9 | 2 | 281400 | 562800 | 3000 | 6000 | 568800
7.1 | VAV-10 | 1 | 264250 | 264250 | 3000 | 3000 | 267250
7.11 | VAV-11 | 2 | 281400 | 562800 | 3000 | 6000 | 568800
7.12 | VAV-12 | 1 | 264250 | 264250 | 3000 | 3000 | 267250
8.1 | TAF 01 | 1 | 24000 | 24000 | 3000 | 3000 | 27000
8.2 | TAF 01 | 2 | 62500 | 125000 | 3000 | 6000 | 131000
8.3 | TAF 02 | 1 | 69000 | 69000 | 3000 | 3000 | 72000
8.4 | TAF 03 | 2 | 69000 | 138000 | 3000 | 6000 | 144000
8.5 | TAF 04 | 1 | 79000 | 79000 | 3000 | 3000 | 82000 | 4783800
9 | G.I Ducting | 1000 | 5500 | 5500000 | 660 | 660000 | 6160000
10 | XLPE rubber foam insulation | 1000 | 5750 | 5750000 | 550 | 550000 | 6300000
11 | Sound liner | 60 | 5450 | 327000 | 550 | 33000 | 360000
12 i | Air devices | 6 | 4000 | 24000 | 700 | 4200 | 28200
12 ii | Air devices | 2 | 5750 | 11500 | 700 | 1400 | 12900
12 iii | Air devices | 4 | 9000 | 36000 | 1000 | 4000 | 40000
12.2 | Air devices | 2 | 4500 | 9000 | 700 | 1400 | 10400
12.2 | Air devices | 3 | 3000 | 9000 | 500 | 1500 | 10500
12.3 | Air devices | 110 | 4500 | 495000 | 700 | 77000 | 572000
13 | Flexbile duct | 110 | 1450 | 159500 | 300 | 33000 | 192500
14 | Butter fly damper | 105 | 2750 | 288750 | 250 | 26250 | 315000
15 | VCD | 6 | 45500 | 273000 | 5000 | 30000 | 303000
16 | Painting | 1 | 20000 | 20000 | 15000 | 15000 | 35000
17 | Testing and commissioning | 1 | 0 | 0 | 50000 | 50000 | 50000
18 | Shop Drawing | 1 | 10000 | 10000 | 15000 | 15000 | 25000
18 | [6 empty] | 0
|  |  |  | 18967350 |  | 1763250 | 20730600

## HVAC-23F
HVAC 23rd Floor
Item # | Item | Qty | Rate | Amount | Rate | Amount | Total
1 | ACMV work | 1 | 0 | 0 | 100000 | 100000 | 100000
2 | FCU | 2 | 0 | 0 | 5000 | 10000 | 10000
3.1 | Gate valve | 8 | 8350 | 66800 | 1000 | 8000 | 74800
3.2 | Strainer | 2 | 7250 | 14500 | 1000 | 2000 | 16500
3.3 | Balancing valve | 2 | 18500 | 37000 | 1000 | 2000 | 39000
3.4 | Thermometer | 4 | 11000 | 44000 | 1000 | 4000 | 48000
3.5 | Pressure guage | 4 | 9500 | 38000 | 1000 | 4000 | 42000
3.6 | 2 way motorized valve | 2 | 88000 | 176000 | 1000 | 2000 | 178000
3.7 | Themostat controller | 2 | 55000 | 110000 | 1000 | 2000 | 112000
3.8 | Control wiring | 2 | 20000 | 40000 | 1000 | 2000 | 42000
4.1 | M.S Pipe 1" | 25 | 2900 | 72500 | 700 | 17500 | 90000
4.2 | M.S Pipe 1-1/4" | 15 | 3500 | 52500 | 800 | 12000 | 64500
5.1 | Fiber glass insulation | 25 | 2700 | 67500 | 200 | 5000 | 72500
5.2 | Fiber glass insulation | 15 | 3800 | 57000 | 300 | 4500 | 61500
6.1 | Drain piping | 20 | 1600 | 32000 | 300 | 6000 | 38000
7.1 | VAV-1 | 1 | 257600 | 257600 | 3000 | 3000 | 260600
7.2 | VAV-2 | 1 | 264250 | 264250 | 3000 | 3000 | 267250
7.3 | VAV-3 | 2 | 295400 | 590800 | 3000 | 6000 | 596800
7.4 | VAV-4 | 1 | 281400 | 281400 | 3000 | 3000 | 284400
7.5 | VAV-5 | 2 | 271600 | 543200 | 3000 | 6000 | 549200
7.6 | VAV-6 | 2 | 281400 | 562800 | 3000 | 6000 | 568800
7.7 | VAV-7 | 1 | 294000 | 294000 | 3000 | 3000 | 297000
7.8 | VAV-8 | 1 | 281400 | 281400 | 3000 | 3000 | 284400
7.9 | VAV-9 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
7.1 | VAV-10 | 1 | 281400 | 281400 | 3000 | 3000 | 284400
7.11 | VAV-11 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
7.12 | VAV-12 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
7.13 | VAV-13 | 1 | 271600 | 271600 | 3000 | 3000 | 274600 | 5532800
7.14 | VAV-14 | 1 | 282100 | 282100 | 3000 | 3000 | 285100 | 10316600
7.15 | VAV-15 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
7.16 | VAV-16 | 1 | 264250 | 264250 | 3000 | 3000 | 267250
7.17 | VAV-17 | 1 | 271600 | 271600 | 3000 | 3000 | 274600
8.1 | TAF 01 | 1 | 23500 | 23500 | 3000 | 3000 | 26500
8.2 | TAF 02 | 2 | 57000 | 114000 | 3000 | 6000 | 120000
8.3 | TAF 03 | 2 | 64500 | 129000 | 3000 | 6000 | 135000
8 | G.I Ducting | 900 | 5500 | 4950000 | 660 | 594000 | 5544000
9 | XLPE rubber foam insulation | 900 | 5750 | 5175000 | 550 | 495000 | 5670000
10 | Sound liner | 60 | 5450 | 327000 | 550 | 33000 | 360000
11 i | Air devices | 15 | 4000 | 60000 | 700 | 10500 | 70500
11 ii | Air devices | 4 | 9000 | 36000 | 1000 | 4000 | 40000
11.2 | Air devices | 2 | 4500 | 9000 | 700 | 1400 | 10400
11.2 | Air devices | 2 | 3000 | 6000 | 500 | 1000 | 7000
11.3 | Air devices | 110 | 4500 | 495000 | 700 | 77000 | 572000
12 | Flexbile duct | 120 | 1450 | 174000 | 300 | 36000 | 210000
13 | Butter fly damper | 120 | 2750 | 330000 | 250 | 30000 | 360000
14 | VCD | 6 | 45500 | 273000 | 5000 | 30000 | 303000
15 | Painting | 1 | 20000 | 20000 | 15000 | 15000 | 35000
16 | Testing and commissioning | 1 | 0 | 0 | 50000 | 50000 | 50000
17 | Shop Drawing | 1 | 10000 | 10000 | 15000 | 15000 | 25000
18 | [6 empty] | 0
|  |  |  | 18472100 |  | 1647900 | 20120000