## HVAC
M/S Dawat-e-Hadiyah Burhani Mahal |  |  |  |  | Date | Date | 24 June 2023
Mciver Road, Karachi |  |  |  |  | Quotation # | Quotation # | 323
NTN 4312149-7
Quotation
M.S Pipe & Sprinkler with related material - North Walk Shopping Mall
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Rate | Amount
1 | Supply and installation of M.S SCH 40 Pipe with related fittings such as tee, bend elbow etc including hangers & supports 1" Dia | Rft | 60 |  |  | 850 | 51000
2 | Supply and installation of Pendent type sprinkler. | Nos | 6 | 7000 | 1000 | 5500 | 33000
3 | Supply and installation of painting, testing & commissioning. | Job | 1 | 30000 | 10000 | 15000 | 15000
Total Amount Rs | [6 empty] | 99000
For PIONEER SERVICES.
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
[6 empty] | 0 | 0
PIONEER SERVICES

## working
|  |  | Discount | 4.811%
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
Discount | 88065.0403 | 18198.9538
Sub Total Amount | 1742534.9597 | 360101.0462
SRB 13% on Labour | 0 | 46813.136
Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419
Sub Total Amount | 3661200 | 756600
Claimed 50% | 1830600 | 378300
SRB 13% on Labour | 0 | 49179
Total Amount | 1830600 | 427479
Discount | 88065.0403 | 20564.8177
Grand Total Amount | 1742534.9597 | 406914.1823
Grand Total Amount |  | 2149449.1419