## Site Plan (hidden)
SECTION III/C: BILL OF QUANTITIES FOR DRAINAGE WORKS
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
BOQ No. | Specification Reference | Description | Qty. | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
1 | 2 | 3 | 4 | 5 | 6 | 6 x 4 | 8 | 8 x 4 | 7 + 9
DRAINAGE WORKS
| 22 10 00 | Supply, install and commission uPVC to BSEN – 1329 and BS5255 - 1989 piping including all special accessories and hangers as per drawings & specifications for Soil and Waste Water systems (Push Fit Joint).
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply and Install uPVC Piping & Fittings along with all accessories, as per BS EN 1401 (BS 4660 and 5481) Under ground (buried) soil & waste water. (Solvent Joint)
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply, install and commission uPVC to BSEN – 1329 and BS5255 - 1989 piping including all special accessories and hangers as per drawings & specifications for Soil and Waste Water systems (Push Fit Joint). -Isolation
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply and Install uPVC Piping & Fittings along with all accessories, as per BS EN 1401 (BS 4660 and 5481) Under ground (buried) soil & waste water. (Solvent Joint)-Isolation
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply, install and commission uPVC to BSEN – 1329 and BS5255 - 1989 piping including all special accessories and hangers as per drawings & specifications for Soil and Waste Water systems (Push Fit Joint). -Lab Pipe
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply, installation and commissioning of Pressurized Drainage Pipes uPVC Class E, complete in all respects as per drawings & specifications.
B |  | 3''Ø |  | Rft.
Sub Total (Page 1)
| 22 10 00 | Supply, install and commission uPVC Class D piping including all special accessories and hangers as per drawings & specifications for Storm Water systems (Push Fit Joint).
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 10 00 | Supply, install and commission uPVC Class B piping including all special accessories and hangers as per drawings & specifications for vent systems.
A |  | 2''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 3''Ø |  | Rft.
C |  | 4''Ø |  | Rft.
A |  | 6''Ø |  | Rft. | [5 empty] | 8428780 | 55000 | 8483780 | 0 | 0 | 0
B |  | 8''Ø |  | Rft.
| 22 14 26 | Supply, install and commission uPVC type Roof Drains complete in all respects as per drawings & specifications.
D |  | Square Type | 2 | Nos.
4''Ø
| 22 14 26 | Parapet type
E |  | 4''Ø | 4 | Nos.
| 22 13 49 | Supply, install and commission uPVC type Drains complete in all respects as per drawings & specifications.
F |  | Floor Drains | 48 | Nos.
G |  | Equipment Floor Drains | 8 | Nos.
Sub Total (Page 2)
Supply, install and commission Valves including all accessories complete in all respects as per drawings and specifications.
Gate Valve (Pool Drain)
A |  | 4" diameter | 1 | No.
Check Valve (For Sump Pump)
B |  | 3" Diameter | 6 | Nos.
Gate Valve (For Sump Pump)
C |  | 3" Diameter | 3 | Nos.
| 22 05 76 | Supply, install and commission Clean outs Plugs (COP) and FCO including all accessories complete in all respects as per drawings and specifications.
COP
|  | 3''Ø |  | Nos.
D |  | 4''Ø |  | Nos.
E |  | 6''Ø |  | Nos.
FCO
F |  | 3''Ø |  | Nos.
4''Ø
G |  | 6''Ø |  | Nos.
Sub Total (Page 3)
| 22 05 73 | Supply Installation and commissioning of Floor Gully Traps complete in all respects as per drawings and specifications.
Vent Cowls
B |  | 3''Ø | 3 | Nos.
4''Ø
C |  | 6''Ø | 3 | Nos.
D |  | Making, finishing and commissioning of Manhole including all accessories/fittings and connections complete in all respects as per drawings and specification. | 4 | Nos.
D |  | FIC | 4 | Nos.
E |  | Pressure Reducing Manhole | 1 | No.
F | 22 13 49 | Supply Installation and commissioning of Parking / Planter Drain complete in all respects as per drawings and specifications. | 7 | Nos.
| 22 14 29 | Installation and commissioning of Sump Drainage Pump including all accessories/fittings/valves/NRV complete in all respects as per drawings and specification.(Refer Specification 22 14 29)
G |  | SP-01,02,03,04, 05, 06 | 6 | Nos.
F | 22 13 49 | Supply Installation and commissioning of Waste solid Interceptor complete in all respects as per drawings and specifications. | 7 | Nos.
F | 22 13 49 | Supply Installation and commissioning of Acid Neutralizing tank complete in all respects as per drawings and specifications. | 7 | Nos.
| 22 14 00 | Channel grating including all accessories complete in all respects as per drawings and specification.
H |  | 19' Length x 1' Width x 3" Deep | 1 | No.
I |  | 18'-5" Lenghth x 1' Width x 3"Deep | 1 | No.
J |  | 12'-3" Lenghth x 1' Width x 3"Deep | 1 | No.
Sub Total (Page 4)
General
A | 22 05 29 | Supply, Installation & Commissioning of hangers and supports for pipes and Ducting including roller type as per drawings and specifications. | 1 | Job
B | 09 90 00 | Painting of equipment / Hangers, Supports, Pipe etc as per specifications. | 1 | Job
C | 07 84 00 | Supply, installation and commision of fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job
Drawings
D |  | Shop drawings as per specifications. | 1 | Job
E |  | As Built drawings as per specifications. | 1 | Job
Testing (3 months test run) & Commissioning
F |  | Drainage System | 1 | Job
Sundries
G |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors to provide list) | 1 | Job
Sub Total (Page 6)
GRAND TOTAL FOR DRAINAGE WORKS

## Main Building
SECTION II/B: BILL OF QUANTITIES FOR DRAINAGE WORKS
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
BOQ No. | Specification Reference | Description | Qty. | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
1 | 2 | 3 | 4 | 5 | 6 | 6 x 4 | 8 | 8 x 4 | 7 + 9
DRAINAGE WORKS
| 22 10 00 | Supply, installation and commissioning of uPVC to BSEN – 1329 and BS5255 - 1989 piping including all special accessories and fittings complete in all respects as per drawings & specifications for Soil and Waste Water system.
A |  | 2''Ø | 19.55 | Rft. | 750 | 14662.5 | 150 | 2932.5 | 17595
B |  | 3''Ø | 89.7 | Rft. | 1425 | 127822.5 | 200 | 17940 | 145762.5
C |  | 4''Ø | 19.55 | Rft. | 1650 | 32257.5 | 300 | 5865 | 38122.5
| 22 10 00 | Supply, installation and commissioning of uPVC Class D piping including all special accessories and fittings complete in all respects as per drawings & specifications for Storm Water systems.
D |  | 4''Ø | 32.2 | Rft. | 1800 | 57960 | 300 | 9660 | 67620
| 22 10 00 | Supply, installation and commissioning of uPVC Class B piping including all special accessories and fittings complete in all respects as per drawings & specifications for vent systems.
E |  | 2''Ø | 16.1 | Rft. | 480 | 7728 | 150 | 2415 | 10143
| 22 14 26 | Supply, installation and commissioning of uPVC type Roof Drains complete in all respects as per drawings & specifications.
| 22 14 26 | Parapet type
F |  | 4''Ø | 2 | Nos. | 35000 | 70000 | 3000 | 6000 | 76000
| 22 13 49 | Supply, installation and commissioning of uPVC type Drains complete in all respects as per drawings & specifications.
G |  | Floor Drains | 5 | Nos. | 9000 | 45000 | 3000 | 15000 | 60000
H |  | Planter Drains | 2 | Nos. | 11500 | 23000 | 2500 | 5000 | 28000
Sub Total (Page 1)
A | 22 05 73 | Supply, installation and commissioning of Catch Basins (Heavy Duty Parking Floor Gulley Trap ) including GRP sand bucket, fittings, cover and accessories (cover- Epoxy coated 300 microns) | 1 | Nos. | 42000 | 42000 | 8000 | 8000 | 50000
| 22 05 76 | Supply, installation and commissioning of Clean Out Plugs (COP) and Floor Clean Outs (FCO) including all accessories complete in all respects as per drawings and specifications.
COP
B |  | 3''Ø | 2 | Nos. | 7000 | 14000 | 1000 | 2000 | 16000
C |  | 4''Ø | 1 | No. | 9000 | 9000 | 1000 | 1000 | 10000
D |  | FCO
E |  | 3''Ø | 2 | Nos. | 7000 | 14000 | 1000 | 2000 | 16000
| 22 05 23 | Supply, installation and commissioning of Valves with accessories as per drawings & specifications.
|  | Ball Valve |  |  |  | 0 |  | 0 | 0
F |  | 3''Ø | 1 | No. | 42000 | 42000 | 2000 | 2000 | 44000
| 22 05 73 | Supply, installation and commissioning of Vent Cowl complete in all respects as per drawings and specifications.
G |  | 3''Ø | 1 | No. | 1000 | 1000 | 200 | 200 | 1200
Sub Total (Page 2)
Plumbing Fixtures
A | 22 40 00 | Installation and commissioning of Wash Basin / vanity including imported one hole C.P. faucet, C.P. stop cock, C.P. bottle trap, C.P. strainer C.P. copper pipe connections, C.P. brass waste chain plug complete with concealed safety brackets, waste water jointing assembly, making requisite number of holes in walls, floor and plinth for pipe connections and making good with approved material complete in all respects as shown on drawings & specifications. | 2 | Nos. |  | 0 | 10000 | 20000 | 20000
B | 22 40 00 | Installation and commissioning of European Water Closet with "P" or "S" trap, including imported flush Tank C.P. stop cock, C.P., Muslim shower with all accessories & fittings, complete all connection and relative material making requisite hole in walls, floors and plinth for pipe connections and making good with approved materials complete in all respects in as shown on drawings & specifications. | 2 | Nos. |  | 0 | 12500 | 25000 | 25000
C | 22 40 00 | Install and commission Bath tub, including imported best quality C.P. shower head with shower mixer, C.P. waste plug chain complete with all connections and relative materials making requisite number of holes in walls, plinth and floor for pipe making good with approved materials complete in all respect as per drawings & specifications. | 1 | No. |  | 0 | 15000 | 15000 | 15000
Sub Total (Page 4)
General
A | 22 05 29 | Supply, Installation & Commissioning of hangers and supports for pipes and Ducting including roller type as per drawings and specifications. | 1 | Job | 35000 | 35000 | 5000 | 5000 | 40000
B | 09 90 00 | Painting of equipment / Hangers, Supports, Pipe etc. as per specifications. | 1 | Job | 10000 | 10000 | 10000 | 10000 | 20000
C | 07 84 00 | Supply, installation and commissioning of fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 15000 | 15000 | 5000 | 5000 | 20000
Drawings
D | 01 00 00 | Shop drawings as per specifications. | 1 | Job | 10000 | 10000 | 10000 | 10000 | 20000
E | 01 00 00 | As Built drawings as per specifications. | 1 | Job | 5000 | 5000 | 5000 | 5000 | 10000
Testing & Balancing
F | 22 03 00 | Drainage System | 1 | Job |  | 0 | 15000 | 15000 | 15000
Sundries
G | 22 03 00 | Items not listed in BOQ (Contractor to provide list | 1 | Job |  | 0 |  | 0 | 0
Sub Total (Page 4)
|  | GRAND TOTAL FOR DRAINAGE WORKS |  |  |  | 575430.5 |  | 190012.5 | 765443