## Summary
Standard Chartered Head Office Ground Floor, Karachi
HVAC & Fire Fighting Work |  |  |  | 2023-03-10
SUMMARY OF BILL OF QUANTITIES
S.No | Description | Material Amount | Labour Amount | Total Amount
1 | HVAC Work | 8612150 | 1121350 | 9733500
2 | Fire Fighting Work | 3066400 | 183450 | 3249850
| Grand Total Amount | 11678550 | 1304800 | 12983350
Terms & Condition:
1) The quoted prices may vary due to fluctuating exchange rates of USD
2) Quotation is valid for only 3 Days
3) Prices are Exclusive of Taxes

## HVAC
|  |  |  | MATERIAL |  | LABOUR |  | TOTAL
S. No. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT | RATE | AMOUNT | AMOUNT
All works shall be completed, tested and commissioned as per drawings, specifications and as per instruction of Consultant
1 | Unloading, rigging, lifting, placement, installation, testing and commissioning of VRF / VRV air conditioning units with multiple indoor evaporative units of different capacities with central controller complete in all respects, ready to operate including supply & installation of supports, brackets, flexible duct connector / connection, rubber isolators, flashing, power wiring from isolation box to unit (4 to 5 meter radius), control wiring termination etc, complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
1.1 | GF-CU-01 (10 Indoors + 1 Outdoor Condensing Unit Consisted of Different Modules) | Set | 1 | 80000 | 80000 | 50000 | 50000 | 130000
1.2 | GF-CU-02 (10 Indoors + 1 Outdoor Condensing Unit Consisted of Different Modules) | Set | 1 | 80000 | 80000 | 50000 | 50000 | 130000
1.3 | FAHU-01 (1 Indoors + 1 Outdoor Condensing Unit Consisted of Different Modules) | Set | 1 | 35000 | 35000 | 15000 | 15000 | 50000
2 | Supply & installation of control wiring in G.I. for external / PVC for internal from outdoor unit to indoor for all units including microprocessor & central controller wiring & fixing / installation of central controller supplied with unit complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Lot | 1 | 485000 | 485000 | 72000 | 72000 | 557000
3 | Supply & installation of refrigerant pipes (all hard pipes
except 6.25mm dia) (liquid + gas) with 12mm thick
expended rubber foam insulation, PVC tape wrapping
including additional gas charging if required and
installation of branch distributor (supplied with VRF / VRV
units) complete in all respects ready to operate as per
specification, drawings and as per instruction of
consultant.
(VRF / VRV Units copper pipes sizes & quantities shall
be vary according to the equipment brand / selection)
3.1 | 6.35mm dia | Rm | 45 | 1715 | 77175 | 450 | 20250 | 97425
3.2 | 9.52mm dia | Rm | 290 | 2140 | 620600 | 475 | 137750 | 758350
3.3 | 12.70mm dia | Rm | 35 | 3250 | 113750 | 500 | 17500 | 131250
3.4 | 15.87mm dia | Rm | 80 | 3990 | 319200 | 525 | 42000 | 361200
3.5 | 19.05mm dia | Rm | 300 | 4780 | 1434000 | 550 | 165000 | 1599000
3.6 | 22.22mm dia | Rm | 5 | 5890 | 29450 | 575 | 2875 | 32325
3.7 | 28.57mm dia | Rm | 10 | 7980 | 79800 | 600 | 6000 | 85800
3.8 | 34.92mm dia (also for 31.75mm dia) | Rm | 110 | 11750 | 1292500 | 625 | 68750 | 1361250
3.9 | 41.27mm dia (also for 38.10mm dia) | Rm | 5 | 15750 | 78750 | 650 | 3250 | 82000
4 | Supply & installation of 18 SWG powder quoted G.I. sheet
metal tray with cover for refrigerant pipes and control
wiring exposed to weather area and for main hall internal
area complete in all respects including hangers, supports
brackets complete in all respects ready to operate as per
specification, drawings and as per instruction of
| consultant. | Sqm | 30 | 15500 | 465000 | 600 | 18000 | 483000
5 | Supply & installation of SCH-40 uPVC make class D pipe
with 10mm thick expanded rubber foam insulation, PVC
tape wrapping for condensate drain including support
hangers, excavation, cutting, chiseling and making good
complete in all respects ready to operate as per
specification, drawings and as per instruction of
consultant.
5.1 | 25mm dia | Rm | 165 | 1450 | 239250 | 160 | 26400 | 265650
5.2 | 32mm dia | Rm | 75 | 1975 | 148125 | 185 | 13875 | 162000
5.3 | 40mm dia | Rm | 5 | 2750 | 13750 | 200 | 1000 | 14750
6 | Supply & installation of air curtains including, supports,
electrical connection etc, complete in all respects ready to
operate as per drawings, specification & as per instruction
of consultant.
6.1 | 2.7m Length | No. | 1 | 75000 | 75000 | 3000 | 3000 | 78000
7 | Supply & installation of ventilation fans as per mentioned
in schedule, including vibration isolator, flexible duct
connection / connector, power wiring from isolation box to
unit (4 to 5 meter radius), support & hangers complete in
all respects ready to operate as per drawings, specification
and as per instruction of consultant.
7.1 | GF-EAF-01 (with uPVC Pipes & Louvers) | Nos. | 2 | 38000 | 76000 | 2000 | 4000 | 80000
7.2 | GF-EAF-02 | No. | 1 | 62000 | 62000 | 2000 | 2000 | 64000
7.3 | GF-EAF-03 | No. | 1 | 73000 | 73000 | 2000 | 2000 | 75000
8 | Supply, fabrication and installation of machine made G.I
sheet metal duct work of different sections of supply,
return, fresh & exhaust air complete in all respects
including plenums, splitter dampers, guide vanes, flexible
duct connection / connector, access door, wooden frame,
transformation, plenums chambers, anchors supports &
hangers etc, complete in all respects ready to operate as
| per specification, drawings and as per instruction of consultant. | Sqm | 170 | 4500 | 765000 | 660 | 112200 | 877200
9 | Supply & installation of rubber foam (XLPE) insulation
adhesive with aluminum facing 12mm thick on fresh air
duct (except toilet exhaust duct) complete in all respects
ready to operate as per specification, drawings and as per
| instruction of consultant. | Sqm | 150 | 4200 | 630000 | 450 | 67500 | 697500
10 | Supply & installation of rubberfoam acoustical duct sound liner adhesive 12mm thick in supply air duct complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqm | 45 | 6250 | 281250 | 450 | 20250 | 301500
11 | Supply & installation of aluminum fabricated powder
coated exhaust & fresh Air louvers including wooden
frame, rain protection sheet bird mesh etc complete in all
respects ready to operate as per specification, drawings
and as per instruction of consultant.
11.1 | 200mm x 200mm | Nos. | 2 | 2500 | 5000 | 500 | 1000 | 6000
11.2 | 700mm x 250mm | No. | 1 | 8000 | 8000 | 500 | 500 | 8500
12 | Supply & installation of Aluminum fabricated, powder
coated Grills, Diffusers and Registers for supply air, return
air, exhaust air & fresh air of different sizes (Grade A ),
wooden frame, supports and other accessories etc.
complete in all respects ready to operate as per
specification, drawings and as per instruction of
Consultant.
12.1 | Supply & Return Air Grills / Registers
i. | 700mm x 250mm | Nos. | 1 | 7500 | 7500 | 500 | 500 | 8000
12.2 | Linear Slots 6,000 Series
i. | 1 Slots of 20mm | Rm | 12 | 4950 | 59400 | 750 | 9000 | 68400
ii. | 2 Slots of 20mm | Rm | 35 | 12790 | 447650 | 750 | 26250 | 473900
12.3 | Exhaust Air Disc Valves
i. | 150mm dia | Nos. | 11 | 3000 | 33000 | 500 | 5500 | 38500
13 | Supply & installation of flexible duct including hangers,
jubilee clamp complete in all respects as per specification,
drawings & as per instruction of consultant.
13.1 | 150mm dia | Rm | 70 | 2125 | 148750 | 350 | 24500 | 173250
14 | Supply & installation of butterfly damper for above flexible
duct with gas kits, nut bolts, complete in all respects, ready
to operate as per specification, drawings & as per
instruction of consultant.
14.1 | 150mm dia | Nos. | 65 | 3000 | 195000 | 500 | 32500 | 227500
15 | Supply & installation of Volume Control Damper in 16
SWG G.I sheet metal with gas kits, nut bolts, complete in
all respects ready to operate as per specification, drawings
and as per instruction of Consultant.
15.1 | 450mm x 150mm | No. | 1 | 4500 | 4500 | 500 | 500 | 5000
15.2 | 450mm x 200mm | No. | 1 | 4750 | 4750 | 500 | 500 | 5250
16 | Painting & Identification work on supports, hangers,
platform of condensing units etc complete in all respects
with one coat of ICI make Red lead oxide primer & two
coats of ICI make enamel paint complete in all respects
| ready to operate as per drawings, specification, instruction of consultant. | Lot | 1 | 45000 | 45000 | 15000 | 15000 | 60000
17 18 | Testing, balancing and commissioning of air side of the system (from independent agency) complete in all respects including air measurement & balancing, temp, pressure & electrical data of related equipment etc. complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant. | Job. | 1 | 90000 | 90000 | 70000 | 70000 | 160000
| Making of Shop drawings on Auto CAD latest version with section details, equipment foundation details and Making of As Built drawings, Documentation Technical / Operational Manual & LOG Book for each equipment complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Job. | 1 | 10000 | 10000 | 15000 | 15000 | 25000
| Total Cost of Works Rs. |  |  |  | 8612150 |  | 1121350 | 9733500

## Fire
|  |  |  | MATERIAL |  | LABOUR |  | TOTAL
S. No. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT | RATE | AMOUNT | AMOUNT
FIRE FIGHTING SERVICES
Supply, installation, testing & commissioning of fire suppression services including all equipment, pipe works and accessories ready to operate as per specifications, drawings and instructions of Consultants.
1 | Fire hose cabinet double height 32" x 60" x 14" stainless steel front, powder coated back including 1" dia x 100 Rft. rubber hose reel, automatic operation 180 deg. swing type, nozzle guide, lock shield valve, pressure regulating valve, 2-1/2" dia oblique landing valve with 2-fire extinguishers as shown in drawing.
i. | Type FHC-LV | No. | 1 | 452000 | 452000 | 8000 | 8000 | 460000
2 | Fire hose cabinet double height 32" x 60" x 14", stainless steel front, powder coated back including 1" dia x 100 Rft. rubber hose reel, nozzle guide, gate valve, pressure regulating valve automatic & manual operation 180 deg. swing type, with 2-fire extinguishers as shown on drawing.
i. | Type FHC | Nos. | 2 | 398500 | 797000 | 5000 | 10000 | 807000
3 | Fire department breeching 4" connection 2-ways as per BS 5041-3 including cabinet with breakable glass, SS frame & drain plug. | No. | 1 | 145000 | 145000 | 5000 | 5000 | 150000
4 | MS Sch-40 seamless pipes including all specials M.I & D.I threaded & welded joint fittings UL listed FM approved, flexible pipe, flanges, coupling, masking plates, bends, tees, clamps, supports and hangers, sleeves, masking plates chiseling, cutting holes, making good where required, painting and protection treatment etc. Complete in all respects.
i. | Dia 25 mm (Threaded fitting) | Rm. | 15 | 2640 | 39600 | 150 | 2250 | 41850
ii. | Dia. 65 mm (Welded joints fitting) | Rm. | 4 | 8950 | 35800 | 300 | 1200 | 37000
iii. | Dia. 75 mm (Welded joints fitting) | Rm. | 10 | 11750 | 117500 | 400 | 4000 | 121500
iv. | Dia. 100 mm (Welded joints fitting) | Rm. | 80 | 13650 | 1092000 | 600 | 48000 | 1140000
5 | Fire extinguishers with fixing accessories.
| Type Class B&C FX-3 (6 Kg. CO2 Carbon Dioxide Gas) | Nos. | 2 | 29750 | 59500 | 1000 | 2000 | 61500
| Type Class A,B&C FX-4 (6 Kg. Dry Chemical Powder) | Nos. | 2 | 19000 | 38000 | 1000 | 2000 | 40000
6 | C.I body Isolation valves with matching flanges.
| Size. 75 mm | No. | 1 | 55000 | 55000 | 4000 | 4000 | 59000
| Size. 100 mm | No. | 1 | 70000 | 70000 | 6000 | 6000 | 76000
7 | C.I body check valve with matching flanges.
| Size. 100 mm | No. | 1 | 75000 | 75000 | 6000 | 6000 | 81000
8 | Making of As-Built & Shop Drawings on AutoCAD 2018 & latest with sectional details complete in all respects as per instructions of Consultant. | Job. | 1 | 10000 | 10000 | 10000 | 10000 | 20000
9 | Painting, identification and tagging to the installations and equipments. | Job. | 1 | 65000 | 65000 | 35000 | 35000 | 100000
10 | Flushing of entire fire pipe work according to (NFPA-13). | Job. | 1 | 15000 | 15000 | 15000 | 15000 | 30000
11 | Testing, and commissioning of entire fire fighting installation as per Consultant's approval. | Job. | 1 | 0 | 0 | 25000 | 25000 | 25000
| Total Cost of Works Rs. |  |  |  | 3066400 |  | 183450 | 3249850