## Sheet1
M/S IMS Engineering (Private) Limited, |  |  |  |  | 2022-08-21
Att: Mr. Naveed
PURCHASE ORDER AGAINST YOUR QUOTATION Ref Q23-SAH-5169 DATED 03 July 2023
Purchase Order for Supply of VAV's & CAV's Boxes w/ Controls for the project (UEP Office area 17th Floor DMC Karachi)
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
17th Floor VAV's (Nos. 35 )
1 | Double Wall Circular Variable Air Volume Box Size 200 mm. w/ Metal Controls Enclosure | 4 | Nos | 32512 | 130048
2 | Double Wall Circular Variable Air Volume Box Size 250 mm. w/ Metal Controls Enclosure | 4 | Nos | 33497.5 | 133990
3 | Double Wall Circular Variable Air Volume Box Size 315 mm. w/ Metal Controls Enclosure | 8 | Nos | 34482.75 | 275862
4 | Double Wall Circular Variable Air Volume Box Size 355 mm. w/ Metal Controls Enclosure | 11 | Nos | 38426.64 | 422693.04
5 | Double Wall Circular Variable Air Volume Box Size 400 mm. w/ Metal Controls Enclosure | 4 | Nos | 39803 | 159212
6 | Double Wall Circular Variable Air Volume Box Size 450 mm. w/ Metal Controls Enclosure | 4 | Nos | 43349.75 | 173399
7 | Controller for above Vav's | 35 | Nos | 58332.23 | 2041628.05
8 | Thermostate for above Vav's | 35 | Nos | 13787.63 | 482567.05
9 | Step Down Transformer 230V/ 24VAC | 35 | Nos | 3034.49 | 106207.15
17th Floor CAV's (Nos. 10).
1 | Constant Air Volume Box Size:100 mm. w/ Metal Controls Enclosure | 1 | Nos | 29557 | 29557
2 | Constant Air Volume Box Size:100 mm. w/ Metal Controls Enclosure | 2 | Nos | 31527 | 63054
3 | Constant Air Volume Box Size:100 mm. w/ Metal Controls Enclosure | 5 | Nos | 32512 | 162560
4 | Constant Air Volume Box Size:100 mm. w/ Metal Controls Enclosure | 1 | Nos | 37219 | 37219
5 | Constant Air Volume Box Size:100 mm. w/ Metal Controls Enclosure | 1 | Nos | 38314 | 38314
6 | Controller for above Cav's | 10 | Nos | 58332.2 | 583322
7 | Step Down Transformer 230V/ 24VAC | 10 | Nos | 3034.5 | 30345
8 | Services :- |  |  |  | 4869977.29
9 | Engineering, Programming, Commissioning, & Testing of above Systems | 45 | Jobs | 3500 | 157500
10 | Controls Wiring & Termination of above Equipment will be done by IMS | 45 | Jobs | 0 | 0
|  | TOTAL: |  |  | 157500
Grand Total amount |  |  |  |  | 5027477.29
Terms & Conditions
1) Above purchased order is subject to approval from the consultant
2) The above prices are net i.e:- NO GST / SST or any Tax will be added on the decided amount.
Note: Above PO is subject to approval from the consultant.
for PIONEER SERVICES
PIONEER SERVICES