## Sheet1
M/S Sabro Technologies |  |  |  |  | 2023-08-26
Att: Mr. Faraz Hameed
Purchase Order against your quote # STPL/SL/INQ-406-B1-23/Email | [5 empty] | 0
Supply of WCPU - UEP office area 17th Floor DMC Sky Tower Karachi | [5 empty] | 855000
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
1 | SUPPLY OF Ceiling Hung Water Cooled Packaged Unit. (17-WCPU-01) Sabro Model WCPN-012H-S Cooling Capacity 12000 Btu/Hr. (1.0 Ton) Air Flow Rate 350 CFM Entering Air Temp 76.3ºFDB / 63.5ºFWB Leaving Air Temp 53.5ºFDB / 52.4ºFWB ESP 0.4" Wg. Condenser Water Flow Rate 3.0 Us Gpm Condenser Water In / Out Temp 92.0ºF / 102.0ºF Refrigerant R-407c Power Supply 220/240-1-50Hz+N Leaving Air Temp 55.5oFDB / 54.2oFWB ESP 0.4" Wg. Condenser Water Flow Rate 6.3 Us Gpm Condenser Water In / Out Temp 92.0oF / 102.0oF Refrigerant R-407c Power Supply 220/240-1-50Hz+N | 3 | No | 285000 | 855000 | 284 | 332.28
2 | SUPPLY OF Ceiling Hung Water Cooled Packaged Unit. (17-WCPU-02) Sabro Model WCPN-018H-S Cooling Capacity 18000 Btu/Hr. (1.5 Ton) Sensible Capacity 17226 Btu/Hr. Air Flow Rate 450 CFM Entering Air Temp 80.3ºFDB / 64.0ºFWB Leaving Air Temp 56.2ºFDB / 54.7ºFWB ESP 0.4" Wg. Condenser Water Flow Rate 4.5 Us Gpm Condenser Water In / Out Temp 92.0ºF / 102.0ºF Refrigerant R-407c Power Supply 220/240-1-50Hz+N | 1 | No | 350000 | 350000
3 | SUPPLY OF Ceiling Hung Water Cooled Packaged Unit. (17-WCPU-03) Sabro Model WCPN-048H-S Cooling Capacity 30000 Btu/Hr. (2.5 Ton) Sensible Capacity 46704 Btu/Hr. Air Flow Rate 2442 CFM Entering Air Temp 72.5ºFDB / 61.0ºFWB Leaving Air Temp 55.4ºFDB / 54.3ºFWB ESP 0.4" Wg. Condenser Water Flow Rate 12 Us Gpm Condenser Water In / Out Temp 92.0ºF / 102.0ºF Refrigerant R-407c Power Supply 220/240-1-50Hz+N | 2 | No | 480000 | 960000
Terms & Conditions | [6 empty] | 0
0
1) Delivery at site Imtiaz Store DHA. | [6 empty] | 0
2) Payment 25% advance 25% at the time of delivery and remaining after 30 Days. | [6 empty] | 0
3) Partial deilvery required. | [6 empty] | 0
6) Above prices are including GST. | [6 empty] | 0
0
Delivery Address
90
2-C 1st Floor Sunset Lane-I Phase II EXT DHA Karachi.
Contact Person. M. Ahsan 0313-0613180
Total Amount Rs |  |  |  |  | 2165000
for Pioneer Services
0
0
0
0
0
0
0
0
0
0
0
0
0
PIONEER SERVICES