## Sheet1
PES/VISA/006/03/23 | [7 empty] | 2023-03-11
Attn: Mr. S. Talal.
Variation order for Variable Frequency Drive - VISA OFFICE Dolmen Mall Clifton Karachi
S. # | Description | Material Rate | Labor Rate | Over Head profit 20% | Tax 7.5% | Unit | Qty | Amount
1 | Supply & installation of Variable frequency drive 4 kW for Return air fan. | 428092 | 30000 | 91618.4 | 41228.28 | No | 1 | 590938.68
2 | Supply & installation of 4 core 6mm. | 420 | 160 | 116 | 52.2 | Rft | 70 | 52374
3 | Supply & installation of conduiting with supports. | 25000 | 10000 | 7000 | 3150 | Job | 1 | 45150
4 | Supply and installation of VFD panel with breakers. | 140000 | 10000 | 30000 | 13500 | Job | 1 | 193500
5 | Supply and installation of tranduser. | 69000 | 8000 | 15400 | 6930 | No | 1 | 99330
6 | Intallation and commissioning of above system with Dolmen Mall Panel. | 0 | 50000 | 10000 | 4500 | Job | 1 | 64500
Total Amount Rs. | [7 empty] | 1045792.68
Thanking you,
For PIONEER ENGINEERING SERVICES.
Bilal Habib