## Sheet1
M/S Waqar Brothers |  |  |  |  | 2024-06-01
Att: Mr. Salman
Purchase Order (J Outlet Dolmen Mall Lahore)
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
1 | Concealed Sprinkler Head 1/2" 68 Deg, Quick Response, Brass Finish, UL/FM Listed, Model: SD1055QR - Shield UK Concealed Cover Plated 57 Deg - Painted Finish - UL/FM Listed, Model: SD-CONE - Shield UK | 120 | Nos | 5200 | 624000
2 | Upright Sprinkler Head 1/2" 68 Deg, Quick Response, Chrome Finish, UL/FM Listed, Model: SD1032QR - Shield UK | 120 | Nos | 1750 | 210000
3 | Local Cabinet with 6 Spare Sprinklers | 1 | Nos | 40000 | 40000
4 | Local Cabinet with 6 Spare Sprinklers | 1 | Nos | 22500 | 22500
5 | Flexible Pipe for Sprinklers Braided Flexible Sprinkler Drop Hose Connection, 1" Outlet: 1/2", S/Steel 304, 200Psi, 1000mm Length c/w Hose, Nipple, Support Bar, Reducer, Nipple & Brackets, UL/FM Approved, Model: SDF-B 1000 – Shield | 120 | Nos | 7000 | 840000
6 | Dry Powder Extinguisher Portable Pressure Type, Capacity: 6 Kg, Red Color, Fire Rating: 21A & 113B,CE/KITEMARK/MED/LPCB Approved, Model: NP6 - Naffco, UAE | 3 | Nos | 14000 | 42000
7 | CO2 Extinguisher Portable Type, Capacity: 5 Kg, Red Color, Without Grub Screw, Fire Rating: 55B, CE/KITEMARK/MED/LPCB Approved, Model: NC 5 - Naffco, UAE | 3 | Nos | 25000 | 75000
8 | Fire Hose Reel 1" x 30 Mtr. Cabinet Mounted, Swinging Manual with Plastic Nozzle, Conforming to BS EN 671-1:2012, CE0086, Kitemark/LPCB Approved, Model: 25 NFH-020M - Naffco 1" Lock shield valve, LPCB Approved Model: NLSV.25 NAFFCO 1" PRV, Kitemark approved Model SD-91430K Shield | 3 | Nos | 80000 | 240000
9 | Double Vertical Fire Hose Reel Cabinet with architrave, Recessed Type, Solid Door, Complete Mild Steel, Material Thickness: 1.5mm - Make: Safe & Sound Engineering | 3 | Nos | 55000 | 165000
| Option Double Vertical Fire Hose Reel Cabinet with architrave, Recessed Type, Solid Door, Complete Mild Steel, Material Thickness: 1.5mm - Make: Naffco |  | Nos
|  | TOTAL: |  |  | 2258500
|  | Discount |  |  | 9456
|  | After Discount |  |  | 2249044
Note: Above PO is subject to approval from the consultant.
for PIONEER ENGINEERING SERVICES