## Sheet1
M/S Fakhri Brothers | [5 empty] | 2025-05-19
PO # 024
Att: Mr. Mustafa Majal
PURCHASE ORDER
Supply of Following material for the project (Abbot Pharma Ocean Tower)
S No. | D e s c r i p t i o n | Brand | Qty | Unit | Rate | Amount
1 | Concealed Pendent Sprinkler with Paint Finish and Cover Plate (Quick Response) | Sheild | 223 | Nos | 4953.2657 | 1104578.2582
2 | Pendent Sprinkler (Quick Response) | Sheild | 20 | Nos | 1762.2195 | 35244.3908
3 | Upright Sprinkler Head Quick Response | Sheild | 3 | Nos | 1428.8267 | 4286.48
4 | Supply and install of Corrugated Stainless Steel Flexible Connector 1inch x 3ft (ULFM) | Shiled | 223 | Nos | 7144.1333 | 1593141.7185
5 | Dry Powder Extinguisher Capacity 5 kg | NAFFCO | 2 | Nos | 12568.9118 | 25137.8236
6 | CO2 Fire Extinguisher Capacity 5 Kg | NAFFCO | 2 | Nos | 23837.5913 | 47675.1827
7 | Automatic Dry Powder Fire Extinguisher 6 kg | NAFFCO | 6 | Nos | 18636.6623 | 111819.9739
8 | Gate Valve with Supervisory Switch |  |  |  | 0 | 0
i | 6" | Shiled | 2 | Nos | 127422.7609 | 254845.5219
9 | Ball Valve |  |  |  | 0 | 0
i | 2" | Shiled | 2 |  | 13350.0037 | 26700.0074
10 | Supply, installation, testing & commissioning of Novec 1230 Fire Supression System with all valves and accessories, control panels, control switches etc:- complete as per drawings & specifications. |  |  |  | 0 | 0
i | Data Room (945 ft3) (11th Floor) | NAFFCO 1230 | 1 | Set | 1509633.4685 | 1509633.4685
ii | Data Room (1260 ft3) (12th Floor) | NAFFCO 1230 | 1 | Set | 1457403.1865 | 1457403.1865
|  |  | TOTAL: |  |  | 6170466.0118
Discount 8% | [5 empty] | 493637.2809
Total amount | [5 empty] | 5676828.7309
5) Above price discount at @ 8% agreed.
Note: Above PO is subject to approval from the consultant.
for PIONEER ENGINEERING SERVICES