## Sheet1
M/S Shan Controls | [6 empty] | 2024-04-25
Att: Mr. Imran
PURCHASE ORDER against quote Ref # P2402-013
Supply of VAVs for Bank Al Habib 12th Floor Center Point Karachi
S No. | D e s c r i p t i o n | Inlet Dia | VAV Tag # | Qty | Unit | Rate | Amount
GRAND, PK Variable Air Volume Boxes, Grand, PK *With Metal Enclosure Box *Insulation : 1" Fiberglass Insulation *With- Controls Transformer
12th Floor
1 | Variable Air Volume | 8 | VAV-01 | 2 | Nos | 19582 | 39164
2 | Variable Air Volume | 8 | VAV-02 | 1 | Nos | 20306 | 20306
3 | Variable Air Volume | 6 | VAV-03 | 1 | Nos | 21796 | 21796
4 | Variable Air Volume | 8 | VAV-04 | 1 | Nos | 21796 | 21796
5 | Variable Air Volume | 7 | VAV-05 | 1 | Nos | 21796 | 21796
6 | Variable Air Volume | 10 | VAV-06 | 1 | Nos | 21796 | 21796
7 | Variable Air Volume | 6 | VAV-07 | 1 | Nos | 28011 | 28011
8 | Variable Air Volume | 8 | VAV-08 | 3 | Nos | 28011 | 84033
9 | Variable Air Volume | 7 | VAV-09 | 1 | Nos | 28011 | 28011
10 | Variable Air Volume | 5 | VAV-10 | 1 | Nos | 30651 | 30651
11 | Variable Air Volume | 8 | VAV-11 | 1 | Nos | 30651 | 30651
0
12 | DDC Controller, BACnet/MSTP, Johnson Controls |  |  | 1 | Nos | 158092 | 158092
13 | Diff. Pressure Transmitter, 8 Ranges, With Display |  |  | 2 | Nos | 46553 | 93106
14 | Remote Display Module |  |  | 1 | Nos | 71368 | 71368
15 | Pre-Wired Control Panel with Accessories |  |  | 1 | Nos | 31926 | 31926
|  | 6 |  | TOTAL: |  |  | 702503
16 | Programming Testing & Commissioning of 14 No's of VAV Boxes |  |  | 1 | Job | 37000 | 37000
|  |  |  | Grand TOTAL |  |  | 739503
Terms & Conditions
1) Price is valid only for 60 Days
2) 50% advacnce & balance before delivery or option-2 Balance material against balance material delivered against 30 to 40 days PDC.
3) 5 Lacs old outstanding amount settelled with advance.
4) GST Invoice issue after 3 months
5) Above price discount at @ 8% agreed.
Note: Above PO is subject to approval from the consultant.
Note:
Above Price is locked and will not affect after change in the Dollar Prices.
for PIONEER ENGINEERING SERVICES
| Parital advance Payment Given on dated 15 May 23 |  |  |  | 1000000
Received by M. Imran
Signature
Date