## Summary
SUMMARY OF PRICES FOR HVAC WORKS (THIRD FLOOR ROOF EXTENTION)
ITEM # | DESCRIPTION | TOTAL COST PAK RUPEES
230010 | General Requirements for HVAC System | -
230100 | Operation and maintenance of HVAC System | -
230500 | Common Work Results for HVAC | 5334040
230700 | HVAC Insulation | 4532075
230800 | Commissioning of HVAC | 100000
230900 | Instrumentation and Control for HVAC | -
232100 | HVAC Piping and Pumps | 3999630
233100 | HVAC Ducts and Casings | 4097000
233300 | Air Duct Accessories | 121000
233700 | Air Outlets and inlets | 360000
238219 | Fan coil Unit's & FAHU | 90000
| TOTAL COST OF HVAC WORKS | 18633745
NOTE:
1 | All chilled water piping shall have 26 Gauge G.I. Sheet Jacketting.
Note on A2: Mujahid:

## Estimate
(THIRD FLOOR ROOF EXTENTION)
Item # | Description | Rate |  | Amount |  | Total Cost | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  | Material | Installation | Material | Installation |  |  |  | Material | Installation | Material | Installation
1 | 2 | 5 | 6 | 7 | 8 | 9 | 3 | 4 | 5 | 6 | 7 | 8 | 9
230010 | General Requirements for HVAC System
a. | Making Shop Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications |  | 5000 | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
b. | Making As Built Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications |  | 5000 | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
230100 | Operation and maintenance of HVAC System
230113 | Operation and maintenance of HVAC System
a. | One month test run | 25000 |  | #REF! | #REF! | #REF! | 1 | Job | - | - | - | - | -
230500 | Common Work Results for HVAC
230513.13 | AIR Handling UNITS ISOLATOR BOX
a. | Supply, Installation of AHU Isolator Box complete in all respect including weather proof sheet metal cabinet, bus bars, internal wiring earth strip, connector strip, , magentic contactor, overload relay, indication lights, voltmeter, ammeter, under voltage phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects for HVAC equipment including Owner supplied HVAC equipment as per scheudle, speicifications and drawings. | 35000 | 5000 | #REF! | #REF! | #REF! | 8 | Nos | 70000 | 1500 | 560000 | 12000 | 572000
230513.16 | Wires, Cables, Conduites and Cable Tray
a. | Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of HVAC system complete in all respect as per drawings and specifications. | 40000 | 15000 | #REF! | #REF! | #REF! | 1 | Job | 300000 | 50000 | 300000 | 50000 | 350000
230519 | Meters and gages for HVAC Piping
a. | Supply, installation, testing and commissioning of meters and gagues and accessories for HVAC piping complete in all respect as per drawings and specifications
AIR Handling unit's
i. | Insertion type pipe mounted thermometers | 9000 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 10300 | 1000 | 164800 | 16000 | 180800
ii. | Pressure gauge | 7000 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 9500 | 1000 | 152000 | 16000 | 168000
iii. | gague cock | 1800 | 300 | #REF! | #REF! | #REF! | 16 | Nos | 2000 | 1000 | 32000 | 16000 | 48000
iv. | thermometer with well | 3500 | 500 | #REF! | #REF! | #REF! | 16 | Nos | 10000 | 1000 | 160000 | 16000 | 176000
230523 | General-Duty Valves for HVAC Piping
Supply, installation, testing and commissioning of valves complete with flanges and all other accessories for HVAC piping complete in all respect as per drawings and specifications
AIR Handling unit's
a. | Gate Valve
| 50 mm (2 inch) Diameter | 14000 | 1000 | #REF! | #REF! | #REF! | 16 | Nos | 23500 | 1500 | 376000 | 24000 | 400000
| 100 mm (4 inch) Diameter | [5 empty] | 2 | Nos | 66500 | 1500 | 133000 | 3000 | 136000
b. | CFRV
| 50 mm (2 inch) Diameter | 19000 | 1500 | #REF! | #REF! | #REF! | 8 | Nos | 49500 | 1500 | 396000 | 12000 | 408000
c. | Motorized Valve
| 50 mm (2 inch) Diameter | 120000 | 2500 | #REF! | #REF! | #REF! | 8 | Nos | 253500 | 1500 | 2028000 | 12000 | 2040000
Strainers with blow off 20 mm dia ball valve
| 50 mm (2 inch) Diameter | [5 empty] | 8 | Nos | 54780 | 1500 | 438240 | 12000 | 450240
230526 | Hangers and Supports for HVAC Ducting
a. | Supply, Installation & Commissioning of hangers and supports for HVAC ducting complete in all respect as per drawings and specifications. | 40000 | 10000 | #REF! | #REF! | #REF! | 1 | Job | 100000 | 10000 | 100000 | 10000 | 110000
230529.13 | Hangers and Supports for HVAC Piping
a. | Supply, Installation & Commissioning of hangers and supports for HVAC piping complete in all respect as per drawings and specifications. | 20000 | 10000 | #REF! | #REF! | #REF! | 1 | Job | 100000 | 10000 | 100000 | 10000 | 110000
230529.16 | Hangers and Supports for HVAC Equipment
a. | Supply, Installation & Commissioning of hangers and supports for HVAC equipment complete in all respect as per drawings and specifications. | 30000 | 15000 | #REF! | #REF! | #REF! | 1 | Job | 100000 | 20000 | 100000 | 20000 | 120000
230553 | Identification for HVAC Ducting, Piping and Equipment
a. | Supply, Installation & Commissioning of identification for HVAC ducting, piping and equipment complete in all respect as per drawings and specifications. | 10000 | 5000 | #REF! | #REF! | #REF! | 1 | Job | 15000 | 10000 | 15000 | 10000 | 25000
230579 | Fire Stopping
a. | Supply, Installation & Commissioning of firestopping complete in all respect as per drawings and specifications. | 15000 | 5000 | #REF! | #REF! | #REF! | 1 | Job | 30000 | 10000 | 30000 | 10000 | 40000
230700 | HVAC Insulation
230713.13 | Duct Insulation
a. | Supply and installation of 50 mm thick Fiber Glass Insulation of density 24 kg/m3 with Aluminum Foil for Internal G.I. sheet metal ducts of different sections for supply and return air duct with Alumninum tape and protected with 8 oz Canvas Cloth wrapping than painted anti fungus paint complete in all respect as per schedule, specifications and drawings. | 350 | 60 | #REF! | #REF! | #REF! | 9700 | Sq. Ft. | 175 | 50 | 1697500 | 485000 | 2182500
230719.13 | Chilled Water Piping Insulation
a. | Supply and installation of premoulded polyurethane insulation of density 50 kg/m3 with bituminous karft paper facing for chilled water pipes, bends, tees, unions, sockets, valves and on speicals, wrapped with 8 oz. canvas cloth than painted with anti fungus paint, protected 26 SWG painted G.I. sheet metal cladding complete in all respect as per scheudle, specifications and drawings.
38 mm (1-1/2 inch) thickness
| 50 mm (2 inch) Diameter | 620 | 175 | #REF! | #REF! | #REF! | 430 | Rft | 1000 | 100 | 430000 | 43000 | 473000
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 220 | Rft | 1110 | 100 | 244200 | 22000 | 266200
| 75 mm (3 Inch) Diameter | [5 empty] | 145 | Rft | 1150 | 125 | 166750 | 18125 | 184875
| 100 mm (4 Inch) Diameter | [5 empty] | 490 | Rft | 2000 | 175 | 980000 | 85750 | 1065750
230719.26 | Condensate Drain Insulation
a. | Supply and installation of 6 mm thick Pre-moulded Armaflex Pipe Insulation complete in all respect as per schedule, specifications and drawings.
| 32 mm (1-1/4 inch) Diameter | 280 | 90 | #REF! | #REF! | #REF! | 150 | Rft | 190 | 50 | 28500 | 7500 | 36000
| 50 mm (2 inch) Diameter | 280 | 90 | #REF! | #REF! | #REF! | 250 | Rft | 400 | 50 | 100000 | 12500 | 112500
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 325 | Rft | 600 | 50 | 195000 | 16250 | 211250
230800 | Commissioning of HVAC
230813 | Testing, Adjusting and balancing for HVAC systems
a. | Testing, balancing and commissioning of HVAC system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 40000 |  | #REF! | #REF! | #REF! | 1 | Job | - | 100000 | - | 100000 | 100000
232100 | HVAC Piping and Pumps
232113.23 | Hydronic Piping
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 32 mm (1-1/4 inch) Diameter | 970 | 180 | #REF! | #REF! | #REF! | 30 | Rft | 800 | 140 | 24000 | 4200 | 28200
| 50 mm (2 inch) Diameter | 1300 | 225 | #REF! | #REF! | #REF! | 320 | Rft | 1000 | 200 | 320000 | 64000 | 384000
232113.26 | Condensate Drain Piping
a. | Supply, Installation, testing & Commissioning of UPVC Class D pipes & fittings for condensate drain system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 430 | 80 | #REF! | #REF! | #REF! | 20 | Rft | 325 | 50 | 6500 | 1000 | 7500
| 32 mm (1-1/4 inch) Diameter | 550 | 110 | #REF! | #REF! | #REF! | 140 | Rft | 435 | 50 | 60900 | 7000 | 67900
| 38 mm (1-1/2 inch) Diameter | 550 | 110 | #REF! | #REF! | #REF! | 30 | Rft | 490 | 50 | 14700 | 1500 | 16200
232113.23 | Hydronic Piping
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 50 mm (2 inch) Diameter | [5 empty] | 430 | Rft | 1676 | 110 | 720680 | 47300 | 767980
| 63 mm (2-1/2 inch) Diameter | [5 empty] | 220 | Rft | 2200 | 120 | 484000 | 26400 | 510400
| 75 mm (3 Inch) Diameter | [5 empty] | 145 | Rft | 3200 | 130 | 464000 | 18850 | 482850
| 100 mm (4 Inch) Diameter | [5 empty] | 490 | Rft | 3400 | 140 | 1666000 | 68600 | 1734600
233100 | HVAC Ducts and Casings
233113.13 | Medium/Low pressure G.I. sheet metal ducting
a. | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting complete in all respect as per drawings and specifications.
iii. | 22 gauge | 420 | 60 | #REF! | #REF! | #REF! | 2400 | Sq. Ft. | 400 | 60 | 960000 | 144000 | 1104000
iv. | 24 gauge | 400 | 60 | #REF! | #REF! | #REF! | 7300 | Sq. Ft. | 350 | 60 | 2555000 | 438000 | 2993000
233300 | Air Duct Accessories | 12000 | 1500 | #REF! | #REF! | #REF!
233343 | Flexible Connectors | 25000 | 8000 | #REF! | #REF! | #REF!
a. | Supply, Installation, testing & Commissioning of flexible connectors between blower section and air duct complete in all respect as per drawings and specifications. | [5 empty] | 1 | Lot | 100000 | 21000 | 100000 | 21000 | 121000
233700 | Air Outlets and inlets | 20000 | 6000 | #REF! | #REF! | #REF!
233713 | Diffusers, Registers, and Grilles
Supply, Installation, testing & Commissioning of Diffusers, Registers and Grilles complete in all respect as per drawings and specifications.
a. | Supply Air Diffusers (SAD)
| 375x375 (15"x15") | [5 empty] | 80 | Nos | 3000 | 750 | 240000 | 60000 | 300000
| 300x150 (12"x24") SAG | [5 empty] | 8 | Nos | 3000 | 750 | 24000 | 6000 | 30000
| 300x150 (10"x18") FAG | [5 empty] | 8 | NOS | 3000 | 750 | 24000 | 6000 | 30000
238219 | AIR Handling unit's
a. | Installation, lifting, testing & Commissioning of air handling units complete in all respect as per drawings and specifications. | 25000 | 10000 | #REF! | #REF! | #REF!
i | AHU 12TR | [5 empty] | 2 | Nos | - | 15000 | - | 30000 | 30000
ii | AHU 10TR | [5 empty] | 6 | Nos | - | 10000 | - | 60000 | 60000
| TOTAL COST OF HVAC WORKS | 910000 | 20000 | #REF! | #REF! | #REF! |  |  |  |  | 16590770 | 2042975 | 18633745
|  | 1790000 | 25000 | #REF! | #REF! | #REF!
|  |  |  | #REF! | #REF! | #REF! | [5 empty] | 50% | 9316872.5