## Sheet1
2017-08-29
Attn: Mr.
Quotation
S. # | Description | Qty | Unit | Rate | Amount
1 | SWIMMING POOL SUPPLIES
2 | Supply, Installation and commissioning of Pool Pumps as per drawings & specifications.
3 | SWP-01 (One On-duty & One Stand-by) | 2 | Nos. | 65000 | 130000
4 | Supply, install and commission of Swimming Pool Filteration System complete in all respects as per drawings & specifications. (26" Dia) | 1 | No. | 165000 | 165000
5 | Supply, install and commission of Pool Gas Heater complete in all respects (300,000 BTU) | 1 | No. | 395000 | 395000
6 | Providing & installation of pool lights with low volt transformer & junction box complete in all respect. | 6 | Nos. | 27500 | 165000
7 | Providing & installation of electric wiring for pool pumps and lights, transformer etc | 1 | Job. | 185000 | 185000
8 | Providing & installation of electric panel for pool pumps & lights. | 1 | Job. | 145000 | 145000
9 | Supply, Install & commissioning of uPVC Pipe (Class E) for in-let vacuum, main drain complete in all respect (2" Dia) with related fittings. |  |  |  | 0
10 | 2" Dia | 440 | Rft | 225 | 99000
Pool Fixtures:
1 | Inlet Fitting | 4 | Nos. | 1500 | 6000
2 | Skimmer | 3 | Nos. | 12000 | 36000
3 | Vaccum Drain | 1 | Nos. | 1500 | 1500
4 | Main Drain | 1 | Nos. | 21500 | 21500
5 | Providing & installation of S.S Pool ladder (3-Step) Optional | 1 | No. | 21500 | 0
6 | Providing & installation of UPVC ball valves for Pool heater pumps inlet outlet and vacuum lines (2" dia) | 12 | Nos. | 4800 | 57600
7 | (Option 1) Supply & installation of ABS greating imported 12" width with S.S framing / support. | 120 | Rft | 2450 | 294000
8 | (Option 2) Supply & installation of ABS greating imported 08" width with S.S framing / support. | 120 | Rft | 1200 | 144000
9 | Supply & installation of S.S Grab Bar 1 ¼" Dia with supports & brackets. | 136 | Rft | 1500 | 204000
Total Rs. |  |  |  |  | 2048600
Income Tax 10% |  |  |  |  | 204860
Grand Total Rs. |  |  |  |  | 2253460