## HVAC
To Director Development | [6 empty] | Date | 2023-06-09
NASTP PAF Faisal Karachi | [6 empty] | Quote # | 80
NTN #
Quotation
Installation of Wall mounted FCUs with related at material Ground Floor - NASTP
ENHANCEMENT OF SCOPE OF WORK
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Rate | Amount
Machine Made G.I Sheet metal Duct
1 | Supply, Installation, testing & Commissioning of medium/low Machine made pressure G.I. sheet metal ducting complete in all respect. | Sqft | 9500 | 350 | 60 | 3325000 | 570000 | 3895000
Fierglass insulation
2 | Supply and installation of 1 inch thick Fiber Glass Insulation of density 24 kg/m3 with Aluminum Foil, tape, Canvas Cloth & anti funguspaint complete in all respect. | Sqft | 9500 | 160 | 55 | 1520000 | 522500 | 2042500
Air devices
3 | Supply & Installation of Supply air diffuser. 15 x 15 | Nos | 124 | 5500 | 800 | 682000 | 99200 | 781200
4 | Supply & Installation of Exhaust Air Register. |  |  |  |  | 0 | 0 | 0
i | 09 x 09 | Nos | 39 | 2200 | 1000 | 85800 | 39000 | 124800
ii | 12 x 12 | Nos | 22 | 3500 | 1000 | 77000 | 22000 | 99000
5 | Supply and installation of Exhaust Air Louver as per drawings.
i | 28 x 12 | No | 2 | 7500 | 900 | 15000 | 1800 | 16800
ii | 30 x 12 | No | 2 | 9000 | 900 | 18000 | 1800 | 19800
6 | Supply and installation of volume control damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 101500 | 7000 | 108500
ii | 32 x 14 | Nos | 4 | 10750 | 1000 | 43000 | 4000 | 47000
7 | Supply and installation of Fire Damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 101500 | 7000 | 108500
ii | 32 x 14 | Nos | 4 | 11800 | 1000 | 47200 | 4000 | 51200
8 | Supply and installation of access door for fire / split damper. Size 18 x 18 | Nos | 11 | 8000 | 1000 | 88000 | 11000 | 99000
9 | Supply and installation of flexbile duct connector for supply air duct only. | Rft | 200 | 650 | 80 | 130000 | 16000 | 146000
M.S SCH-40 Pipe and related material
10 | Providing and installation of temporary scaffolding for installation of chilled water riser (after completion of work removal of folding) | Job | 1 | 200000 | 75000 | 200000 | 75000 | 275000
iv | 2-1/2" dia | Rft | 650 | 0 | 375 | 0 | 243750 | 243750
v | 2" dia | Rft | 400 | 0 | 325 | 0 | 130000 | 130000
vi | 1-1/2" dia | Rft | 200 | 0 | 275 | 0 | 55000 | 55000
vii | 1-1/4" dia | Rft | 320 | 0 | 250 | 0 | 80000 | 80000
viii | 1" dia | Rft | 180 | 0 | 225 | 0 | 40500 | 40500
ix | 3/4" dia | Rft | 200 | 0 | 175 | 0 | 35000 | 35000
12 | Providing and making of chilled water connection from main plant room for supply and return. | Job | 1 | 15000 | 20000 | 15000 | 20000 | 35000
13 | Supply and installation of related fittings for M.S SCH-40 Pipe fittings such as tee, elbow, reduser, gasket, nut washer etc. | Job | 1 | 400000 | 80000 | 400000 | 80000 | 480000
Premolded PU Insulation
1 | Supply and installation of softtube copper pipe Make: USA Mueller | Rft | 40 | 0 | 575 | 0 | 900 | 36000
i | 1/2"
2 | Supply and installation of insulation over copper pipe with taping complete in all respect. | Rft | 50 | 0 | 475 | 0 | 295 | 14750
i | 1/2" x 1/2"
3 | Supply and installation of copper fittings for FCUs fixing.
i | Flare nut 1/2″ | Nos | 16 | 0 | 425 | 0 | 620 | 9920
ii | Socket 3/4" | Nos | 8 |  |  |  | 855 | 6840
iii | Union 3/4" | Nos | 8 |  |  |  | 955 | 7640
Total Amount | [7 empty] | 75150
S. # | Description | Qty in Contract | Qty not required | Material Rate | Labour Rate | Material Amount | Rate | Amount
| Supply & Installation of pre-molded PU insulation over chilled water piping with 26 SWG G.I metal cladding, Kraft, paper Canvas cloth etc complete in all respect thickness 2”, 3" dia pipe. | 350 | 190 | 1965 |  |  | 1965 | 373350
| Supply & Installation of pre-molded PU insulation over chilled water piping with 26 SWG G.I metal cladding, Kraft, paper Canvas cloth etc complete in all respect thickness 2", 2 1/2” dia pipe. | 650 | 410 | 1930 |  |  | 1930 | 791300
| Installation of M.S Sch-40 Seamless Chilled Water pipe with consumable material such as cutting disc, grinding disc, electronics 3” dia. | 350 | 190 | 425 |  |  | 425 | 80750
| Installation of M.S Sch-40 Seamless Chilled Water pipe with consumable material such as cutting disc, grinding disc, electronics 2 1/2” dia. | 650 | 410 | 375 |  |  | 375 | 153750
Total Amount | [7 empty] | 1399150
For PIONEER SERVICES
PIONEER SERVICES