## HVAC
To Director Development | [5 empty] | Date | 2023-11-01
NASTP PAF Faisal Karachi | [5 empty] | Quote # | 86
NTN #
Quotation
Ducting Work for Fresh Air Handling Units Ground Floor - NASTP
ENHANCEMENT OF SCOPE OF WORK
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
Machine Made G.I Sheet metal Duct
1 | Supply, Installation, testing & Commissioning of medium/low Machine made pressure G.I. sheet metal ducting complete in all respect. | Sqft | 9500 | 350 | 60 | 570000 | #REF!
Fierglass insulation
2 | Supply and installation of 1 inch thick Fiber Glass Insulation of density 24 kg/m3 with Aluminum Foil, tape, Canvas Cloth & anti funguspaint complete in all respect. | Sqft | 9500 | 160 | 55 | 522500 | #REF!
Air devices
3 | Supply & Installation of Supply air diffuser. 15 x 15 | Nos | 124 | 5500 | 800 | 99200 | #REF!
4 | Supply & Installation of Exhaust Air Register. |  |  |  |  | 0 | #REF!
i | 09 x 09 | Nos | 39 | 2200 | 1000 | 39000 | #REF!
ii | 12 x 12 | Nos | 22 | 3500 | 1000 | 22000 | #REF!
5 | Supply and installation of Exhaust Air Louver as per drawings.
i | 28 x 12 | No | 2 | 7500 | 900 | 1800 | #REF!
ii | 30 x 12 | No | 2 | 9000 | 900 | 1800 | #REF!
6 | Supply and installation of volume control damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 7000 | #REF!
ii | 32 x 14 | Nos | 4 | 10750 | 1000 | 4000 | #REF!
7 | Supply and installation of Fire Damper
i | 38 x 16 | Nos | 7 | 14500 | 1000 | 7000 | #REF!
ii | 32 x 14 | Nos | 4 | 11800 | 1000 | 4000 | #REF!
8 | Supply and installation of access door for fire / split damper. Size 18 x 18 | Nos | 11 | 8000 | 1000 | 11000 | #REF!
9 | Supply and installation of flexbile duct connector for supply air duct only. | Rft | 200 | 650 | 80 | 16000 | #REF!
M.S SCH-40 Pipe and related material
10 | Providing and installation of temporary scaffolding for installation of chilled water riser (after completion of work removal of folding) | Job | 1 | 200000 | 75000 | 75000 | #REF!
iv | 2-1/2" dia | Rft | 650 | 0 | 375 | 243750 | #REF!
v | 2" dia | Rft | 400 | 0 | 325 | 130000 | #REF!
vi | 1-1/2" dia | Rft | 200 | 0 | 275 | 55000 | #REF!
vii | 1-1/4" dia | Rft | 320 | 0 | 250 | 80000 | #REF!
viii | 1" dia | Rft | 180 | 0 | 225 | 40500 | #REF!
ix | 3/4" dia | Rft | 200 | 0 | 175 | 35000 | #REF!
12 | Providing and making of chilled water connection from main plant room for supply and return. | Job | 1 | 15000 | 20000 | 20000 | #REF!
13 | Supply and installation of related fittings for M.S SCH-40 Pipe fittings such as tee, elbow, reduser, gasket, nut washer etc. | Job | 1 | 400000 | 80000 | 80000 | #REF!
Premolded PU Insulation
1 | Removal of existing ducting at groung floor. | SFT | 650 | 0 | 35 | 0 | 22750
2 | Supply and installation of new G.I sheet metal ducts for Fresh Air Handling Units. | SFT | 800 | 370 | 70 | 296000 | 56000
3 | Supply and installation of insulation over G.I sheet ducting. | SFT | 800 | 160 | 60 | 128000 | 48000
Sub Total Amount Rs | [5 empty] | 424000 | 126750
Grand Total Amount Rs | [6 empty] | 550750
For PIONEER SERVICES
PIONEER SERVICES