## Sheet1
PES/DB/07/03/23 | [7 empty] | 2023-03-22
Attn: Mr. S. Talal.
Variation order for VFD for Fans & AHUs with related material - Deutsche Bank Dolmen Mall Clifton Karachi
S. # | Description | Material Rate | Labour Rate | Over Head profit 25% | Tax 7.5% | Unit | Qty | Amount
1 | Variable Frequency Drive 5.5 kW for RAF fan | 156780 | 15000 | 42945 | 16104.375 | No | 1 | 230829.375
2 | Variable Frequency Drive 2.5 kW for AHUs | 113490 | 15000 | 32122.5 | 12045.9375 | No | 2 | 345316.875
3 | Tranducer. | 55081 | 5000 | 15020.25 | 5632.5938 | No | 3 | 242201.5312
4 | 18 x 18 Metal panel powder coated | 35000 | 2000 | 9250 | 3468.75 | No | 3 | 149156.25
5 | 24A power supply | 10000 | 1500 | 2875 | 1078.125 | No | 1 | 15453.125
6 | Wiring and conduiting | 20000 | 10000 | 7500 | 2812.5 | Job | 1 | 40312.5
7 | Testing & Commissioning | 0 | 75000 | 18750 | 7031.25 | Job | 1 | 100781.25
Total Amount Rs. | [7 empty] | 1124050.9062
Thanking you,
For PIONEER ENGINEERING SERVICES.
Bilal Habib