## Fire Level 04
SECTION III/C/I: BILL OF QUANTITIES FOR FIRE FIGHTING WORKS (LEVEL-04)
BOQ No. | Specs | Description | Qty | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
Fire Fighting
| 2000-11-21 | Supply, install and commission of Mild Steel Schedule 40 pipe including all special fittings and Hangers including the cost of breaking through wall and roof complete in all respects shown on drawings & specifications.
A |  | 4" Diameter | 32 | Rft. | 4025 | 128800 | 500 | 16000 | 144800
B |  | 3" Diameter | 179 | Rft. | 3025 | 541475 | 480 | 85920 | 627395
C |  | 2.5" Diameter | 82 | Rft. | 2125 | 174250 | 400 | 32800 | 207050
D |  | 2" Diameter | 109 | Rft. | 1405 | 153145 | 300 | 32700 | 185845
E |  | 1.5" Diameter | 119 | Rft. | 1025 | 121975 | 220 | 26180 | 148155
F |  | 1.25" Diameter | 75 | Rft. | 825 | 61875 | 200 | 15000 | 76875
G |  | 1" Diameter | 670 | Rft. | 805 | 539350 | 180 | 120600 | 659950
| 2000-11-21 | Supply, install and commissioning of Sprinklers including all accessories complete in all respects as per drawings & specifications.
H |  | Concealed Pendent Sprinkler with Paint Finish (Quick Response) | 89 | Nos. | 8900 | 792100 | 700 | 62300 | 854400
I |  | Extended Coverage horizontal Side Wall Chrome Sprinkler | 20 | Nos. | 7500 | 150000 | 700 | 14000 | 164000
J |  | Upright Sprinkler Head Quick Response | 6 | Nos. | 3500 | 21000 | 700 | 4200 | 25200
| 21 20 00 | Supply, install and commission Fire Extinguisher as per drawing & specification.
K |  | Class-K Type Fire Extinguisher Capacity 6 Litres | 1 | Nos. | 35000 | 35000 | 1000 | 1000 | 36000
L |  | Fire Blanket | 1 | Nos. | 25000 | 25000 | 1000 | 1000 | 26000
M |  | CO2 Extinguisher Capacity | 1 | Nos. | 35000 | 35000 | 1000 | 1000 | 36000
N |  | Dry Powder Extinguisher Capacity | 1 | Nos. | 24000 | 24000 | 1000 | 1000 | 25000
Sub Total (Page 1)
| 21 20 00 | Supply, installation, testing & commissioning of FM200 fire supression system with all valves and accessories,control panels,control switches etc:- complete as per drawings & specifications.
A |  | I.T Rooms (Volume=720 ft3) | 1 | Nos. | 0 | 0 | 0 | 0 | 0
Miscellaneous
B | 01 46 00 | Supply, Installation & Commissioning of brass tags of 2" dia tags for valves and fixed with chains complete as per drawings & specifications. | 1 | Job | 25000 | 25000 | 10000 | 10000 | 35000
C | 2000-11-21 | Supply, Installation & Commissioning of hangers and supports for pipes and Equipments including roller type (if required) as per drawings & specifications. | 1 | Job | 400000 | 400000 | 75000 | 75000 | 475000
D | 07 84 00 | Supply, installation and commision fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 25000 | 25000 | 15000 | 15000 | 40000
E | 2000-11-22 | Painting of equipment / Hangers, Supports, Pipe etc as per specifications. | 1 | Job | 70000 | 70000 | 15000 | 15000 | 85000
F | 2005-05-21 | Testing, adjusting, Balancing & commissioning of Fire Fighting System. | 1 | Job | 50000 | 50000 | 25000 | 25000 | 75000
Drawings
G | 2001-05-21 | Shop drawings and As Built Drawings as per specifications. | 1 | Job | 10000 | 10000 | 12000 | 12000 | 22000
Sundries
H |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors to provide list) | 1 | Job |  | 0 |  | 0 | 0
Sub Total (Page 2)
|  | GRAND TOTAL FOR FIRE FIGHTING WORKS (LEVEL-04) | [6 empty] | 3948670

## Fire Level 6
SECTION III/C/II: BILL OF QUANTITIES FOR FIRE FIGHTING WORKS (LEVEL-06)
BOQ No. | Specs | Description | Qty | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
Fire Fighting
| 2000-11-21 | Supply, install and commission of Mild Steel Schedule 40 pipe including all special fittings and Hangers including the cost of breaking through wall and roof complete in all respects shown on drawings & specifications.
A |  | 4" Diameter | 32 | Rft. | 4025 | 128800 | 500 | 16000 | 144800
B |  | 3" Diameter | 179 | Rft. | 3025 | 541475 | 480 | 85920 | 627395
C |  | 2.5" Diameter | 157 | Rft. | 2125 | 333625 | 400 | 62800 | 396425
D |  | 2" Diameter | 109 | Rft. | 1405 | 153145 | 300 | 32700 | 185845
E |  | 1.5" Diameter | 119 | Rft. | 1025 | 121975 | 220 | 26180 | 148155
F |  | 1.25" Diameter | 95 | Rft. | 825 | 78375 | 200 | 19000 | 97375
G |  | 1" Diameter | 645 | Rft. | 805 | 519225 | 180 | 116100 | 635325
| 2000-11-21 | Supply, install and commissioning of Sprinklers including all accessories complete in all respects as per drawings & specifications.
H |  | Concealed Pendent Sprinkler with Paint Finish (Quick Response) | 117 | Nos. | 8900 | 1041300 | 700 | 81900 | 1123200
I |  | Extended Coverage horizontal Side Wall Chrome Sprinkler | 23 | Nos. | 6500 | 149500 | 700 | 16100 | 165600
|  | Upright Sprinkler Head Quick Response | 6 | Nos. | 3500 | 21000 | 700 | 4200 | 25200
| 21 20 00 | Supply, install and commission Fire Extinguisher as per drawing & specification.
J |  | Class-K Type Fire Extinguisher Capacity 6 Litres | 1 | No. | 60000 | 60000 | 1000 | 1000 | 61000
K |  | Fire Blanket | 1 | No. | 35000 | 35000 | 1000 | 1000 | 36000
L |  | CO2 Extinguisher Capacity | 1 | No. | 29000 | 29000 | 1000 | 1000 | 30000
M |  | Dry Powder Extinguisher Capacity | 1 | No. | 23000 | 23000 | 1000 | 1000 | 24000
| 21 20 00 | Supply, installation, testing & commissioning of FM200 fire supression system with all valves and accessories,control panels,control switches etc:- complete as per drawings & specifications.
A |  | I.T Rooms ( Volume=720 ft3) | 1 | No. | 0 | 0 | 0 | 0 | 0
Miscellaneous
B | 01 46 00 | Supply, Installation & Commissioning of brass tags of 2" dia tags for valves and fixed with chains complete as per drawings & specifications. | 1 | Job | 50000 | 50000 | 15000 | 15000 | 65000
C | 2000-11-21 | Supply, Installation & Commissioning of hangers and supports for pipes and Equipments including roller type (if required) as per drawings & specifications. | 1 | Job | 375000 | 375000 | 25000 | 25000 | 400000
D | 07 84 00 | Supply, installation and commision fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 100000 | 100000 | 25000 | 25000 | 125000
E | 2000-11-22 | Painting of equipment / Hangers, Supports, Pipe etc as per specifications. | 1 | Job | 70000 | 70000 | 15000 | 15000 | 85000
F | 2005-05-21 | Testing, adjusting, Balancing & commissioning of Fire Fighting System. | 1 | Job | 50000 | 50000 | 15000 | 15000 | 65000
Drawings
G | 2001-05-21 | Shop drawings and As Built Drawings as per specifications. | 1 | Job | 12000 | 12000 | 10000 | 10000 | 22000
Sundries
H |  | Supply, installing and commissioning of items not listed in BOQ but required. (Contractors to provide list) | 1 | Job |  | 0 |  | 0 | 0
GRAND TOTAL FOR FIRE FIGHTING WORKS (LEVEL-06) | [8 empty] | 4462320

## Fire level 19-A
SECTION III/C/III: BILL OF QUANTITIES FOR FIRE FIGHTING WORKS (LEVEL-19A)
BOQ No. | Specification Reference | Description | Qty | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
Fire Fighting
| 2000-11-21 | Supply, install and commission of Mild Steel Schedule 40 pipe including all special fittings and Hangers including the cost of breaking through wall and roof complete in all respects shown on drawings & specifications.
|  | 4" Diameter | 100 | Rft. | 4025 | 402500 | 500 | 50000 | 452500
A |  | 3" Diameter | 147 | Rft. | 3025 | 444675 | 480 | 70560 | 515235
B |  | 2.5" Diameter | 64 | Rft. | 2125 | 136000 | 400 | 25600 | 161600
C |  | 2" Diameter | 81 | Rft. | 1405 | 113805 | 300 | 24300 | 138105
D |  | 1.5" Diameter | 152 | Rft. | 1025 | 155800 | 220 | 33440 | 189240
E |  | 1.25" Diameter | 173 | Rft. | 825 | 142725 | 200 | 34600 | 177325
F |  | 1" Diameter | 627 | Rft. | 805 | 504735 | 180 | 112860 | 617595
| 2000-11-21 | Supply, install and commissioning of Sprinklers including all accessories complete in all respects as per drawings & specifications.
G |  | Concealed Pendent Sprinkler with Paint Finish (Quick Response) | 94 | Nos. | 8900 | 836600 | 700 | 65800 | 902400
| 21 20 00 | Supply, install and commission Fire Extinguisher as per drawing & specification. |  |  |  | 0 |  | 0 | 0
H |  | Fire Blanket | 1 | No. | 45000 | 45000 | 1000 | 1000 | 46000
I |  | CO2 Extinguisher Capacity | 0 | No.
J |  | Dry Powder Extinguisher Capacity | 0 | No. |  | 0 |  | 0 | 0
| 21 20 00 | Supply, installation, testing & commissioning of FM200 fire supression system with all valves and accessories,control panels,control switches etc:- complete as per drawings & specifications. |  |  |  | 0 |  | 0 | 0
K |  | I.T Rooms ( Volume=720 ft3) | 0 | No. |  | 0 |  | 0 | 0
Miscellaneous
A | 01 46 00 | Supply, Installation & Commissioning of brass tags of 2" dia tags for valves and fixed with chains complete as per drawings & specifications. | 1 | Job | 35000 | 35000 | 10000 | 10000 | 45000
B | 2000-11-21 | Supply, Installation & Commissioning of hangers and supports for pipes and Equipments including roller type (if required) as per drawings & specifications. | 1 | Job | 275000 | 275000 | 25000 | 25000 | 300000
C | 07 84 00 | Supply, installation and commision fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 25000 | 25000 | 15000 | 15000 | 40000
D | 2000-11-22 | Painting of equipment / Hangers, Supports, Pipe etc as per specifications. | 1 | Job | 35000 | 35000 | 15000 | 15000 | 50000
E | 2005-05-21 | Testing, adjusting, Balancing & commissioning of Fire Fighting System. | 1 | Job | 50000 | 50000 | 10000 | 10000 | 60000
|  | Drawings |  |  |  | 0 |  | 0 | 0
F | 2001-05-21 | Shop drawings and As Built Drawings as per specifications. | 1 | Job | 12000 | 12000 | 10000 | 10000 | 22000
|  | Sundries |  |  |  | 0 |  | 0 | 0
G |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors to provide list) | 1 | Job
GRAND TOTAL FOR FIRE FIGHTING WORKS (LEVEL-19A) | [5 empty] | 0 |  | 0 | 3717000

## Fire Level 19-B
SECTION III/C/IV: BILL OF QUANTITIES FOR FIRE FIGHTING WORKS (LEVEL-19B)
BOQ No. | Specs | Description | Qty | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
Fire Fighting
| 2000-11-21 | Supply, install and commission of Mild Steel Schedule 40 pipe including all special fittings and Hangers including the cost of breaking through wall and roof complete in all respects shown on drawings & specifications.
A |  | 4" Diameter | 86 | Rft. | 4025 | 346150 | 500 | 43000 | 389150
B |  | 3" Diameter | 197 | Rft. | 3025 | 595925 | 480 | 94560 | 690485
C |  | 2.5" Diameter | 55 | Rft. | 2125 | 116875 | 400 | 22000 | 138875
D |  | 2" Diameter | 23 | Rft. | 1405 | 32315 | 300 | 6900 | 39215
E |  | 1.5" Diameter | 75 | Rft. | 1025 | 76875 | 220 | 16500 | 93375
F |  | 1.25" Diameter | 53 | Rft. | 825 | 43725 | 200 | 10600 | 54325
G |  | 1" Diameter | 529 | Rft. | 805 | 425845 | 180 | 95220 | 521065
| 2000-11-21 | Supply, install and commissioning of Sprinklers including all accessories complete in all respects as per drawings & specifications.
H |  | Concealed Pendent Sprinkler with Paint Finish (Quick Response) | 73 | Nos. | 8900 | 649700 | 700 | 51100 | 700800
I |  | Extended Coverage Horizontal Side- wall Chrome Sprinklers | 34 | Nos. | 7500 | 255000 | 700 | 23800 | 278800
J |  | Upright Sprinkler Head Quick Response | 5 | Nos. | 3500 | 17500 | 700 | 3500 | 21000
| 21 20 00 | Supply, install and commission Fire Extinguisher as per drawing & specification.
K |  | CO2 Extinguisher Capacity | 2 | Nos. | 35000 | 70000 | 1000 | 2000 | 72000
L |  | Dry Powder Extinguisher Capacity | 2 | Nos. | 24000 | 48000 | 1000 | 2000 | 50000
| 21 20 00 | Supply, installation, testing & commissioning of FM200 fire supression system with all valves and accessories,control panels,control switches etc:- complete as per drawings & specifications. |  |  |  | 0 |  | 0 | 0
M |  | I.T Rooms ( Volume=720 ft3) | 1 | No. |  | 0 |  | 0 | 0
Sub Total (Page 1)
Miscellaneous
A | 01 46 00 | Supply, Installation & Commissioning of brass tags of 2" dia tags for valves and fixed with chains complete as per drawings & specifications. | 1 | Job | 35000 | 35000 | 3000 | 3000 | 38000
B | 2000-11-21 | Supply, Installation & Commissioning of hangers and supports for pipes and Equipments including roller type (if required) as per drawings & specifications. | 1 | Job | 375000 | 375000 | 50000 | 50000 | 425000
C | 07 84 00 | Supply, installation and commision fire stopping aid as per specifications and drawings complete in all respect. | 1 | Job | 35000 | 35000 | 15000 | 15000 | 50000
D | 2000-11-22 | Painting of equipment / Hangers, Supports, Pipe etc as per specifications. | 1 | Job | 70000 | 70000 | 15000 | 15000 | 85000
E | 2005-05-21 | Testing, adjusting, Balancing & commissioning of Fire Fighting System. | 1 | Job | 50000 | 50000 | 15000 | 15000 | 65000
|  | Drawings |  |  |  | 0 |  | 0 | 0
F | 2001-05-21 | Shop drawings and As Built Drawings as per specifications. | 1 | Job | 10000 | 10000 | 10000 | 10000 | 20000
Sundries
G |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors to provide list) | 1 | Job |  | 0 |  | 0 | 0
Sub Total (Page 2)
[6 empty] | 0 |  | 0 | 0
|  | GRAND TOTAL FOR FIRE FIGHTING WORKS (LEVEL-19B) | [6 empty] | 3732090