## Sheet1
M/S Zara Engineers |  |  |  |  | 2022-06-27
Att: Mr. Zahid Ali Khan
PURCHASED ORDER AGAINST YOUR QUOTATION Ref ZE-2200201 DATED 17 May 2022
Purchase Order for supply of Fire Equipment (Ethnich Shop Dolmen City Karachi)
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
1 | Sprinkler / Upright / K-5.6 / 68°C (UL/FM) Make: Relaible USA | 158 | Set | 1440 | 227520
2 | QR Sprinkler / Concealed / K-5.6 / 74°C / Cover plate (UL/FM) Make: Relaible USA | 68 | No | 3128 | 212704
3 | Sprinkler / Pendent / K-5.6 / 68°C (UL/FM) Make: Relaible USA | 12 | No | 1440 | 17280
4 | Empty Cabinet for 06 Nos Spares Sprinklers Make: Relaible USA | 3 | Nos | 15346 | 46038
5 | Braided Flexible Connector Size 1"Dia x 3 Ft long Make: Relaible USA | 68 | Nos | 4928 | 335104
6 | CO2 Fire Extinguisher 05 KG Make: Relaible USA | 4 | Nos | 19450 | 77800
7 | DCP Fire Extinguisher 06 KG Make: Relaible USA | 4 | Nos | 8872 | 35488
8 | OS&Y Gate Valve Size 2"Dia (UL/FM) Make: Relaible USA | 1 | Nos | 49018 | 49018
9 | Ball Valve Size 1"Dia (UL/FM) Make: Relaible USA | 1 | Nos | 4818 | 4818
10 | Bibnose Landing Valve Size 2-1/2"Dia Make: Relaible USA | 1 | Nos | 39025 | 39025
11 | Fire Hose Pipe Size 2-1/2"Dia x 30 Mtr long (2 Nos) Make: Relaible USA | 1 | Nos | 98954 | 98954
12 | Diffuser Nozzle Size 2-1/2"Dia (2 Nos) Make: Relaible USA
13 | Fire Hose Reel Size 1"Dia x 30 Mtr long with LSV & PRV 1"Dia Make: Relaible USA | 3 | Nos | 64491 | 193473
14 | Emtpy Double Compartment Fire Hose Reel Cabinet Make: Relaible USA | 3 | Nos | 24337 | 73011
|  | TOTAL: |  |  | 1410256
Sales Tax 17% |  |  |  |  | 239743.52
Total amount |  |  |  |  | 1649999.52
Terms & Conditions
1) Above purchased order is subject to approval from the consultant
Note:
1. Above PO is subject to Approval from the consultant
2. Quantities may be differ according to shop drawings.
for PIONEER ENGINEERING SERVICES
PIONEER SERVICES