## HVAC
PS/BD/316/10/22 | [6 empty] | 2022-10-20
Quotation
HVAC work for Badri Office at 7th Floor Fakhri Trade Center Karachi.
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | Removal & dismantle of existing duct & air devices complete in all respect. | Job | 1 | 0 | 20000 | 0 | 20000
2 | Supply & Installation of G.I. sheet metal duct machine made with flange, nut bolts, gasket, duct sealent etc complete in all respect.
i | 20 SWG | Sqft | 80 | 380 | 60 | 30400 | 4800
ii | 22 SWG | Sqft | 280 | 310 | 50 | 86800 | 14000
iii | 24 SWG | Sqft | 860 | 300 | 50 | 258000 | 43000
3 | Supply & Installation of Glass wool insulation of 25mm thick for supply & return air ducts including canvas cloth & antifungus paint complete in all respect. (internal duct area) | Sqft | 1420 | 140 | 30 | 198800 | 42600
4 | Removal / reinstallation of existing duct including repairing of insulation (approx) | Sqft | 400 | 20 | 70 | 8000 | 28000
5 | Supply & Installation of linear slot 1" 2 slot (24"). | Nos | 30 | 2500 | 600 | 75000 | 18000
6 | Supply & Installation of linear slot 1" 2 slot (36") | Nos | 14 | 3000 | 600 | 42000 | 8400
7 | Supply & Installation of square diffuser 6 x 6. | Nos | 14 | 1800 | 500 | 25200 | 7000
8 | Supply & Installation of return air grill 8" x 6". | Nos | 40 | 2000 | 500 | 80000 | 20000
9 | Supply and installation of volume control damper | Sqin | 1600 | 20 | 5 | 32000 | 8000
10 | Supply and installation of Fire damper | Sqin | 750 | 20 | 5 | 15000 | 3750
11 | Supply & installation of Flexible duct 6" Dia | Rft | 200 | 300 | 100 | 60000 | 20000
12 | Supply & installation of split unit 2 TR with 35 rft copper piping including control wiring and condensate drain pipes etc complete in all respect. | No | 1 | 190000 | 10000 | 190000 | 10000
13 | Supply and installation of exhaust fan (centrifugal type) | No | 1 | 30000 | 2000 | 30000 | 2000
14 | Supply and installation of hangers / supports for G.I sheet metal ducts. | Job | 1 | 30000 | 10000 | 30000 | 10000
15 | Making of Shop drawings & As built. | Set | 1 | 5000 | 5000 | 5000 | 5000
16 | Painting & Identification. | Job | 1 | 5000 | 5000 | 5000 | 5000
17 | Testing & commissioning / air balancing | Job | 1 | 0 | 10000 | 0 | 10000
Sub - Total Amount Rs | [5 empty] | 1171200 | 279550
SST Tax 13% | [5 empty] | 0 | 36341.5 | Advance payment
Total Amount Rs | [5 empty] | 1171200 | 315891.5 | Advance | 40% | 580300
Grand Total Amount Rs | [5 empty] | 1450750 |  | Less Tax | 7.5% | 43522.5
Note: 1) Billing will be charged on actual measurement. | [7 empty] | Cheque amount |  | 536777.5
For PIONEER SERVICES.
[8 empty] | Gross amout |  | 1450750
[8 empty] | received amount |  | 580300
[8 empty] | Net |  | 870450
[8 empty] | Less Tax 7.5% |  | 65283.75
[8 empty] | Net |  | 805166.25
[8 empty] | Less 20% SRB w/H |  | 7268.3
797897.95
1334675.45
PIONEER SERVICES