## Sheet1
PS/TNW/306/05/22 |  |  |  |  | 2022-05-11
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Hussain Bharmal
Bill for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Rate | Amount
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting (22 SWG) for air ducting, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 1320 | 280 | 369600
2 | Supply, Installation & Commissioning of Glass wool insulation of 25mm thickness for supply and return air ducts complete in all respect as per drawings. | Sqft | 1320 | 150 | 198000
3 | Supply & installation of Flexible duct connector for supply and return air. | Rft | 40 | 750 | 30000
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect
| a) Return air grills | Sqft | 24 | 3687.5 | 88500
5 | Installation of Jet Diffuser 250mm Dia | Nos | 9 | 1000 | 9000
6 | Installation of Jet Diffuser 350mm Dia | Nos | 15 | 1500 | 22500
7 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings.
| a) VCD | Sqft | 15 | 4000 | 60000
| b) Fire Damper | Sqft | 15 | 5000 | 75000
8 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 200 | 200 | 40000
9 | Supply and installation of hangers & supports complete in all respect. | Job | 1 | 45000 | 45000
10 | Air balancing of entire system | Job | 3 | 25000 | 75000
11 | Testing & comissioning of system. | Job | 3 | 15000 | 45000
12 | Installation of thermostat including control wiring. | Job | 3 | 10000 | 30000
Total Amount Rs |  |  |  |  | 1087600
SST Tax 13% |  |  |  |  | 141388 |  | Advance payment
Grand Total Amount Rs |  |  |  |  | 1228988 |  | Advance | 40% | 491595.2
Received 40% advance |  |  |  |  | 491595 |  | Less Tax | 7.5% | 36869.64
Net Payable Amount Rs |  |  |  |  | 737393 |  | Cheque amount |  | 454725.56
Thanking you,
For PIONEER SERVICES.
[7 empty] | Gross amout |  | 1228988
[5 empty] | 737393 |  | received amount |  | 491595.2
|  |  |  | Less 7.5% | 55304.475 |  | Net |  | 737392.8
[5 empty] | 682088.525 | 113110.4 | Less Tax 7.5% |  | 55304.46
|  |  |  | Less SRB | 28277.6 |  | Net |  | 682088.34
[5 empty] | 653810.925 |  | Less 20% SRB w/H |  | 28277.6
653810.74
1108536.3
PIONEER SERVICES
PIONEER SERVICES