## Sheet1
PES/tnw/302/07/21 | [6 empty] | 2021-07-07
M/S Dawat-e-Hadiyah Burhani Mahal
Mciver Road, Karachi
Attn: Mr. Muhammad
Quotation for The North Walk Shopping Mall
S. # | Description | Unit | Qty | Material Rate | Instalaltion Rate | Material Amount | Instalaltion Amount
1 | Supply, Installation, testing & Commissioning of medium/low pressure G.I. sheet metal ducting (22 SWG) for air ducting, plenums and other sheet fabrications complete in all respect as per drawings. | Sqft | 1320 |  |  | 0 | 0 |  | 280
2 | Supply, Installation & Commissioning of Glass wool insulation of 25mm thickness for supply and return air ducts complete in all respect as per drawings. | Sqft | 1320 |  |  | 0 | 0 |  | 150
3 | Supply & installation of Flexible duct connector for supply and return air. | Rft | 40 |  |  | 0 | 0 |  | 750
4 | Supply, Installation, testing & Commissioning of Diffusers, Louvers and Grilles complete in all respect
| a) Fresh air intake louver | Sqft | 4 |  |  | 0 | 0 |  | 4000
| b) Return air grills | Sqft | 24 |  |  | 0 | 0 |  | 4000
5 | Installation of Jet Diffuser 4" Dia with damper | Nos | 8 |  |  | 0 | 0 |  | 1000
6 | Installation of Jet Diffuser 6" Dia with damper | Nos | 20 |  |  | 0 | 0 |  | 1500
7 | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings.
| a) VCD | Sqft | 15 |  |  | 0 | 0 |  | 4000
| b) Fire Damper | Sqft | 15 |  |  | 0 | 0 |  | 5000
8 | Supply and installation of Sound liner complete with all respect in supply & return air ducts. (Aeroflex 12mm NBR) | Sqft | 200 |  |  | 0 | 0 |  | 200
9 | Supply and installation of hangers & supports complete in all respect. | Job | 1 |  |  | 0 | 0 | 1097500 | 45000
10 | Air balancing of entire system | Job | 3 |  |  | 0 | 0 |  | 25000
11 | Testing & comissioning of system. | Job | 3 |  |  | 0 | 0 |  | 15000
0
Total Amount Rs
SST Tax 13%
Grand Total Amount Rs
Note: Bill will be charged on actual quantity at site
Thanking you,
For PIONEER ENGINEERING SERVICES.