## Sheet1
M/S S.T. Brothers | [6 empty] | 2021-06-26
Att: Mr. Zia Ghani
Purchase order against Quotation # 2021/FBH/35016-1/ dated 22 May 2021
Purchase Order for The Imtiaz Super Store DHA.
S No. | I.C# | D e s c r i p t i o n |  | Qty | Unit | Rate | Amount
HVAC
DURODYNE
1 | 169 | FLEXIBLE DUCT CONNECTOR 6"×150RFT |  | 450 | RFT | 297 | 133650
[6 empty] | TOTAL: | 133650
GALA USA
1 | 4739 | GATE VALVE BRONZE 2" THR PN-16 | FIG # 3152 | 6 | NOS | 6285 | 37710
2 | 4825 | BALANCING VALVE BRONZE 2" THD | FIG # 1209-BT | 3 | NOS | 11163 | 33489
3 | 4736 | GATE VALVE BRONZE 1" THR PN-16 | FIG # 3152 | 36 | NOS | 2158 | 77688
4 | 4737 | GATE VALVE BRONZE 1-1/4" THR PN-16 | FIG # 3152 | 88 | NOS | 3293 | 289784
5 | 4764 | GLOBE VALVE BRONZE 1" THREADED | FIG # 6352 | 17 | NOS | 2039 | 34663
6 | 4765 | GLOBE VALVE BRONZE 1-1/4" THREADED | FIG # 6352 | 44 | NOS | 2690 | 118360
7 | 4806 | STRAINER BRONZE 1" THREADED | FIG # 7654 | 18 | NOS | 1821 | 32778
8 | 4807 | STRAINER BRONZE 1-1/4" THREADED | FIG # 7654 | 44 | NOS | 2761 | 121484
9 | 4882 | BALL VALVE BRONZE 3/4" THREADED | FIG # 1251 | 65 | NOS | 1955 | 127075
10 | 4822 | GATE VALVE BRONZE 1" THD | FIG # 1209-BT | 18 | NOS | 5717 | 102906
11 | 4823 | GATE VALVE BRONZE 1-1/4" THD | FIG # 1209-BT | 44 | NOS | 6402 | 281688
12 | 4744 | GATE VALVE C.I 6" FLANGED | FIG # 3511 | 5 | NOS | 38250 | 191250
13 | 4742 | GATE VALVE C.I 4" FLANGED | FIG # 3511 | 3 | NOS | 24225 | 72675
14 | 4770 | GLOBE VALVE C.I 4" FLANGED | FIG # 6125 | 1 | NOS | 22100 | 22100
15 | 4772 | GLOBE VALVE C.I 6" FLANGED | FIG # 6125 | 1 | NOS | 49300 | 49300
16 | 4809 | STRAINER BRONZE 2" THREADED | FIG # 7654 | 3 | NOS | 6149 | 18447
[6 empty] | TOTAL: | 1611397
HONEYWELL
17 | 5626 | 2 WAY MOTORIZED VALVE SIZE 2"Ø | FIG # V50119P1038 | 3 | NOS | 77400 | 232200
18 | 2546 | 2 WAY MOTORIZED VALE SIZE 1"Ø | FIG # VC6013APC1000T | 18 | NOS | 8082 | 145476
19 | 3985 | 2 WAY MOTORIZED VALVE SIZE 1-1/4"Ø | FIG # VC7931BP | 44 | NOS | 18040 | 793760
[6 empty] | TOTAL: | 1171436
KIMMCO (PIPE) KUWAIT
20 | 2760 | FIBER GLASSWOOL PIPE INSULATION DENSITY 64KG/M3 FSK FACED SIZE 1" × 1-1/2" THICKNESS |  | 172 | RFT | 226 | 38872
21 | 1398 | FIBER GLASSWOOL PIPE INSULATION SIZE 1-1/4" × 1-1/2" THICKNESS |  | 1152 | RFT | 249 | 286848
22 | 1397 | FIBER GLASSWOOL PIPE INSULATION SIZE 1-1/2" × 1-1/2" THICKNESS |  | 432 | RFT | 279 | 120528
23 | 239 | FIBER GLASSWOOL PIPE INSULATION SIZE 2" × 1-1/2" THICKNESS |  | 580 | RFT | 300 | 174000
24 | 2186 | FIBER GLASSWOOL PIPE INSULATION SIZE 2-1/2" × 2" THICKNESS |  | 620 | RFT | 512 | 317440
25 | 248 | FIBER GLASSWOOL PIPE INSULATION SIZE 3" × 2" THICKNESS |  | 252 | RFT | 582 | 146664
26 | 249 | FIBER GLASSWOOL PIPE INSULATION SIZE 4" × 2" THICKNESS |  | 372 | RFT | 678 | 252216
27 | 251 | FIBER GLASSWOOL PIPE INSULATION SIZE 6" × 2" THICKNESS |  | 232 | RFT | 983 | 228056
[6 empty] | TOTAL: | 1564624
LONTRIN CHINA
28 | 6058 | M.S. SEAMLESS PIPE SCH-40 SIZE 1"Ø |  | 180 | RFT | 210 | 37800
29 | 6059 | M.S. SEAMLESS PIPE SCH-40 SIZE 1-1/4"Ø |  | 1160 | RFT | 285 | 330600
30 | 6060 | M.S. SEAMLESS PIPE SCH-40 SIZE 1-1/2"Ø |  | 440 | RFT | 340 | 149600
31 | 6061 | M.S. SEAMLESS PIPE SCH-40 SIZE 2"Ø |  | 580 | RFT | 455 | 263900
32 | 6062 | M.S. SEAMLESS PIPE SCH-40 SIZE 2-1/2"Ø |  | 620 | RFT | 720 | 446400
33 | 6063 | M.S. SEAMLESS PIPE SCH-40 SIZE 3"Ø |  | 260 | RFT | 940 | 244400
34 | 6064 | M.S. SEAMLESS PIPE SCH-40 SIZE 4"Ø |  | 380 | RFT | 1340 | 509200
35 | 6066 | M.S. SEAMLESS PIPE SCH-40 SIZE 6"Ø |  | 240 | RFT | 2350 | 564000
[6 empty] | TOTAL: | 2545900
ONEFLEX TURKEY
36 | 6312 | FOAM PIPE INSULATION SIZE 1-1/8" × 3/8" THICKNESS |  | 117 | LEN | 160 | 18720
37 | 6359 | FOAM PIPE INSULATION SIZE 1-3/8" × 3/8" THICKNESS |  | 73 | LEN | 209 | 15257
38 | 6313 | FOAM PIPE INSULATION SIZE 1-5/8" × 3/8" THICKNESS |  | 64 | LEN | 293 | 18752
39 | 6314 | FOAM PIPE INSULATION SIZE 2-1/8" × 3/8" THICKNESS |  | 52 | LEN | 351 | 18252
40 | 6314 | FOAM PIPE INSULATION SIZE 2-5/8" × 3/8" THICKNESS |  | 31 | LEN | 698 | 21638
41 | 6314 | FOAM PIPE INSULATION SIZE 3-1/8" × 3/8" THICKNESS |  | 25 | LEN | 980 | 24500
[6 empty] | TOTAL: | 117119
KINGSPAN PAL
42 | 4330 | PRE-INSULATED ALUMINIUM DUCT SHEET 20MM THICK/DENSITY 52KG/M3 WITH STANDARD ACCESSORIES INVISIBLE FLANGE JOINT 20MM IN PVC 976 Mtr H BAYONET 20MM×4 MTR IN POLYMER 512 Mtr COVERING ANGLE 20MM IN POLYMER 1154 Nos ZINE COATED STEEL ANGLE BRACKET 20MM 1539 Nos U SECTION BAR 20MM IN ALUMINIUM 104 Mtr CHAIR SECTION BAR 20MM×4 MTR IN ALUMINIUM 104 Mtr F SECTION BAR 20MM×4 MTR IN ALUMINIUM 104 Mtr PAINT GLUE L 15KG 115 Kg ALUMINIUM FOIL TAPE SIZE 2"Ø 22YARDS EURO 192 Roll SILICON TUBE 115 Tube |  | 13800 | SQF | 165 | 2277000
[6 empty] | TOTAL: | 2277000
|  |  |  | Total Amount: |  |  | 9421126
|  |  |  | Less 10% Discount |  |  | 942112.6
|  |  |  | Net Discounted amount |  |  | 8479013.4
S No. | I.C# | D e s c r i p t i o n |  | Qty | Unit | Rate | Amount
FIRE FIGHTING PIPES
LONTRIN CHINA
1 | 6058 | M.S. SEAMLESS PIPE SCH-40 SIZE 1"Ø |  | 1480 | RFT | 210 | 310800
2 | 6059 | M.S. SEAMLESS PIPE SCH-40 SIZE 1-1/4"Ø |  | 220 | RFT | 285 | 62700
3 | 6060 | M.S. SEAMLESS PIPE SCH-40 SIZE 1-1/2"Ø |  | 260 | RFT | 340 | 88400
4 | 6061 | M.S. SEAMLESS PIPE SCH-40 SIZE 2"Ø |  | 260 | RFT | 455 | 118300
5 | 6062 | M.S. SEAMLESS PIPE SCH-40 SIZE 2-1/2"Ø |  | 220 | RFT | 720 | 158400
6 | 6063 | M.S. SEAMLESS PIPE SCH-40 SIZE 3"Ø |  | 140 | RFT | 940 | 131600
7 | 6064 | M.S. SEAMLESS PIPE SCH-40 SIZE 4"Ø |  | 560 | RFT | 1340 | 750400
|  |  |  | Total Amount: |  |  | 1620600
|  |  |  | Less 10% Discount |  |  | 162060
|  |  |  | Net Discounted amount |  |  | 1458540
GRAND TOTAL HVAC & FIRE FIGHTING | [5 empty] | 9937553.4
Terms & Conditions
1) Delivery at site Imtiaz Store DHA.
2) Payment 25% advance 25% at the time of delivery and remaining after 30 Days.
3) Partial deilvery required.
6) Above prices are including GST.
Regards
M. BILAL HABIB